| NOGRR Number | 141 | NOGRR Title | Administrative Changes for December 1, 2014 Nodal Operating Guides |
| --- | --- | --- | --- |
| Date Posted |  | November 10, 2014 |  |

| Requested Resolution | Administrative Change |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 4.5.3.4, Load Shed Obligation |
| Other Binding Documents Requiring Revision or Related Revision Requests | None. |
| Revision Description | This Administrative Nodal Operating Guide Revision Request (NOGRR) updates the ERCOT Load Shed Table to reflect Transmission Operator (TO) designation forms submitted by Market Participants. |
| Reason for Revision | Addressing current operational issues Meeting strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board) Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | Updates Load shedding obligations to reflect TO designation changes made by Market Participants. |
| Quantitative Benefits | None. |
| Impact to Market Segments | None. |
| Credit Implications | No. |
| Other | None. |

| Sponsor |  |
| --- | --- |
| Name | Chad Thompson; Patrick Peters |
| E-mail Address | cthompson@ercot.com; patrick.peters@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6508; 512-275-7447 |
| Cell Number |  |
| Market Segment | Not Applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | (512) 248-6521 |

Proposed Guide Language Revision

4.5.3.4	Load Shed Obligation

Obligation for Load shed is by DSP.  Load shedding obligations need to be represented by an Entity with 24x7 operations and Hotline communications with ERCOT and control over breakers.  Percentages for Level 3 Load shedding will be based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified annually.  (Use TOs as list of Entities)

ERCOT Load Shed Table

| Transmission Operator | 2014 Total Transmission Operator Load (%MW) |
| --- | --- |
| American Electric Power Service Corp. | 8.80 |
| Brazos Electric Power Cooperative Inc. | 4.80 |
| Brownsville Public Utilities Board | 0.41 |
| Bryan Texas Utilities | 0.51 |
| CenterPoint Energy Houston Electric LLC | 24.97 |
| City of Austin DBA Austin Energy | 3.85 |
| City of College Station | 0.29 |
| City of Garland | 0.85 |
| CPS Energy (San Antonio) | 7.14 |
| Denton Municipal Electric | 0.51 |
| GEUS (Greenville) | 0.17 |
| LCRA Transmission Services Corporation | 5.58 |
| Oncor Electric Delivery Company LLC | 36.46 |
| Rayburn Country Electric Cooperative Inc. DBA Rayburn Electric | 1.09 |
| Sharyland Utilities | 0.25 |
| South Texas Electric Cooperative Inc. | 2.03 |
| Texas-New Mexico Power Company | 2.29 |
| ERCOT Total | 100.00 |