| NPRR Number | 651 | NPRR Title | Clarify DC Tie Data Request Timeline and Content |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | November 6, 2014 |  |  |
| Proposed Effective Date |  | January 1, 2015 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 9.17.2, Direct Current Tie Schedule Information |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the timeline and content of reporting Direct Current Tie (DC Tie) schedule requests from Transmission Service Providers (TSPs) and Distribution Service Provider (DSPs) by measuring ERCOT’s response time from the date of the request, rather than the last day of the previous month. This NPRR also removes paragraph (1)(c) of Section 9.17.2 as these fields are not available in the application which stores Electronic Tag (e-Tag) data. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) The current language indicates that if ERCOT receives a request for DC Tie information on the sixth Business Day of a month, ERCOT only has one Business Day to respond to the request to avoid non-compliance with the Protocols. The language also fails to account for requests made after the seventh Business Day of a month. |  |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR651 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 9/17/14, NPRR651 and an Impact Analysis were posted. - On 10/9/14, PRS considered NPRR651. - On 11/6/14, PRS considered the 10/9/14 PRS Report and Impact Analysis for NPRR651. |  |  |
| PRS Decision |  | On 10/9/14, PRS unanimously voted to recommend approval of NPRR651 as submitted. All Market Segments were present for the vote. On 11/6/14, PRS unanimously voted to endorse and forward to TAC the 10/9/14 PRS Report and Impact Analysis for NPRR651. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 10/9/14, there was no discussion. On 11/6/14, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | More descriptive language and explicit reporting requirements with regards to timeliness of providing data in response to a data request and the contents of that response. |
| Quantitative Benefits |  |
| Impact to Market Segments |  |
| Credit Implications |  |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Chad Thompson |
| E-mail Address | Chad.Thompson@ercot.com |
| Company | ERCOT, Inc. |
| Phone Number | 512.248.6508 |
| Cell Number | 512.750.3476 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512.248.6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

9.17.2	Direct Current Tie Schedule Information

(1)	Within ten Business Days of receipt of a request by a TSP or DSP for data pertaining to transactions over the DC Ties for the immediately preceding month, ERCOT shall provide the following Electronic Tag (e-Tag) data:

(a)	Tagging identifier (Tag Code);

(b)	Date of transaction;

(c)	Megawatt-hours (MWh) actually transferred;

(d)	Sending Generation Control Area (GCA);

(e)	Receiving Load Control Area (LCA);

(f)	Purchasing / Scheduling Entity (PSE);

(g)	Entity scheduling the export of power over a DC Tie; and

(h)	Status of Transaction (Implement, Withdrawn, Cancelled, Conditional, etc.).

(2)	ERCOT shall maintain and provide the requesting TSP or DSP data pertaining to transactions over the DC Ties for the period from June 2001 to the present.  For each transaction, the same data as specified in paragraph (1) above, must be provided.