Operations Working Group Meeting

Wednesday 10/22/14

Austin - MET Center

In Attendance:

Brad Calhoun – IncSys			                             John Warren – LCRA

Sherry Looney – Luminant				Billy Reid – AEN

Colleen Frosch – ERCOT					Julie Thomas – Luminant

Kevin Morley – CenterPoint Energy			Curtis Graves – AEN

Chad Thompson – ERCOT				Shirley Mathew – AEN

Michael Juricek – ONCOR				John Abel – ONCOR

Jerry Willms – Lone Start Transmission			Stephen Solis – ERCOT

Patrick Trevino – CPS					Robert Avila – BPUB

| Brian Manning – ERCOT | Ann Boren - ERCOT |
| --- | --- |
| Walter Reid – Wind Coalition | Adrianne Brandt - AEN |

Dial-In Attendees:

Linda Rodriquez – AEP					Seth Trout – CES

David Thompson – ERCOT				Bob Temple – Sharyland

Robert Bailey – NRG					Keith Albert – CPS

- Antitrust Admonition

Meeting opened at 9:30 with a review of the Antitrust Admonition by John Warren.

- ROS Meeting Report

Nothing to report.

- September OWG Meeting Notes

Reviewed notes. No changes were made.

- NOGRR Reviews and Language Changes

- 135NOGRR Constraint Management During Energy Emergency Alerts. This Nodal Operating Guide Revision Request (NOGRR) seeks to improve management of congestion during an Energy Emergency Alert (EEA) by proposing:

  - Language that provides a mechanism for ERCOT Operations to manage constraints in EEA 2 or 3 to higher Facility ratings when applicable for those constraints identified as limiting generation output; and

  - Language that reconsiders use of double-circuit contingencies during emergency operations based on Grid conditions   Tabled to give ERCOT time to file comments to clean up language.

- 136NOGRR Verifying QSE Capability to Operate in CFC. This Nodal Operating Guide Revision Request (NOGRR) establishes a process for ERCOT to conduct Constant Frequency Control (CFC) tests to ensure that Qualified Scheduling Entities (QSEs) can provide this service if ERCOT loses its ability to control system frequency; and removes the CFC definition from the Nodal Operating Guide due to the definition being incorporated into the Protocols via associated NPRR646. Language Review.  OWG was in consensus to recommend approval as amended by the 8/13/14 Luminant comments

- 137NOGRR Rescind NOGRR034 and Maintain Current Telemetry Performance Reporting Practices. This Nodal Operating Guide Revision Request (NOGRR) rescinds the grey-boxed language introduced by NOGRR034, Rescind Telemetry Performance Calculation Exclusions, to maintain current telemetry performance reporting practices. ERCOT and Market Participants are satisfied with current telemetry reporting requirements as reflected in the discussion at the July 2014 PRS meeting, and recognize that there would be substantial costs associated with the implementation of the currently grey-boxed language introduced by NOGRR034. Language Review.  OWG was in consensus to endorse and forward the 9/24/14 OWG Report and IA to ROS

- 138NOGRR Delete Grey Box for Reporting of Back-up Control Plan Submittal. This Nodal Operating Guide Revision Request (NOGRR) proposes the discontinuation of the posting requirement for Discontinue Backup Control Plan Submittal Results, ERCOT Market Information List (EMIL) ID, NP8-510M and Backup Control Plan Test Dates and Results Summary Reports, EMIL ID NP8-922-M.  Tabled to allow ROS review of associated NPRRs.

- 139NOGRR Under/Over-Frequency Relaying Requirements. This Nodal Operating Guide Revision Request (NOGRR) adds over-frequency relaying requirements and clarifies under-frequency and over-frequency relay set-points so that Generation Resources know what is expected.  Over-frequency relay set points criteria was approved by NERC in March 2014 under Standard PRC-024, Generator Frequency and Voltage Protective Relay Settings.  Tabled to allow for additional review and time for submittal of comments.

- Monthly Operations Report

Reviewed the September report; no questions were asked. A separate report will be presented on the Valley Load Shed event that occurred on 10/08/14. Discussed the cold weather event presentation, which looked at unit outages in cold weather.  ERCOT will bring discussion on this at the next WMS meeting.

- Operations Task Force

No items on this month’s agenda.

- Texas RE Update Report

No items on this month’s agenda.

- System Operations Report

Operating Guide 4.7.1 (2) states that “ERCOT shall implement and maintain procedures to provide GMD alerts and warnings to Transmission Operators (TOs)”.  ERCOT Operations discuss that for Alerts, hotline calls are made for K-7 and above.  However for Warnings, the plan is to post K-7 and above Warning to the Operations Message page on ERCOT.com.  OWG was in agreement with that process.

- Seminar Task Force Report

No items on this month’s agenda.

- Other

Julie Thomas, Chair of the MIS User Group discussed NOGRR084 which is the Daily Grid Report. Scope of original NOGRR does not seem to be efficient now.  Workshop held in August to look at how this could be improved.  OWG reviewed the data elements, but it is unclear as to what the difference is between the original NOGRR and what is being suggested now. ERCOT will bring this information back to OWG.  ONCOR wants a quick snapshot of what happened the previous day, they do not want to have to go to various places to pull this information together.

- Future Meeting Date

Wednesday November 19th ERCOT Met Center room 168.