ERCOT System Protection Working Group

Meeting Minutes – July 17, 2014

Austin, TX

- 8:30 am: SPWG chair Andrew Mattei read the ERCOT Antitrust admonition.  He then passed around the sign-in sheet, email list / roster, and the SPWG contact information list.

- 8:02 am: Qiuli Yu presentation of Short Circuit Case-Building

  - Modeling Process

    - Pass zero of future years cases

      - Comes from current year case of same year

      - Not future years cases of previous years shifted up

  - Case Development

    - Qiuli Yu to send out paper on Type III & Type IV wind turbines

    - Modeling for conventional generation - topologies and connections have been problematic

- 9:10 am: Andrew Mattei Case Building

  - File comments requested – ERCOT would place data on case, Aspen version etc. in comment field

  - Recommendation for ASPEN switches – help file from ASPEN

- 9:20 am: Pipeline AC mitigation studies

  - Requested information includes - grounding/modeling information, fault studies, load on circuit

- 9:30 am: Jason Bentz - Southwest Power Pool MOD process

- 9:40 am: Leslie Williams – ERCOT MOD

- 10:30 am: Brian Clowe – Proposed updates to casebuilding procedure guide in November 2014

  - Load items in figures – remove

  - Add wind turbine modeling section placeholder

  - Populate 3.7 with information from above

- 10:45 am: Sam Francis NERC Updates

  - SPCS – PRC-026 relay response to power swings

  - FERC 754 - TPL-004, TPL-001

  - PRC-025-1 Phase II of 733 order generator reliability

  - PRC-027 PRC-001

  - PRC-005

  - PRC-005-x	Two teams working on standard

- 11:40 pm: Andrew Mattei – Review of action items and meeting close

  - Review submittal items due before next calendar meeting

    - Review SPWG Procedure Manual Review

  - Meeting Adjourned

Day 2 Attendees:

| Andrew Mattei Brazos Electric Danny Ee Austin Energy Kristian Koellner LCRA Peter Belkin AEP Stan Ginsburg Brazos Electric Glenn Hargrave CPS Energy Manjula Datta-Barua CenterPoint Energy Xia Gao Austin Energy Bill Tucker AEP | Dung Nguyen STEC David Penney TRE Brian Clowe CenterPoint Energy Matt Boecker LCRA Ivan Ivanov Garland Power-Light Genardo Corpuz LCRA Ed Geer ERCOT Qiuli Yu ERCOT | WebEx: Bret Burford Perry Brown Jason Bentz Mark Chronister Sam Francis Derek Merta - BTU |
| --- | --- | --- |