## Slide 1
ERCOT Compliance update to TAC
Underfrequency-Load Shed survey update
November 20, 2014
Notes: <number>

## Slide 2: Completion of UFLS Survey Requirement
ERCOT coordinated and conducted an annual survey on May 13, 2014 with the TSPs and DSPs to ensure that the required automatic under-frequency load shed circuits were configured to provide the appropriate load relief in an under-frequency event as required by table below from Operating Guides 2.6.1(1) Requirements for Under-Frequency Load Shedding:
The results of the requirement were successful and are reflected below:
OpGuide 2.6.1 (2) ERCOT will prior to the peak each year, survey each Distribution Service Provider’s (DSP’s) compliance with the automatic Load shedding steps above, and report its findings to the Technical Advisory Committee (TAC).
Detailed timeline
  04/23/2014 - ERCOT announcement of survey timeline and effort to OWG
  04/10/2014 - ERCOT email notification sent by Client Services to TSP/DSP Authorized Representatives
  05/13/2014 - Survey test day
  06/13/2014 - Survey results due back to ERCOT
  September/October- Results compiled and being reported to OWG/ROS/TAC