## Slide 1
ROS Report
Bill Hatfield
2014 ROS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
Nov 20, 2014 TAC Meeting
Notes: <number>

## Slide 2: Schedule
Last ROS meeting
  Oct 30, 2014
Future ROS meetings
  Dec 4, 2014
  Jan 8, 2015
Nov 20, 2014 TAC Meeting

## Slide 3: ROS Action Items (Vote)
NOGRR137: Rescind NOGRR034and Maintain Current Telemetry Performance Reporting Practices
  Recommended approval (unanimous) per OWG report
PGRR039: Generation Data for Resource Adequacy and Reliability Reporting
  Recommended approval (unanimous) per PLWG report
ROS Procedures
  Changes to accommodate new OTWG
  Recommended approval (unanimous)
Nov 20, 2014 TAC Meeting

## Slide 4: ROS Action Items (Update)
NPRR658: Changes to Annual Reporting Requirements tor RUC payments Made to Resources with PPAs
  ROS Endorsed as submitted
NPRR659: Discontinue RMR Cost Data Deviation Requests/Responses Report
  ROS Endorsed as amended by WMS and revised by ROS
Nov 20, 2014 TAC Meeting

## Slide 5: Status of Assignments
Maintain/Improve Operational Checklist for Resource Interconnection
  Draft Handbook distributed for comments
  ERCOT will provide revised draft Handbook in November
CDR and Planning Model Study Differences
  Whitepaper distributed to ROS and WMS for comments
  Work underway to revise whitepaper
Load Scaling Methodologies in Planning Studies
  More transparency needed
  PLWG (and MP’s) working to develop a Load Scaling Methodology Standard
Nov 20, 2014 TAC Meeting

## Slide 6: Status of Assignments
Voltage Reduction report
  Remaining issues: VRTF to explore1) implementation costs and 2) load participation
  VRTF preparing survey to send to TDSPs
Early RUCing of units during severe winter weather due to unit start-up failures, trips, and de-rates; review need for ERCOT Operating procedures for RUCing units.
  ROS concluded that ERCOT has tools in place to resolve generation losses with current RUCing practices; ERCOT agrees
  ROS will revisit if changes are proposed to RUCing process
Nov 20, 2014 TAC Meeting