| NOGRR Number | 137 | NOGRR Title | Rescind NOGRR034 and Maintain Current Telemetry Performance Reporting Practices |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | November 20, 2014 |  |  |
| Effective Date |  | December 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Operating Guide Section(s) Requiring Revision |  | 7.3.3, Data from QSEs and TSPs to ERCOT |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) rescinds the grey-boxed language introduced by NOGRR034, Rescind Telemetry Performance Calculation Exclusions, to maintain current telemetry performance reporting practices. ERCOT and Market Participants are satisfied with current telemetry reporting requirements as reflected in the discussion at the 7/17/14 PRS meeting, and recognize that there would be substantial costs associated with the implementation of the currently grey-boxed language introduced by NOGRR034. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Procedural History |  | - On 8/25/14, NOGRR137 and an Impact Analysis were posted. - On 9/24/14, the Operations Working Group (OWG) considered NOGRR137. - On 10/22/14, OWG considered the 9/24/14 OWG Report and Impact Analysis for NOGRR137. - On 10/30/14, ROS considered NOGRR137. - On 11/20/14, TAC considered NOGRR137. |  |  |
| OWG Decision |  | On 9/24/14, OWG was in consensus to recommend approval of NOGRR137 as submitted. On 10/22/14, OWG was in consensus to endorse and forward the 9/24/14 OWG Report and Impact Analysis for NOGRR137 to ROS. |  |  |
| Summary of OWG Discussion |  | On 9/24/14, there was no discussion. On 10/22/14, there was no discussion. |  |  |
| ROS Decision |  | On 10/30/14, ROS unanimously voted to recommend approval of NOGRR137 as recommended by OWG in the 10/22/14 OWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 10/30/14, there was no discussion. |  |  |
| TAC Decision |  | On 11/20/14, TAC unanimously voted to approve NOGRR137 as recommended by ROS in the 10/30/14 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 11/20/14, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits |  |
| Quantitative Benefits | Significant implementation costs will be avoided by not implementing NOGRR034. |
| Impact to Market Segments |  |
| Other | As explained by ERCOT Staff at the 6/12/14 PRS meeting, the implementation costs for NOGRR034 would outweigh the benefits. At the 7/17/14 PRS meeting, PRS unanimously voted to recommend that ERCOT submit a NOGRR to remove language related to NOGRR034. |

| Sponsor |  |
| --- | --- |
| Name | Bill Blevins |
| E-mail Address | Bill.Blevins@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6691 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | lindsay.butterfield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

### 7.3.3	Data from QSEs and TSPs to ERCOT

(1)	Each TSP and QSE shall provide telemetered measurements on modeled Transmission Elements as required by the Protocols and the ERCOT Nodal ICCP Communications Handbook.

(2)	QSEs and TSPs shall provide Real-Time monitoring of power system quantities to ERCOT as defined in the Protocols and the ERCOT Nodal ICCP Communications Handbook.  ERCOT shall work with TSPs and QSEs to determine the required data using the methodology presented in the Protocols.  Transmission Element status and analog measurements that the TSPs and QSEs define in the Network Operations Model shall, at a minimum, be provided to ERCOT.  Ultimately, it is the responsibility of the TSPs and QSEs to provide all data requested by ERCOT.

(3)	Real-Time telemetry data from QSEs used to supply power or Ancillary Services shall be integrated by ERCOT and checked against settlement meter values on a monthly basis.

(5)	Each QSE and TSP shall notify ERCOT as soon as practicable when telemetry is returned to normal state.