## Slide 1: QMWG Update to WMS
S. Looney
December 3, 2014

## Slide 2: Assignments from WMS
ERCOT Market Operations Report
  Two SASMs in October, no AS insufficiency
  Two unique HDL/LDL overrides in October. One for Planned Outage pre-posturing and one for Valley Transmission Emergency.
  More detail will be available from ERCOT regarding the Valley Emergency when the final report is issued.
Market Impact of Voltage Reduction in an EEA
  VR is voluntary in EEA2. The VR Task Force observed a 1-2% load reduction during testing but is now working on a MW estimate for all of ERCOT.
  QMWG discussed adding this and all load shed to the pricing considerations of NPRR626.
  QMWG would like WMS direction.

## Slide 3: Assignments from WMS
NPRR649, Lost Opportunity Payments for HDL Manual Overrides
  Two options were presented in ERCOT’s NPRR. Option 1 provides emergency base point settlement payment for the entire Real Time position and Option 2 provides payment for DAM positions only.
  QMWG concurs with the comments of Odessa-Ector Power Partners in support of Option 1.

## Slide 4: Assignments from WMS
NPRR650, Clarification of Real-Time Telemetry for Split Generation Resources
  ERCOT submitted the NPRR to incorporate the contents of the existing Business Practice document into the Protocols.
  Due to the system design for Split Generation Resources, inclusion of specific telemetry requirements into the Protocols significantly increases the complexity of compliance for SGRs.
  ERCOT agreed to take this back and discuss internally
  Market Participants required that there be no change but that ERCOT handle operational concerns as specific situations arise.

## Slide 5: Assignments from WMS
Notification Requirements for Switchable Resources
  NPRR641 revises the reporting time for the subsequent 10 years.
  Discussion of what is appropriate in current year.
  ERCOT plans to issue a White Paper.
  QMWG discussion considered some appropriate aggregate availability reporting. Work will continue.

## Slide 6: Assignments from WMS
Use of EMR Status by Resources
  NPRR672, Clarification of EMR Status has been submitted.
    Provides that Resources may use EMR status when operation cannot be monetized and reflected through the EOC or recovered through the RUC make-whole process
    NPRR617 should provide some flexibility as well
    QMWG would like to discuss further
Generation Commissioning Handbook
  Currently effective version has been distributed but not yet posted to www.ercot.com
  For any proposed change, ERCOT will issue a Market Notice and bring the changes to QMWG for discussion before issuing a new version.
  ERCOT is working on an NPRR to replace the term “Commercial Operations” with a new defined term for use in the Protocols and the Generation Commissioning Handbook

## Slide 7: Assignments from WMS
Discussion of Settlement of Assigned AS –
  The general consensus of QMWG is that this could only happen if there is a lack of participation in the market and should not affect any MP that is participating in the markets.
  If any individual company is concerned, they should author an NPRR to strengthen the dispute language to cover this situation.
Review testing requirements for all Resources and impact on price formation – QMWG did not discuss at the November meeting
Questions on NDCRC Application – QMWG has asked ERCOT to be available to discuss questions which have been submitted.
Next Meeting scheduled for December 10 at 1:00 p.m.