| NPRR Number | 672 | NPRR Title | Clarification of EMR Status |
| --- | --- | --- | --- |
| Date |  | December 3, 2014 |  |
| Submitter’s Information |  |  |  |
| Name |  | Beth Garza |  |
| E-mail Address |  | bgarza@potomaceconomics.com |  |
| Company |  | Independent Market Monitor |  |
| Phone Number |  | 512-225-7077 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable. |  |

Comments

To provide additional context for the revisions proposed in Nodal Protocol Revision Request (NPRR) 672, the following is suggested to be added as comments.  Further, upon adoption of this NPRR, ERCOT is requested to revise their “Current Operating Plan Practices by Qualified Scheduling Entities” Business Practice Document to reflect these situations as follows:

“The following are examples of acceptable uses of EMR status.  If operation of the Resource:

(a)	Violates law, such as environmental exceedences where allowances cannot be replaced;

(b)	Expends fuel that is unrecoverable, such as a run-of-the-river hydro Resource;

(c)	Has a high probability of ending the life of the Resource; or

(d)	Violates a contract with counterparties that have jurisdiction outside the United States.”

Revised Cover Page Language

None.

Revised Proposed Protocol Language

None.