- Section 5:

PGRR039 – Generation Data for Resource Adequacy and Reliability Reporting

This Planning Guide Revision Request (PGRR) requires Interconnecting Entities (IEs) to provide certain information required for ERCOT’s Resource adequacy reports, Capacity, Demand and Reserves Report and the Seasonal Assessment of Resource Adequacy (SARA) Report, as well as for annual North American Electric Reliability Corporation (NERC) reliability assessment data requests; and ensures ERCOT is notified of a decision by an IE and Transmission Service Provider (TSP) to execute a Standard Generation Interconnection Agreement (SGIA) before all interconnection studies have been completed and reviewed by the parties.

Revised Subsections:  5.3.2, 5.5.1

- Section 6:

PGRR033 – Dynamics Flat Start Cases Preparation

This PGRR requires ERCOT to prepare all flat start simulations; and makes non-substantive administrative changes to correct the title of the Dynamics Working Group Procedural Manual.

Revised Subsection:  6.2.4 [unboxed due to effective date]