Date:	December 18, 2014

To:	Technical Advisory Committee (TAC) Representatives

From:	John Varnell, Protocol Revision Subcommittee (PRS) Chair

Subject: Revision Requests

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR642, Constraint Management During Energy Emergency Alerts [ERCOT] - NPRR645, Real-Time On-Line Capacity Revisions [ERCOT] - NPRR648, Remove References to Flowgate Rights [ERCOT] - NPRR658, Changes to Annual Reporting Requirements for RUC Payments Made to Resources with PPAs [MISUG] - NPRR659, Discontinue RMR Cost Data Deviation Requests/Responses Report [MISUG] - NPRR665, As-Built Clarification of Reliability Deployment Price Adder [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR642, Constraint Management During Energy Emergency Alerts [ERCOT] Proposed Effective Date: March 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This Nodal Protocol Revision Request (NPRR) seeks to improve management of congestion during an Energy Emergency Alert (EEA) by proposing language that provides a mechanism for ERCOT Operations to manage constraints in EEA 2 or 3 to higher Facility ratings when applicable for those constraints identified as limiting generation output; and language that reconsiders use of double-circuit contingencies during emergency operations based on ERCOT Transmission Grid conditions. PRS Decision: On 11/6/14, PRS voted to recommend approval of NPRR642 as amended by the 11/4/14 CenterPoint Energy comments and revised by PRS. There was one abstention from the Independent Power Marketer (IPM) Market Segment. On 12/11/14, PRS voted to endorse and forward to TAC the 11/6/14 PRS Report as revised by PRS and the Impact Analysis for NPRR642. - NPRR645, Real-Time On-Line Capacity Revisions [ERCOT] Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 886 ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to Settlements and Billing (S&B); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies NPRR568, Real-Time Reserve Price Adder Based on Operating Reserve Demand Curve, Phase 1 inputs to the calculation of Real-Time On-Line Capacity by including On-Line Non-Spinning Reserve (Non-Spin) in start-up mode, eliminating adder payments during under generation intervals for the amount of MW under-generated, and capping Real-Time Metered Generation (RTMG) at the High Sustained Limit (HSL) to prevent negative On-Line capacity for Wind-powered Generation Resources (WGRs). Additionally, Resource-level bill determinants for adjusted HSL (Real-Time Adjusted On-Line High Sustained Limit for the Resource (RTOLHSLRA)) and RTMG (Real-Time Adjusted Metered Generation per QSE per Settlement Point per Resource (RTMGA)) will be provided for transparency. Additionally, new Resource-level bill determinants have been added to the Phase 2 grey box language to better represent the manner of implementation. PRS Decision: On 11/6/14, PRS unanimously voted to recommend approval of NPRR645 as amended by the 10/24/14 ERCOT comments and as revised by PRS. On 12/11/14, PRS unanimously voted to endorse and forward to TAC the 11/6/14 PRS Report and Impact analysis for NPRR645, with a recommended priority of 2015 and rank of 886. - NPRR648, Remove References to Flowgate Rights [ERCOT] Proposed Effective Date: March 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR deletes references to Flowgate Rights (FGRs) for consistency with NPRR599, Removal of FGR-Specific Settlement Language, which the ERCOT Board approved on 6/10/2014, and aligns Protocol language with ERCOT systems for Congestion Revenue Rights (CRRs), Settlements and Credit, which do not have the capabilities of valuing or settling FGRs. PRS Decision: On 11/6/14, PRS unanimously voted to recommend approval of NPRR648 as amended by the 10/14/14 ERCOT comments. On 12/11/14, PRS unanimously voted to endorse and forward to TAC NPRR648 as submitted and the associated Impact Analysis. - NPRR658, Changes to Annual Reporting Requirements for RUC Payments Made to Resources with PPAs [MISUG] Proposed Effective Date: March 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR proposes the discontinuation of the posting of the Annual Report requirement if there are no Make-Whole Payments for Resources with Power Purchase Agreements, ERCOT Market Information List (EMIL) ID, NP5-661-M. PRS Decision: On 11/6/14, PRS unanimously voted to recommend approval of NPRR658 as submitted. On 12/11/14, PRS unanimously voted to endorse and forward to TAC the 11/6/14 PRS Report and the Impact Analysis for NPRR658. - NPRR659, Discontinue RMR Cost Data Deviation Requests/Responses Report [MISUG] Proposed Effective Date: Upon system implementation. ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to MIS and the ERCOT website; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR proposes the discontinuation of the posting requirement for Reliability Must Run Cost Data Deviation Requests/Responses, EMIL ID, NP3-558-M. PRS Decision: On 11/6/14, PRS unanimously voted to recommend approval of NPRR659 as amended by the 10/30/14 ROS comments. On 12/11/14, PRS unanimously voted to endorse and forward to TAC the 11/6/14 PRS Report as amended by the 12/10/14 ERCOT comments and the Impact Analysis for NPRR659. - NPRR665, As-Built Clarification of Reliability Deployment Price Adder [ERCOT] Proposed Effective Date: Upon system implementation of NPRR626, ORDC Price Reversal Mitigation Enhancement ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. (impacts captured in NPRR626) Revision Description: This NPRR details how the Energy Offer Curves for Reliability Unit Commitment (RUC)-Committed Resources will be extended or created for Security-Constrained Economic Dispatch (SCED) and the pricing run to determine the Reliability Deployment Price Adder. This NPRR also clarifies language for related data that will be sent and/or posted during the Operating Hour. PRS Decision: On 11/6/14, PRS unanimously voted to recommend approval of NPRR665 as revised by PRS. On 12/11/14, PRS unanimously voted to endorse and forward to TAC the 11/6/14 PRS Report and the Impact Analysis for NPRR665 Revision Requests Rejected None. Revision Requests Withdrawn - SCR782, Outage Scheduler Enhancements – Group 1, TSP Notification [ERCOT] - SCR784, Outage Scheduler Enhancements – Group 3, Group Outage and Usability Enhancements [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the January 15, 2014 PRS Meeting - NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity [ERCOT] - NPRR660, Remove CRR State Change Adder [ERCOT] - NPRR669, Maintaining Frequency Responsiveness from Generation Resources Providing RRS [ERCOT] - SCR783, Outage Scheduler Enhancements – Group 2, Usability and Filtering Enhancements [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR625, Clarification of Non-Spin Requirements and Operational Procedures [Luminant] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR649, Lost Opportunity Payments for HDL Manual Overrides [ERCOT] - NPRR650, Clarification of Real-Time Telemetry for Split Generation Resources [ERCOT] - NPRR654, Discontinue Ancillary Service Requirement Methodology Assessment Report [MISUG] - NPRR655, Discontinue Contingency List Changes Due to Weather Report [MISUG] - NPRR657, Discontinue Backup Control Plan Submittal Results, Dispatch Instructions Compliance Metrics, and Backup Control Plan Test Dates and Results Summary Reports [MISUG] - NPRR661, Discontinue Posting Profile Data Evaluation Report [MISUG] - NPRR662, Proxy Energy Offer Curves [TIEC] - NPRR663, Ancillary Service Insufficiency Actions [ERCOT] - NPRR667, Ancillary Service Redesign [ ERCOT] - NPRR668, Updates to Texas SET Implementation Guide Process [ Texas SET] - NPRR670, Clarification of Portfolio Weighted Auction Clearing Price (PWACP) [ERCOT] - NPRR671, Incorporation of DAM Credit Parameters into Protocols [ERCOT] - NPRR672, Clarification of EMR Status [Morgan Stanley] - NPRR673, Correction to Estimated Aggregate Liability (EAL) for a QSE that Represents Neither Load nor Generation [ERCOT] - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] New Revision Requests Scheduled for Consideration at the January 15, 2014 PRS Meeting - NPRR674, Clarification of Water Supply Rights Documentation [ERCOT] - NPRR675, Modifications for ERS Estimates in Calculating Future Planning Reserves [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/nprotocols/nprr http://www.ercot.com/mktrules/syschangereq/scrs.html