- Section 2:

NPRR664 – Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events

This Nodal Protocol Revision Request (NPRR) introduces a Fuel Index Price for Resource (FIPRr).  Resources may designate an FIPRr based on the Gas Daily’s Waha index price, or the weighted price of the Gas Daily Houston Ship Channel index price and the Gas Daily Waha index price.  The default FIPRr shall be the Fuel Index Price (FIP).  Resources that designate an FIPRr based on Waha index price or the weighted price must submit documentation to ERCOT indicating such designation and provide proof of physical delivery from such areas, as described in the Verifiable Cost Manual.  In addition, a Real-Time Make-Whole Payment provision is included to address exceptional fuel cost events that are not resolved by the change to an FIPRr.

Revised Subsections:	2.1 [effective upon system implementation] and 2.2

- Section 3:

NPRR640 – As-Built Clarification of Load Resource Participation in SCED and Non-Spin Qualification

This Nodal Protocol Revision Request (NPRR) clarifies requirements for Load Resource participation in Security Constrained Economic Dispatch (SCED), and also aligns Section 8.1.1.2.1.3, Non-Spinning Reserve Qualification, with the current requirement that Load Resources may only qualify to provide Non-Spinning Reserve (Non-Spin) if they are a Controllable Load Resource qualified to participate in SCED.

Revised Subsection:	3.6.1

NPRR664 – Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events

See Section 3 above.

Revised Subsections:	3.14.1 and 3.14.1.16 [effective upon system implementation]

- Section 4:

NPRR560 – Caps and Floors for Energy Storage Resources

This Nodal Protocol Revision Request (NPRR) specifies the method for setting various caps and floors used in various mitigation and make-whole calculation processes for energy storage Resources; many of the actual cap values and calculations are described in more detail in the Verifiable Cost Manual.

Revised Subsections:	4.4.9.2.3, 4.4.9.3.3, 4.4.9.4.1, and 4.4.9.4.2

NPRR664 – Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events

See Section 3 above.

Revised Subsections:	4.4.9.2, 4.4.9.2.1, 4.4.9.2.3, 4.4.9.3.1, 4.4.9.3.3, 4.4.9.4.1, and 4.4.9.4.2 [effective upon system implementation]

- Section 5:

NPRR664 – Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events

See Section 3 above.

Revised Subsections:	5.6.1, 5.7.1.1, and 5.7.3 [effective upon system implementation]

- Section 6:

NPRR595 – RRS Load Resource Treatment In ORDC

This Nodal Protocol Revision Request (NPRR) credits/charges Load Resources providing Responsive Reserve (RRS) Service based on their telemetered Load Consumption as opposed to using the telemetered RRS Ancillary Service Schedule.

Revised Subsections:	6.5.5.2 and 6.7.4

NPRR664 – Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events

See Section 3 above.

Revised Subsections:	6.6.3.7 (new), 6.6.3.8 (new) [effective from January 1, 2015 until May 1, 2015, then grey-boxed until system implementation], and 6.6.6.2 [effective upon system implementation]

- Section 7:

NPRR580 – Establishment of a Rolling CRR Balancing Account Fund

This Nodal Protocol Revision Request (NPRR) establishes a rolling Balancing Account Fund.

Revised Subsections:	7.9.3.4, 7.9.3.5, and 7.9.3.6 (new) [unboxed due to system implementation]

NPRR647 – CRR Auction Shadow Price Transparency

This Nodal Protocol Revision Request (NPRR) requires ERCOT to post the Congestion Revenue Right (CRR) Auction Shadow Prices to the Market Information System (MIS) Public Area.

Revised Subsection:	7.5.3.1 [effective upon system implementation]

NPRR560 – Caps and Floors for Energy Storage Resources

See Section 2 above.

Revised Subsection:	7.9.1.3

NPRR664 – Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events

See Section 3 above.

Revised Subsection:	7.9.1.3 [effective upon system implementation]

NPRR666 – Clarification for the CRR Balancing Account

This Nodal Protocol Revision Request (NPRR) provides clarification of the process for the monthly Congestion Revenue Rights (CRR) Balancing Account in accordance with NPRR580, Establishment of a Rolling CRR Balancing Account Fund, approved by the ERCOT Board of Directors on 2/11/14.

Revised Subsection:	7.6 [effective upon system implementation of NPRR580]

- Section 8:

NPRR595 – RRS Load Resource Treatment In ORDC

See Section 6 above.

Revised Subsections:	8.1.1.1, 8.1.1.2, 8.1.1.2.1.6, 8.1.1.4.2, and 8.1.1.4.4 [effective upon system implementation]

NPRR640 – As-Built Clarification of Load Resource Participation in SCED and Non-Spin Qualification

See Section 3 above.

Revised Subsection:	8.1.1.2.1.3

- Section 9:

NPRR612 – Reduction of Cure Period Subsequent to Event of Default

This Nodal Protocol Revision Request (NPRR) reduces the cure period for failure to make payment, transfer funds, provide collateral, or designate or maintain an association with a Qualified Scheduling Entity (QSE), to one Business Day subsequent to written notification of the breach.  In addition, the NPRR clarifies that an Invoice payment from available security will be considered a Late Payment per Section 16.11.6, Payment Breach and Late Payments by Market Participants; eliminates discrepancies between Protocol and Standard Form Agreement language; and aligns terminology in Section 16, Registration and Qualification of Market Participants.

Revised Subsections:	9.11, 9.11.3, 9.13.2.3, and 9.19 [effective April 1, 2015]

NPRR651 – Clarify DC Tie Data Request Timeline and Content

This Nodal Protocol Revision Request (NPRR) clarifies the timeline and content of reporting Direct Current Tie (DC Tie) schedule requests from Transmission Service Providers (TSPs) and Distribution Service Provider (DSPs) by measuring ERCOT’s response time from the date of the request, rather than the last day of the previous month.  This NPRR also removes paragraph (1)(c) of Section 9.17.2, Direct Current Tie Schedule Information, as these fields are not available in the application which stores Electronic Tag (e-Tag) data.

Revised Subsection:	9.17.2

NPRR664 – Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events

See Section 3 above.

Revised Subsections:	9.5.3 and 9.14.7 [effective upon system implementation]

- Section 12:

NPRR652 – Posting of Information Under NERC Reliability Standards to the MIS

This Nodal Protocol Revision Request (NPRR) allows for the posting of information under North American Electric Reliability Corporation (NERC) Reliability Standards to the Market Information System (MIS).

Revised Subsection:	12.2

- Section 16:

NPRR612 – Reduction of Cure Period Subsequent to Event of Default

See Section 9 above.

Revised Subsections:	16.11.6, 16.11.6.1, 16.11.6.1.1, 16.11.6.1.2, 16.11.6.1.3, 16.11.6.1.4, 16.11.6.1.6, 16.11.6.2, 16.11.6.2.1, 16.11.6.2.2, 16.11.6.2.3, 16.11.6.2.4, 16.11.6.2.5, 16.11.6.2.6, 16.11.6.2.7, and 16.16.1 [effective April 1, 2015]

NPRR639– Correction to Minimum Current Exposure

This Nodal Protocol Revision Request (NPRR) modifies the Minimum Current Exposure (MCE) calculation, which is part of the Total Potential Exposure (TPE) credit evaluation, to recognize net purchases of firm physical power, which is a crucial and widely utilized means to fulfill Load serving obligations.

Revised Subsection:	16.11.4.1 [effective upon system implementation]

- Section 17:

NPRR653 – Removal of Reasonable Contribution Language For Market Participant Data Requests

This Nodal Protocol Revision Request (NPRR) removes Protocol language that refers to a “reasonable contribution” for data requests from Market Participants when such data request imposes a burden or an expense to ERCOT.  ERCOT does not believe a contribution is necessary for Market Participant data requests.  ERCOT is able to manage all requests within a time frame that does not impose resource constraints.

Revised Subsection:	17.4

- Section 22:

NPRR612 – Reduction of Cure Period Subsequent to Event of Default

See Section 9 above.

Revised Subsections:	Section 22 Attachments A, B, D, and F [effective April 1, 2015]

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

- Revised Subsection:	6.6.7.2