## Reliability Projects
The following is the list of long term system assesment projects needed to resolve violations after N-1, G-1 + N-1, and X-1 + N-1 analysis.
LTSA Index | Project name | Test | Transmission Owner | ERCOT Contact | Current Trends 2024 | Current Trends 2029 | High Economic Growth 2024 | High Economic Growth 2029 | Stringent Enviromental 2024 | Stringent Enviromental 2029 | Global Recession 2024 | Global Recession 2029 | Notes
NNC_1 | Century - Kenndale 345-kV line upgrade | N-1 X-1+N-1 G-1+N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 |  | X | [5 empty] | X
NNC_2 | Valley SES - Anna Switch 345-kV line upgrade | X-1+N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 |  | X | X | X |  | X
NNC_3 | Venus Switch - Britton Road 345-kV line upgrade | X-1+N-1 G-1+N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 |  | X |  | X
NNC_4 | Everman Switch - Kenndale 345-kV line upgrade | N-1 X-1+N-1 G-1+N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 | X | X | X | X | X |  |  | X
NNC_5 | Paris Switch - Monticello SES 345-kV line upgrade | X-1+N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 |  |  |  | X
NNC_6 | Farmersville Switch - Royse 345kV double circuit line upgrade | G-1+N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 |  |  | X | X
NNC_7 | Lavon - Royse Switch 345-kV line upgrade | X-1+N-1 | Oncor | John Bernecker jbernecker@ercot.com 512-248-4274 | [5 empty] | X
NNC_8 | Ben Davis - Royse Switch 345-kV line upgrade | G-1+N-1 | Oncor | John Bernecker jbernecker@ercot.com 512-248-4274 | [5 empty] | X
NNC_9 | Tri Corner - Tyler Grande 345-kV line upgrade | G-1+N-1 | Oncor | John Bernecker jbernecker@ercot.com 512-248-4274 |  |  |  |  | X
NNC_10 | Forney Switch - Elkton 345-kV line upgrade | G-1+N-1 | Oncor | John Bernecker jbernecker@ercot.com 512-248-4274 |  |  |  |  | X
NNC_11 | Webb - Britton Road 345-kV line upgrade | G-1+N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 | [7 empty] | X
NNC_12 | Lake Creek SES - Temple Switch 345-kV line upgrade | G-1+N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 | [7 empty] | X
NNC_13 | Allenn Switch #2 345/138-kV autotransformer upgrade | N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 |  |  |  | X
NNC_14 | Bowman - Jacksboro 345-kV line upgrade | N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4543 |  |  |  | X |  | X
NNC_15 | Everman Switch #2 and #3 345/138-kV autotransformer upgrade | N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4544 |  | X |  | X |  | X |  | X
NNC_16 | Fort Worth source project | N-1 | Oncor/Brazos | Marcus Schaffer mschaffer@ercot.com 512-248-4545 |  | X |  | X |  | X |  | X
NNC_17 | Graham - Garvey Road 345-kV line upgrade | N-1 | Oncor | John Bernecker jbernecker@ercot.com 512-248-4274 |  |  |  | X |  | X
NNC_18 | West Roanoke project | N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4545 |  | X | X | X | X | X |  | X
NNC_19 | Hicks 345/138-kV autotransformer #2 addition | N-1 | Oncor | John Bernecker jbernecker@ercot.com 512-248-4274 | X | X | X | X | X | X |  | X
NNC_20 | Nevada project | N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4545 | X | X |  | X |  | X
NNC_21 | Rockhill project | N-1 | Oncor | Marcus Schaffer mschaffer@ercot.com 512-248-4545 | X | X | X | X | X | X
NNC_22 | Venus - Sam Switch 345-kV double circuit line upgrade | N-1 | Oncor/Lone Star | John Bernecker jbernecker@ercot.com 512-248-4274 | [7 empty] | X
NNC_23 | West Denton Project | N-1 | TMPA | John Bernecker jbernecker@ercot.com 512-248-4274 |  | X |  | X |  | X
NNC_24 | Wolf Hollow - Rocky Creek 345-kV line upgrade | N-1 | Oncor | John Bernecker jbernecker@ercot.com 512-248-4274 | [5 empty] | X
E1 | a. Loop Martin Lake (3100) - Stryker Creek (3109) into Mt Enterprise (3116) b. Loop Mt Enterprise (3116) - Trinidad (3124) into Stryker Creek (3109) c. Upgrade Mt Enterprise (3116) - Stryker Creek (3109) 1072-MVA 345-kV line to 1792 MVA d. Upgrade Mt Enterprise (3116) - Stryker Creek (3109) 1631-MVA 345-kV line to 1792 MVA | N-1 (a-c) X-1 N-1 (d, 2029) | Oncor | Hong Xiao hxiao@ercot.com 512-248-3983 |  |  |  |  | X (a-c) | X
E2 | Upgrade Richland (3133, 3134) to Big Brown (3380) 345-kV lines from 1072 to 1792 MVA | N-1 | Oncor | Hong Xiao hxiao@ercot.com 512-248-3983 | [5 empty] | X
C1 | Upgrade South Texas Project (5915) - Dow (42500) and South Texas Project (5915) - Jones Creek (42400) - Dow (42500) 345-kV lines | N-1 | CenterPoint Energy | Hong Xiao hxiao@ercot.com 512-248-3983 | [5 empty] | X
C2 | Loop North Belt - Jordan 345-kV Line into King (additional autotransformer at Jordan may be needed) | X-1 N-1 | CenterPoint Energy | Hong Xiao hxiao@ercot.com 512-248-3983 |  |  |  | X |  | X
C3 | Upgrade Singleton - Zenith 345-kV lines | G-1 N-1 | CenterPoint Energy | Hong Xiao hxiao@ercot.com 512-248-3983 | [5 empty] | X
SSC_1 | New 345-kV path from La Palma (8317) to Loma Alta (5966) | N-1 X-1+N-1 | American Eletrical Power | Rochie Guiyab rguiyab@ercot.com 512-248-6960 |  |  | X | X
SSC_2 | Kendall - Bracken 345-kV line upgrade | N-1 X-1+N-1 G-1+N-1 | LCRA/CPS | Varsha Chatlani vchatlani@ercot.com 512-248-6734 | [5 empty] | X
SSC_3 | Hamilton - Lobo 345-kV line | Base Case N-1 | AEP | Varsha Chatlani vchatlani@ercot.com 512-248-6734 |  |  | X | X | X | X

## Economic Projects
Project Tested | Current Trends |  | Global Recession |  | High Economic Growth |  | Stringent Environmental
| Economic Criteria Met? | In-service Year | Economic Criteria Met? | In-service Year | Economic Criteria Met? | In-service Year | Economic Criteria Met? | In-service Year
Panhandle Upgrades - Stage 1 | No | - | No | - | Yes | 2029 | Yes | 2024
Panhandle Upgrades - Stage 2 | No | - | No | - | No | - | Yes | 2024
Panhandle Upgrades - Stage 3 | - | - | - | - | No | - | Yes | 2024
Panhandle Upgrades - Stage 4 | - | - | - | - | - | - | Yes | 2024
Graham SES - Garvey Rd and Bowman Switch - Jacksboro Switching Station 345-kV Line Upgrades | No | - | - | - | - | - | Yes | 2024
Everman Switch - Courtland, Courtland - Cedar Hill Switch, and Everman Switch - Venus Switch 345-kV Line Upgrade | - | - | - | - | - | - | Yes | 2029
Decordova - Comanche Peak 345-kV Line Upgrade | - | - | - | - | - | - | No | -
Big Brown - Jewett 345-kV Double Circuit Line Upgrade | - | - | - | - | - | - | No | -
Morgan Creek – Tonkawa Switch 345-kV Line Upgrade | - | - | - | - | No | - | Yes | 2024
Kendall - Highway 46 345-kV Line Upgrade | Yes | 2024 | No | - | No | - | No | -
Kendall - Cagnon 345-kV Line Upgrade | - | - | - | - | - | - | Yes | 2029
San Miguel 3rd 345/138-kV Auto Addition | Yes | 2024 | - | - | No | - | - | -
Fayetteville 2nd 345/138-kV Auto Addition | Yes | 2024 | No | - | No | - | No | -
La Palma 2nd 345/138-kV Auto Addition | - | - | - | - | No | - | Yes | 2024
Rio Hondo - North Edinburg 345-kV Line Upgrade | - | - | - | - | - | - | No | -
Calaveras - Pawnee - Lon Hill 345-kV Line Upgrade | - | - | - | - | No | - | - | -
Zenith - TH Wharton Ckt 71 345-kV Line Terminal Equipment Upgrade | - | - | - | - | No | - | No | -
South Texas Project - Dow 345-kV Double-Circuit Line Reconductor | - | - | - | - | - | - | Yes | 2024
South Texas Project - Hillje Ckt 1 and South Texas Project - WA Parish 345-kV Lines Reconductor | - | - | - | - | - | - | Yes | 2029