## Slide 1: RMS/COPS Workshop II Update: IDR Meter Protocol Requirement Threshold
January 6, 2015
Update to RMS

## Slide 2: 12.02.14 ERCOT Met & WebEx
IDR Required Workshop II was held on 12/2/14 following RMS:
  32 MPs were in attendance either via WebEx or at ERCOT’s MET CTR. Attendance includes: CRs, TDSPs, MOU/EC, PUCT and ERCOT’s Staff.
The Team reviewed and discussed ERCOT’s and Market Participant’s responses to questions/action items that were identified during our IDR Required Workshop I WebEx held on October 20th .
  http://www.ercot.com/content/meetings/cops/keydocs/2014/1202/12_02_14_Workshop_II-_IDR_Market_Action_Item_Responses_v5.doc
Based upon Workshop II’s Market discussions, we couldn’t come to a consensus in responding to the question should the IDR Required Threshold be increased, eliminated or remain the same as posted in ERCOT’s Protocols Section 18.6?

## Slide 3: ERCOT’s Protocol Section: 18.6.1
Reminder of Language found in ERCOT Protocols Section 18.6:
    Installation and Use of Interval Data Recorder Meters:
      18.6.1 Interval Data Recorder Meter Mandatory Installation Requirements
        (1) Interval Data Recorder (IDR) Meters are required and shall be installed and utilized for Settlement of Premises having
        either:
          A peak Demand greater than 700 kW (or 700 kVA in CenterPoint Energy’s service territory); or
          (b) Service provided at transmission voltage (above 60 kV).

## Slide 4: 12.02.14 ERCOT Met & WebEx
Action Items: Workshop II identified additional investigations and feedback were requested by MPs:
  ERCOT: Are there additional options that should be considered to address ERCOT’s Load Forecasting concerns without the creation of a new Load Profile assignment?
  ERCOT: Can ERCOT provide a report of the current number of ESI IDs assigned with BUSIDRRQ Load Profile, but display the report in 500kW increments starting at 1MW to 5MW?
  K. Scott: To ensure the market is on the same page concerning TDSPs’ 4CP Tariff requirements, each TDSP will provide their 4CP Tariff language to Kathy.Scott@CenterPointEnergy.com for Workshop III Market discussions and understanding.
  K. Scott: Work with ERCOT to schedule IDR Meter Protocol Requirement Threshold Workshop III. (Date To Be Determined)

## Slide 5: BUSIDRRQ Counts by Load

## Slide 6: Questions?