## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
LoadZones | Monthly peak demand and energy data for this year by load zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Disclaimer
Disclaimer
DEMAND AND ENERGY REPORT
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided through the settlement process. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS.

## Updates
File Updated | 2015-01-07

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2014
[5 empty] | Updated | 2015-01-07
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2014 Demand, MW | 57256.3073 | 57010.71 | 54587.4097 | 48400.126 | 52615.3527 | 59785.7728 | 63531.9867 | 66453.6387 | 64439.5577 | 58419.1941 | 50807.3407 | 48361.715 | 66453.6387
Date | 2014-01-07 | 2014-02-06 | 2014-03-03 | 2014-04-28 | 2014-05-30 | 2014-06-30 | 2014-07-21 | 2014-08-25 | 2014-09-10 | 2014-10-01 | 2014-11-17 | 2014-12-31
Hour Ending | 8:00 | 8:00 | 8:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 07:15 | 19:00
Day of Week | Tuesday | Thursday | Monday | Monday | Friday | Monday | Monday | Monday | Wednesday | Wednesday | Monday | Wednesday
Forecasted Demand, MW | 51967 | 49789 | 44210 | 46375 | 60979 | 62135 | 63275 | 68096 | 57036 | 48697 | 44554 | 46356 | 68096
Difference, percent | 10.18% | 14.5% | 23.47% | 4.367% | -13.72% | -3.781% | 0.4061% | -2.412% | 12.98% | 19.96% | 14.04% | 4.327% | -2.412%
2013 Demand, MW | 50664.8051 | 40406.9964 | 41709.7986 | 45601.9335 | 56209.2205 | 64418.2945 | 64814 | 67244.5294 | 63387.8513 | 54709.5348 | 46954.2002 | 53642.4399 | 67244.5294
Date | 16 | 28 | 26 | 16 | 31 | 27 | 31 | 7 | 3 | 3 | 25 | 10
Hour Ending | 08:00 | 08:00 | 08:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 19:00 | 8:00
Day of Week | Wednesday | Thursday | Tuesday | Tuesday | Friday | Thursday | Wednesday | Wednesday | Tuesday | Thursday | Monday | Tuesday
Increase, MW | 6591.5022 | 16603.7137 | 12877.6111 | 2798.1925 | -3593.8678 | -4632.5217 | -1282.0133 | -790.8907 | 1051.7063 | 3709.6593 | 3853.1405 | -5280.7249
Increase, percent | 13.01% | 41.09% | 30.87% | 6.136% | -6.394% | -7.191% | -1.978% | -1.176% | 1.659% | 6.781% | 8.206% | -9.844%
Max All Time | 57256.3073 | 57265 | 54587.4097 | 51800 | 58947 | 66548 | 65808 | 68305 | 64862 | 58419.1941 | 50807 | 53642.4399
Date | 1/7/2014 at 0800 | 2/10/2011 at 0800 | 3/3/2014 at 0800 | 4/18/2006 at 1700 | 5/29/2012 at 1700 | 6/26/2012 at 1700 | 7/31/2012 at 1700 | 8/3/2011 at 1700 | 9/5/2012 at 1700 | 10/1/2014 at 1700 | 11/17/2014 at 0715 | 12/10/2013 at 0800
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2014 Demand, MW | 57812.739 | 57416.455 | 54660.2529 | 48556.7045 | 52678.6201 | 59818.6305 | 63626.7856 | 66580.0236 | 64596.1307 | 58527.8438 | 51272.8524 | 48733.0145 | 66580.0236
Date | 2014-01-07 | 2014-02-06 | 2014-03-03 | 2014-04-28 | 2014-05-30 | 2014-06-30 | 2014-07-21 | 2014-08-25 | 2014-09-10 | 2014-10-01 | 2014-11-17 | 2014-12-31
Interval Ending | 7:15 | 7:15 | 7:30 | 17:00 | 17:00 | 16:30 | 16:45 | 17:00 | 17:00 | 16:45 | 08:00 | 18:00
Day of Week | Tuesday | Thursday | Monday | Monday | Friday | Monday | Monday | Monday | Wednesday | Wednesday | Monday | Wednesday
Max All Time | 57812.739 | 57971 | 54660.2529 | 52024 | 59170 | 66577 | 65889 | 68342 | 64959 | 58527.8438 | 51272.8524 | 54248.5695
Date | 1/7/2014 at 0715 | 2/10/2011 at 0715 | 3/3/2014 at 0730 | 4/17/2006 at 1615 | 5/29/2012 at 1700 | 6/26/2012 at 1630 | 7/31/2012 at 1700 | 8/3/2011 at 1700 | 9/5/2012 at 1700 | 10/1/2014 at 1645 | 11/17/2014 0800 | 12/10/2013 at 0715
NET SYSTEM MINIMUM DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2014 Demand, MW | 24814.6552 | 24228.7167 | 24419.9419 | 24022.1451 | 24589.2411 | 28934.2904 | 30388.9684 | 30337.334 | 26603.3357 | 24930.3059 | 24663.8042 | 25553.9856
Date | 2014-01-13 | 2014-02-17 | 2014-03-31 | 2014-04-20 | 2014-05-03 | 2014-06-01 | 2014-07-19 | 2014-08-03 | 2014-09-14 | 2014-10-15 | 2014-11-01 | 2014-12-14
Interval Ending | 2:45 | 3:30 | 3:30 | 4:45 | 4:30 | 7:00 | 04:30 | 07:15 | 05:00 | 03:30 | 04:00 | 04:30
Day of Week | Monday | Monday | Monday | Sunday | Saturday | Sunday | Saturday | Sunday | Sunday | Wednesday | Saturday | Sunday

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2014
[5 empty] | Updated | 2015-01-07
NET ENERGY FOR LOAD
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2014 Energy, MWh | 28105525.1185 | 24855046.2309 | 24689371.2733 | 23937713.3843 | 27334866.1547 | 31789613.5012 | 34397254.9295 | 35911714.8876 | 30994098.5727 | 27436477.5495 | 24653007.6169 | 25928664.1757 | 340033353.3948
2014 YTD Energy, MWh | 28105525.1185 | 52960571.3494 | 77649942.6227 | 101587656.007 | 128922522.1617 | 160712135.6629 | 195109390.5924 | 231021105.48 | 262015204.0527 | 289451681.6022 | 314104689.2192 | 340033353.3948
Forecasted Energy, MWh | 27649920 | 24622759 | 24150143 | 23944270 | 29103413 | 31571028 | 34608462 | 35645257 | 28955472 | 25886323 | 24162817 | 26039414 | 336339278
Difference, percent | 1.648% | 0.9434% | 2.233% | -0.02738% | -6.077% | 0.6924% | -0.6103% | 0.7475% | 7.041% | 5.988% | 2.029% | -0.4253% | 1.098%
YTD Forecasted Energy, MWh | 27649920 | 52272679 | 76422822 | 100367092 | 129470505 | 161041533 | 195649995 | 231295252 | 260250724 | 286137047 | 310299864 | 336339278
YTD Difference, percent | 1.648% | 1.316% | 1.606% | 1.216% | -0.4232% | -0.2045% | -0.2763% | -0.1185% | 0.678% | 1.158% | 1.226% | 1.098%
2013 Energy, MWh | 25636413.219 | 21186721.9993 | 23247782.0253 | 23337357.949 | 27417557.1955 | 32201198.1314 | 33591603 | 35621619.7632 | 31220619.8199 | 25812778.6986 | 24264017.0937 | 28086432.9627 | 331624101.8577
Increase, MWh | 2469111.8995 | 3668324.2316 | 1441589.2479 | 600355.4352 | -82691.0408 | -411584.6303 | 805651.9295 | 290095.1244 | -226521.2472 | 1623698.8509 | 388990.5233 | -2157768.787 | 8409251.5371
Increase, percent | 9.631% | 17.31% | 6.201% | 2.573% | -0.3016% | -1.278% | 2.398% | 0.8144% | -0.7256% | 6.29% | 1.603% | -7.683% | 2.536%
2013 YTD Energy, MWh | 25636413.219 | 46823135.2184 | 70070917.2437 | 93408275.1927 | 120825832.3882 | 153027030.5197 | 186618633.5197 | 222240253.2828 | 253460873.1028 | 279273651.8014 | 303537668.895 | 331624101.8577
YTD Increase, MWh | 2469111.8995 | 6137436.1311 | 7579025.379 | 8179380.8142 | 8096689.7735 | 7685105.1432 | 8490757.0727 | 8780852.1971 | 8554330.9499 | 10178029.8009 | 10567020.3241 | 8409251.5371
YTD Increase, percent | 9.631% | 13.11% | 10.82% | 8.757% | 6.701% | 5.022% | 4.55% | 3.951% | 3.375% | 3.644% | 3.481% | 2.536%
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2014 | 65.98% | 64.88% | 60.79% | 68.69% | 69.83% | 73.85% | 72.77% | 72.63% | 66.8% | 63.12% | 67.39% | 72.06% | 58.41%
2013 | 68.75% | 75.54% | 72.97% | 69.37% | 65.39% | 66.86% | 69.11% | 70.86% | 62.83% | 69.94% | 74.29% | 73.5% | 55.73%
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2014 | 65.34% | 64.42% | 60.71% | 68.47% | 69.74% | 73.81% | 72.66% | 72.5% | 66.64% | 63.01% | 66.78% | 71.51% | 58.3%

## LoadZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY LOAD SETTLEMENT ZONE FOR 2014
[6 empty] | Updated | 2015-01-07
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2110.065 | 2013.7415 | 2068.61 | 1944.0307 | 2040.5501 | 2269.7659 | 2423.3416 | 2580.0938 | 2474.5648 | 2229.2963 | 1871.1401 | 1795.3361
LZ_CPS | 4222.3953 | 3895.1982 | 3732.1973 | 3867.6242 | 3957.3158 | 4246.0946 | 4582.4993 | 4697.1267 | 4557.9982 | 4167.3144 | 3554.1726 | 3381.7158
LZ_HOUSTON | 13313.1715 | 12509.6947 | 12093.0827 | 14153.8046 | 14527.7523 | 16170.8366 | 17213.8626 | 17646.9154 | 16779.6939 | 15721.0713 | 11753.8604 | 11429.7525
LZ_LCRA | 4056.4837 | 2768.3018 | 3034.6164 | 2014.9595 | 2182.9522 | 2414.2225 | 2626.5572 | 2806.0274 | 2671.6567 | 2349.6081 | 2587.9838 | 2317.4786
LZ_NORTH | 22231.6689 | 23757.7175 | 22522.8795 | 15845.8398 | 18552.291 | 22261.623 | 23550.31 | 25419.5805 | 25025.4941 | 21824.1456 | 20307.8505 | 18456.7653
LZ_RAYBN | 753.4308 | 728.2076 | 850.9001 | 390.1983 | 449.0967 | 614.9472 | 670.3835 | 634.2279 | 647.5563 | 608.2176 | 606.1264 | 626.1225
LZ_SOUTH | 6990.5703 | 7337.4039 | 6136.5847 | 6841.9536 | 6857.5825 | 7295.7112 | 7824.6695 | 8073.1533 | 7745.2574 | 7300.8474 | 6367.5611 | 6431.3607
LZ_WEST | 4134.9534 | 4406.1897 | 4221.3823 | 3498.2939 | 4111.0795 | 4545.4294 | 4735.1619 | 4722.8987 | 4693.9094 | 4327.343 | 4224.1575 | 4294.483
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2112.6087 | 2103.6746 | 2073.4339 | 1966.2761 | 2066.2451 | 2296.0442 | 2467.7226 | 2590.1771 | 2488.6542 | 2268.5956 | 1871.1401 | 1795.3361
Date and time | 7 @ 07:30 | 6 @ 19:00 | 3 @ 08:00 | 28 @ 18:00 | 30 @ 15:45 | 30 @ 18:00 | 28 @ 18:00 | 25 @ 18:00 | 10 @ 18:00 | 2 @ 17:00 | 17 @ 07:15 | 31 @ 18:00
LZ_CPS | 4222.3953 | 4017.3791 | 3768.212 | 3896.0819 | 3964.3785 | 4570.0482 | 4699.5037 | 4928.4015 | 4615.4814 | 4199.7399 | 3573.8037 | 3406.5469
Date and time | 7 @ 07:15 | 6 @ 19:30 | 3 @ 07:00 | 28 @ 17:45 | 30 @ 17:30 | 12 @ 17:00 | 29 @ 17:00 | 11 @ 16:45 | 11 @ 17:00 | 2 @ 16:45 | 17 @ 07:00 | 31 @ 18:15
LZ_HOUSTON | 13626.3955 | 12932.5995 | 12599.1468 | 14153.8046 | 14567.4628 | 16862.1674 | 17508.3472 | 17837.6844 | 17483.1126 | 16265.1599 | 12429.61 | 11429.7525
Date and time | 6 @ 19:15 | 6 @ 19:00 | 4 @ 19:00 | 28 @ 17:00 | 30 @ 16:45 | 12 @ 16:15 | 28 @ 17:00 | 11 @ 16:00 | 11 @ 16:30 | 2 @ 15:45 | 18 @ 06:45 | 31 @ 18:00
LZ_LCRA | 4056.4837 | 2858.4389 | 3058.6381 | 2123.9796 | 2211.8375 | 2517.6814 | 2797.6057 | 2885.8801 | 2749.2362 | 2508.3501 | 2627.346 | 2473.0688
Date and time | 7 @ 07:15 | 11 @ 18:45 | 3 @ 07:00 | 27 @ 17:15 | 30 @ 18:00 | 30 @ 18:15 | 28 @ 17:00 | 25 @ 17:30 | 10 @ 17:30 | 2 @ 16:30 | 17 @ 06:45 | 29 @ 07:30
LZ_NORTH | 23213.0421 | 23757.7175 | 22579.5297 | 16360.6792 | 19045.2989 | 22285.2233 | 24293.0578 | 25419.5805 | 25044.9749 | 21824.1456 | 20340.2114 | 18456.7653
Date and time | 6 @ 07:15 | 6 @ 07:15 | 3 @ 08:00 | 27 @ 18:00 | 29 @ 17:30 | 30 @ 17:00 | 14 @ 14:30 | 25 @ 17:00 | 10 @ 16:45 | 1 @ 16:45 | 17 @ 07:00 | 31 @ 18:00
LZ_RAYBN | 754.5621 | 758.1623 | 850.9001 | 461.1771 | 500.5482 | 631.7066 | 746.4283 | 700.3415 | 679.0404 | 620.8773 | 606.9446 | 659.8167
Date and time | 29 @ 07:00 | 5 @ 07:15 | 3 @ 07:30 | 30 @ 07:15 | 29 @ 18:00 | 7 @ 17:45 | 27 @ 17:15 | 7 @ 17:45 | 1 @ 17:30 | 1 @ 17:45 | 17 @ 07:30 | 31 @ 19:30
LZ_SOUTH | 7618.5465 | 7778.1054 | 6713.5467 | 6841.9536 | 6891.2355 | 7736.6718 | 7991.4091 | 8146.7366 | 7870.7348 | 7526.7796 | 6666.1904 | 6449.0706
Date and time | 28 @ 20:00 | 7 @ 07:30 | 3 @ 20:00 | 28 @ 17:00 | 30 @ 16:00 | 11 @ 17:00 | 31 @ 16:45 | 26 @ 16:00 | 11 @ 16:15 | 2 @ 15:45 | 18 @ 07:00 | 31 @ 18:30
LZ_WEST | 4196.3958 | 4406.1897 | 4235.4803 | 3812.8777 | 4322.0005 | 4744.5083 | 4735.1619 | 4786.4892 | 4742.3593 | 4341.2196 | 4224.1575 | 4397.5684
Date and time | 24 @ 07:30 | 6 @ 07:15 | 3 @ 07:15 | 23 @ 17:00 | 5 @ 17:00 | 5 @ 16:30 | 21 @ 16:45 | 7 @ 17:00 | 2 @ 16:45 | 1 @ 17:00 | 17 @ 07:15 | 31 @ 10:15
NET ENERGY FOR LOAD, MWh
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
LZ_AEN | 1056233.866 | 940628.7113 | 947016.8523 | 946839.2107 | 1066685.8856 | 1234139.942 | 1336470.2797 | 1411013.0276 | 1205679.6681 | 1087611.3176 | 925984.4778 | 975223.4008 | 13133526.6394
LZ_CPS | 1860313.5794 | 1612139.0145 | 1588703.0653 | 1628321.8152 | 1853415.8356 | 2220007.9592 | 2415807.7146 | 2570860.4599 | 2136245.3427 | 1916012.867 | 1576050.2225 | 1646751.8105 | 23024629.6864
LZ_HOUSTON | 7001994.8 | 6171506.9315 | 6499589.5991 | 6584397.4303 | 7518635.3629 | 8794473.9542 | 9435828.5666 | 9657167.6942 | 8516727.5109 | 7544592.5563 | 6616376.4469 | 6696042.312 | 91037333.165
LZ_LCRA | 1329526.6157 | 1064297.8424 | 993619.7275 | 922876.85 | 1026196.8797 | 1233385.2538 | 1392362.6765 | 1449453.468 | 1197100.3402 | 1055063.452 | 987378.9386 | 1062037.3607 | 13713299.4052
LZ_NORTH | 10741294.7311 | 9508337.1388 | 9109667.6286 | 8535154.3361 | 9710910.2979 | 11335660.5478 | 12376300.1405 | 13104078.4346 | 11276071.492 | 9615668.1455 | 8952074.2133 | 9600729.5938 | 123865946.7001
LZ_RAYBN | 312896.0357 | 287148.1083 | 252744.386 | 205843.7779 | 225216.1819 | 284937.6175 | 319974.2988 | 329798.998 | 273891.021 | 237329.971 | 240690.5366 | 285321.9033 | 3255792.836
LZ_SOUTH | 3360750.467 | 3068788.7533 | 2993435.2081 | 2925898.5243 | 3522947.8792 | 4076894.8881 | 4369423.1012 | 4580421.1746 | 3918344.9256 | 3595129.3502 | 3005457.4578 | 3146136.7012 | 42563628.4306
LZ_WEST | 2442515.0237 | 2202199.731 | 2304594.8064 | 2188381.4398 | 2410857.8319 | 2610113.3385 | 2751088.1516 | 2808921.6306 | 2470038.2721 | 2385069.8899 | 2348995.3234 | 2516421.0932 | 29439196.5321
Totals may not match the ERCOT values because of rounding.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2014
[6 empty] | Updated | 2015-01-07
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 14265.4293 | 13369.708 | 12981.3407 | 15078.2641 | 15367.7799 | 17031.51 | 18160.3306 | 18620.0131 | 17696.4871 | 16724.1956 | 12586.3826 | 12248.6547
East | 2204.1918 | 2178.0973 | 2049.0888 | 1648.543 | 1679.6376 | 2050.4933 | 2051.4117 | 2257.2209 | 2257.5217 | 2082.4901 | 1955.8411 | 1667.5628
Far West | 2168.0979 | 2303.0596 | 2203.8437 | 2041.3541 | 2310.4999 | 2519.7918 | 2592.1003 | 2497.1547 | 2467.4845 | 2328.4455 | 2350.2321 | 2360.2344
North Central | 20477.5406 | 21968.6529 | 21006.9586 | 14397.5283 | 17103.6967 | 20483.038 | 21847.243 | 23438.0315 | 23064.146 | 20045.624 | 18661.0654 | 17196.3837
North | 1224.5904 | 1330.6896 | 1275.151 | 838.2581 | 1019.355 | 1262.2213 | 1285.9197 | 1399.5721 | 1354.2788 | 1189.488 | 1147.9517 | 1075.2389
South Central | 10532.0975 | 9636.5903 | 9839.8085 | 8714.5025 | 9082.5704 | 10014.6669 | 10808.4461 | 11329.4097 | 10873.755 | 9818.6354 | 8935.84 | 8336.5302
South | 5177.1066 | 4930.735 | 3583.7303 | 4622.4299 | 4640.1446 | 4831.6364 | 5141.4641 | 5272.8366 | 5090.1426 | 4727.1055 | 4037.3762 | 4196.0678
West | 1763.6849 | 1698.9223 | 1720.3313 | 1215.8245 | 1474.9361 | 1625.2728 | 1739.8701 | 1765.7852 | 1792.315 | 1611.8597 | 1598.1633 | 1652.342
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 14559.8881 | 13772.6638 | 13395.6543 | 15078.2641 | 15412.9784 | 17828.7353 | 18458.453 | 18768.9575 | 18493.8769 | 17299.5189 | 13272.1801 | 12248.6547
Date and time | 6 @ 19:15 | 6 @ 19:00 | 4 @ 19:00 | 28 @ 17:00 | 30 @ 16:45 | 12 @ 16:15 | 28 @ 17:00 | 11 @ 16:00 | 11 @ 16:30 | 2 @ 15:45 | 18 @ 06:45 | 31 @ 18:00
East | 2225.7734 | 2185.7614 | 2145.3117 | 1698.9404 | 1801.5851 | 2139.8107 | 2313.0526 | 2362.9253 | 2315.1867 | 2164.5033 | 2004.1498 | 1804.2048
Date and time | 6 @ 07:15 | 6 @ 08:45 | 3 @ 10:15 | 28 @ 16:45 | 20 @ 16:30 | 30 @ 16:00 | 14 @ 15:45 | 22 @ 15:45 | 5 @ 15:30 | 2 @ 15:15 | 17 @ 07:00 | 30 @ 20:45
Far West | 2241.6164 | 2307.2674 | 2207.9933 | 2173.1818 | 2426.7101 | 2669.368 | 2592.1003 | 2570.9387 | 2571.1844 | 2339.0434 | 2374.7941 | 2415.4865
Date and time | 23 @ 19:30 | 6 @ 07:30 | 3 @ 07:15 | 23 @ 17:00 | 5 @ 16:45 | 2 @ 17:00 | 21 @ 16:45 | 7 @ 16:30 | 2 @ 16:45 | 9 @ 16:45 | 13 @ 07:15 | 30 @ 19:00
North Central | 21273.6222 | 21968.6529 | 21070.3766 | 15009.4268 | 17599.9711 | 20520.2354 | 22478.1548 | 23438.0315 | 23064.146 | 20087.7325 | 18661.0654 | 17196.3837
Date and time | 6 @ 07:15 | 6 @ 07:15 | 3 @ 08:00 | 27 @ 18:00 | 29 @ 17:30 | 30 @ 17:00 | 25 @ 17:30 | 25 @ 17:00 | 10 @ 17:00 | 7 @ 17:00 | 17 @ 07:15 | 31 @ 18:00
North | 1277.791 | 1330.6896 | 1286.2246 | 908.2352 | 1095.3804 | 1278.2475 | 1345.907 | 1404.5294 | 1357.3825 | 1195.2384 | 1147.9517 | 1103.9907
Date and time | 24 @ 07:30 | 6 @ 07:15 | 3 @ 08:30 | 15 @ 07:15 | 21 @ 17:00 | 4 @ 16:45 | 27 @ 17:30 | 25 @ 16:30 | 10 @ 16:30 | 1 @ 17:00 | 17 @ 07:15 | 31 @ 10:30
South Central | 10532.0975 | 9893.6937 | 9889.0046 | 8823.2028 | 9120.2694 | 10176.6559 | 10964.5867 | 11537.9025 | 10963.371 | 10021.7976 | 8949.3326 | 8363.9359
Date and time | 7 @ 07:15 | 11 @ 19:00 | 3 @ 07:15 | 28 @ 18:00 | 30 @ 16:00 | 11 @ 17:00 | 23 @ 17:00 | 25 @ 18:00 | 10 @ 17:30 | 2 @ 16:30 | 17 @ 07:00 | 31 @ 18:15
South | 5224.2154 | 5431.5197 | 4512.8358 | 4622.4299 | 4653.1448 | 5183.4659 | 5315.2521 | 5401.1881 | 5161.1275 | 4933.1682 | 4383.1877 | 4214.9173
Date and time | 6 @ 20:15 | 6 @ 19:45 | 3 @ 20:30 | 28 @ 17:00 | 30 @ 16:00 | 12 @ 16:30 | 31 @ 16:30 | 26 @ 16:30 | 11 @ 16:45 | 2 @ 15:45 | 18 @ 07:00 | 31 @ 18:30
West | 1766.8613 | 1737.2168 | 1733.6839 | 1337.8137 | 1549.2347 | 1658.7478 | 1766.684 | 1804.6414 | 1792.315 | 1615.7983 | 1598.1633 | 1674.8251
Date and time | 7 @ 07:30 | 11 @ 10:15 | 3 @ 07:15 | 23 @ 16:45 | 7 @ 17:00 | 5 @ 16:45 | 14 @ 17:00 | 8 @ 16:00 | 10 @ 17:00 | 1 @ 17:00 | 17 @ 07:15 | 31 @ 10:30
NET ZONE ENERGY, MWh
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Coastal | 7500703.3251 | 6596734.4169 | 6930084.6625 | 7017758.3832 | 8058376.0321 | 9373844.0517 | 10048322.9354 | 10290010.17 | 9104007.8566 | 8028281.153 | 7042090.8417 | 7167174.9472 | 97157388.7756
East | 1061488.8302 | 936835.2976 | 916365.1633 | 879897.6524 | 960145.6323 | 1092926.1305 | 1159138.6303 | 1252161.4696 | 1116153.9734 | 991865.3447 | 917305.1329 | 938364.3048 | 12222647.5619
Far West | 1367860.2557 | 1233239.357 | 1344448.9849 | 1323415.2519 | 1387601.133 | 1496988.5606 | 1548413.4591 | 1550320.1598 | 1378632.8353 | 1393855.8425 | 1394997.9849 | 1482359.0556 | 16902132.8803
North Central | 9824439.1603 | 8712636.3971 | 8310363.9013 | 7745146.0144 | 8847447.1591 | 10374447.183 | 11376956.1242 | 12010368.0003 | 10278052.3034 | 8729624.3192 | 8145572.2313 | 8805058.7253 | 113160111.5186
North | 655995.743 | 582526.5309 | 566086.2161 | 512055.796 | 583577.9389 | 660565.0612 | 696628.0039 | 741751.7615 | 641200.4042 | 563258.242 | 555102.8163 | 602085.5461 | 7360834.0601
South Central | 4618219.8325 | 4030938.488 | 3948820.3574 | 3921204.7735 | 4423593.7996 | 5250628.355 | 5766346.8388 | 6097934.3033 | 5097537.2951 | 4558764.8821 | 3914033.4209 | 4136736.4794 | 55764758.8255
South | 2209460.6331 | 1998401.891 | 1933276.9647 | 1882100.8965 | 2285791.5616 | 2674585.0933 | 2846113.8922 | 2982739.6217 | 2528702.8087 | 2395405.5115 | 1936818.1735 | 1987715.1342 | 27661112.1821
West | 867357.3387 | 763733.8524 | 739925.0231 | 656134.6164 | 788332.8982 | 865629.0658 | 955335.0457 | 986429.4014 | 849811.0959 | 775422.2547 | 747087.0153 | 809169.983 | 9804367.5907
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## EnergybyFuelType
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY BY FUEL TYPE FOR 2014
[6 empty] | Updated | 2015-01-07
ENERGY BY FUEL TYPE, MWh
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 9932413.7083 | 8601848.2754 | 8544905.3666 | 9318178.9543 | 10530457.9359 | 13165640.8097 | 15325914.4329 | 17421568.7002 | 14001500.0681 | 12511799.4088 | 9684529.9509 | 10723335.6724 | 139762093.2836
Coal | 10797587.6822 | 10304838.2649 | 9311876.0868 | 8865562.6685 | 10719137.3521 | 10614435.3838 | 12538345.1765 | 12140872.8196 | 11152694.9843 | 9173988.1399 | 8379874.4103 | 8484182.7671 | 122483395.736
Nuclear | 3685029.9008 | 3438989.7802 | 3209792.0688 | 1897289.2103 | 2777795.8501 | 3563717.3007 | 3731948.9038 | 3728380.3924 | 3624012.121 | 2958082.1612 | 2860033.2104 | 3812131.7797 | 39287202.6796
Wind | 3545911.1679 | 2390503.6189 | 3372238.325 | 3581291.0887 | 3215324.0438 | 3932104.1755 | 2429473.5954 | 2274598.6641 | 2024612.7549 | 2737659.6017 | 3712724.4261 | 2925942.3871 | 36142383.8492
Water | 13524.0286 | 11875.751 | 13170.1444 | 38620.9352 | 35916.9883 | 20498.6358 | 22354.6408 | 21010.7422 | 14328.7786 | 10955.8864 | 10782.2896 | 10465.8919 | 223504.713
Net DC/BLT | 67905.0155 | 41338.1338 | 169187.7228 | 172929.1669 | -6942.5254 | 376614.224 | 229370.7035 | 229281.4699 | 99422.6656 | -25421.6131 | -75930.3001 | -87221.2801 | 1190533.3834
Other | 63153.6153 | 65652.4067 | 68201.5589 | 63841.3602 | 63176.5098 | 116602.9716 | 119847.4766 | 96002.099 | 77527.2001 | 69413.9645 | 80993.6297 | 59826.9575 | 944239.75
Total | 28105525.1185 | 24855046.2309 | 24689371.2733 | 23937713.3843 | 27334866.1547 | 31789613.5012 | 34397254.9295 | 35911714.8876 | 30994098.5727 | 27436477.5495 | 24653007.6169 | 25928664.1757 | 340033353.3948
ENERGY BY FUEL TYPE, PERCENT
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 35.34% | 34.61% | 34.61% | 38.93% | 38.52% | 41.41% | 44.56% | 48.51% | 45.17% | 45.6% | 39.28% | 41.36% | 41.1%
Coal | 38.42% | 41.46% | 37.72% | 37.04% | 39.21% | 33.39% | 36.45% | 33.81% | 35.98% | 33.44% | 33.99% | 32.72% | 36.02%
Nuclear | 13.11% | 13.84% | 13% | 7.926% | 10.16% | 11.21% | 10.85% | 10.38% | 11.69% | 10.78% | 11.6% | 14.7% | 11.55%
Wind | 12.62% | 9.618% | 13.66% | 14.96% | 11.76% | 12.37% | 7.063% | 6.334% | 6.532% | 9.978% | 15.06% | 11.28% | 10.63%
Water | 0.04812% | 0.04778% | 0.05334% | 0.1613% | 0.1314% | 0.06448% | 0.06499% | 0.05851% | 0.04623% | 0.03993% | 0.04374% | 0.04036% | 0.06573%
Net DC/BLT | 0.2416% | 0.1663% | 0.6853% | 0.7224% | -0.0254% | 1.185% | 0.6668% | 0.6385% | 0.3208% | -0.09266% | -0.308% | -0.3364% | 0.3501%
Other | 0.2247% | 0.2641% | 0.2762% | 0.2667% | 0.2311% | 0.3668% | 0.3484% | 0.2673% | 0.2501% | 0.253% | 0.3285% | 0.2307% | 0.2777%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
These values are based on initial settlements and will not be updated with subsequent settlements.
"Other" includes solar, petroleum coke, landfill gas, biomass solids, biomass gases, and any unknown fuel.

## EnergybyFuelChart
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Natural Gas | 9932.4137 | 8601.8483 | 8544.9054 | 9318.179 | 10530.4579 | 13165.6408 | 15325.9144 | 17421.5687 | 14001.5001 | 12511.7994 | 9684.53 | 10723.3357
Coal | 10797.5877 | 10304.8383 | 9311.8761 | 8865.5627 | 10719.1374 | 10614.4354 | 12538.3452 | 12140.8728 | 11152.695 | 9173.9881 | 8379.8744 | 8484.1828
Nuclear | 3685.0299 | 3438.9898 | 3209.7921 | 1897.2892 | 2777.7959 | 3563.7173 | 3731.9489 | 3728.3804 | 3624.0121 | 2958.0822 | 2860.0332 | 3812.1318
Wind | 3545.9112 | 2390.5036 | 3372.2383 | 3581.2911 | 3215.324 | 3932.1042 | 2429.4736 | 2274.5987 | 2024.6128 | 2737.6596 | 3712.7244 | 2925.9424
Water | 13.524 | 11.8758 | 13.1701 | 38.6209 | 35.917 | 20.4986 | 22.3546 | 21.0107 | 14.3288 | 10.9559 | 10.7823 | 10.4659
DC Imports | 67.905 | 41.3381 | 169.1877 | 172.9292 | -6.9425 | 376.6142 | 229.3707 | 229.2815 | 99.4227 | -25.4216 | -75.9303 | -87.2213
Other | 63.1536 | 65.6524 | 68.2016 | 63.8414 | 63.1765 | 116.603 | 119.8475 | 96.0021 | 77.5272 | 69.414 | 80.9936 | 59.827

## EnergyComparisons
Energy, MWh
|  |  | Current | Previous | Prev, GWh |  | Previous source
|  | Jan | 28105.5251 | 26072476.3698 | 25636.4132 |  | 25636413.219
|  | Feb | 24855.0462 | 23737721.6958 | 21186.722 |  | 21186721.9993
|  | Mar | 24689.3713 | 22028910.172 | 23247.782 |  | 23247782.0253
|  | Apr | 23937.7134 | 21502948.6826 | 23337.3579 |  | 23337357.949
|  | May | 27334.8662 | 27221819.2111 | 27417.5572 |  | 27417557.1955
|  | Jun | 31789.6135 | 31781587.449 | 32201.1981 |  | 32201198.1314
|  | Jul | 34397.2549 | 32397557.5854 | 33591.603 |  | 33591603
|  | Aug | 35911.7149 | 35774778.982 | 35621.6198 |  | 35621619.7632
|  | Sep | 30994.0986 | 28844061.793 | 31220.6198 |  | 31220619.8199
|  | Oct | 27436.4775 | 23933083.247 | 25812.7787 |  | 25812778.6986
|  | Nov | 24653.0076 | 21753399.2658 | 24264.0171 |  | 24264017.0937
|  | Dec | 25928.6642 | 24049056 | 28086.433 |  | 28086432.9627
ytd | ytd |  | Energy, MWh
Actual | Forecast |  | Actual | Forecast |  | Difference from Actual
28105.5251 | 27649.92 | Jan | 28105.5251 | 27649.92 |  | -1.621% |  | 27649920
52960.5713 | 52272.679 | Feb | 24855.0462 | 24622.759 |  | -0.9346% |  | 24622759
77649.9426 | 76422.822 | Mar | 24689.3713 | 24150.143 |  | -2.184% |  | 24150143
101587.656 | 100367.092 | Apr | 23937.7134 | 23944.27 |  | 0.02739% |  | 23944270
128922.5222 | 129470.505 | May | 27334.8662 | 29103.413 |  | 6.47% |  | 29103413
160712.1357 | 161041.533 | Jun | 31789.6135 | 31571.028 |  | -0.6876% |  | 31571028
195109.3906 | 195649.995 | Jul | 34397.2549 | 34608.462 |  | 0.614% |  | 34608462
231021.1055 | 231295.252 | Aug | 35911.7149 | 35645.257 |  | -0.742% |  | 35645257
262015.2041 | 260250.724 | Sep | 30994.0986 | 28955.472 |  | -6.577% |  | 28955472
289451.6816 | 286137.047 | Oct | 27436.4775 | 25886.323 |  | -5.65% |  | 25886323
314104.6892 | 310299.864 | Nov | 24653.0076 | 24162.817 |  | -1.988% |  | 24162817
340033.3534 | 336339.278 | Dec | 25928.6642 | 26039.414 |  | 0.4271% |  | 26039414
0
0
|  | EIA-411 forecast made in March 2004 |  | 0
0

## DemandComparisons
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Current | 57256.3073 | 57010.71 | 54587.4097 | 48400.126 | 52615.3527 | 59785.7728 | 63531.9867 | 66453.6387 | 64439.5577 | 58419.1941 | 50807.3407 | 48361.715
Previous | 50664.8051 | 40406.9964 | 41709.7986 | 45601.9335 | 56209.2205 | 64418.2945 | 64814 | 67244.5294 | 63387.8513 | 54709.5348 | 46954.2002 | 53642.4399
Forecast | 51967 | 49789 | 44210 | 46375 | 60979 | 62135 | 63275 | 68096 | 57036 | 48697 | 44554 | 46356