## no payment reductions
calculations for contract period event performance factor | [11 empty] | simplifed example of calculation for a normalized peak demand reduction
contract period portfolio-level event performance in cell C164 is less than 0.9 and meets the criterion for an accelerated payment reduction | [11 empty] | normalized peak portfolio demand reduction in cell U33 exceeds 90% of obligation and eliminates any accelerated payment reduction
test 1
| resource 1 | eventpf | quantity | interval62 | interval63 | [7 empty] | max aft db |  | projected drv per site from offer (kw per customer)
|  |  | int_endtime | 15:30 | 15:45 | [6 empty] | 2006 | 100.1
[12 empty] | 2007 | 100.4 |  | resource 1 | 1.2821
|  | 0.44477 | Int_Frac | 0.16556 | 1 | [6 empty] | 2008 | 100.5 |  | resource 2 | 2.8571
|  |  | Int_Wt | 0.14204 | 0.85796 | [6 empty] | 2009 | 99.7
|  |  | MW_Actual | 4.147 | 3.115 | [6 empty] | 2010 | 102
|  |  | MW_Base | 4.25 | 4.308 | [6 empty] | 2011 | 105
|  |  | MW_Reduction | 0.103 | 1.193 | [6 empty] | 2012 | 103
|  |  | MW_Oblig | 2.5 | 2.5 | [6 empty] | 2013 | 100.2
|  |  | Int_PF | 0.24886 | 0.4772 | [7 empty] | 101.3625
|  | sites on offer |  | 1950 | 1950
|  | sites active for test |  | 930 | 930 | [6 empty] | resource 1 normalized peak demand reduction per site
[14 empty] | test 1 | test 4 | test 2 | test 3 | normal peak
| resource 2 | eventpf | quantity | interval62 | interval63 | [6 empty] | event aft avg db |  | 93.1 | 95.4 | 96.1 | 97 | 101.4
|  |  | int_endtime | 15:30 | 15:45 | [6 empty] | actual dr reduction per site |  | 1.2828 | 1.2914 | 2.3301 | 1.3165
[12 empty] | model dr reduction per site |  | 1.3386 | 1.5558 | 1.6218 | 1.7068 | 2.1222
|  | 0.051478 | Int_Frac | 0.16556 | 1 | [6 empty] | resource-level dr reduction based on max number of sites | [5 empty] | 2.3598
|  |  | Int_Wt | 0.14204 | 0.85796
|  |  | MW_Actual | 1.399 | 1.414 | [6 empty] | resource 2 normalized peak demand reduction per site
|  |  | MW_Base | 1.405 | 1.404 | [7 empty] | use actual from test 4 … no performance during earlier tests |  |  |  |  | 1.6389
|  |  | MW_Reduction | 0.006 | 0 | [6 empty] | resource-level dr reduction based on max number of sites | [5 empty] | 0.059
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0.36242 | 0 | [6 empty] | portfolio normalized peak demand reduction | [5 empty] | 2.4188
[12 empty] | portfolio obligation | [5 empty] | 2.6
|  | sites on offer |  | 35 | 35 | [6 empty] | percent of obligation delivered | [5 empty] | 0.93032
|  | sites active for test |  | 30 | 30
| portfolio | eventpf
|  | 0.42964 | prorated int_frac | 0.16556 | 1
|  |  | prorated obligation | 1.278 | 1.278
|  |  | actual obligation | 2.6 | 2.6
|  |  | actual demand reduction | 0.109 | 1.193
|  |  | int_pf | 0.25323 | 0.45885
test 2
| resource 1 | eventpf | quantity | interval70 | interval71
|  |  | int_endtime | 17:30 | 17:45
|  | 0.89985 | Int_Frac | 0.33 | 1
|  |  | Int_Wt | 0.24812 | 0.75188
|  |  | MW_Actual | 4.289 | 3.01
|  |  | MW_Base | 5.19 | 5.177
|  |  | MW_Reduction | 0.901 | 2.167
|  |  | MW_Oblig | 2.5 | 2.5
|  |  | Int_PF | 1 | 0.8668
|  | sites on offer |  | 1950 | 1950
|  | sites active for test |  | 930 | 930
| resource 2 | eventpf | quantity | interval70 | interval71
|  |  | int_endtime | 17:30 | 17:45
|  | 0 | Int_Frac | 0.33 | 1
|  |  | Int_Wt | 0.24812 | 0.75188
|  |  | MW_Actual | 1.343 | 1.322
|  |  | MW_Base | 1.309 | 1.288
|  |  | MW_Reduction | 0 | 0
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0 | 0
|  | sites on offer |  | 35 | 35
|  | sites active for test |  | 30 | 30
| portfolio | eventpf
|  | 0.87478 | prorated int_frac | 0.33 | 1
|  |  | prorated obligation | 1.278 | 1.278
|  |  | actual obligation | 2.6 | 2.6
|  |  | actual demand reduction | 0.901 | 2.167
|  |  | int_pf | 1 | 0.83346
test 3
| resource 1 | eventpf | quantity | interval59 | interval60
|  |  | int_endtime | 14:45 | 15:00
|  | 0.34078 | Int_Frac | 0.87333 | 1
|  |  | Int_Wt | 0.46619 | 0.53381
|  |  | MW_Actual | 3.95 | 4.085
|  |  | MW_Base | 5.546 | 5.549
|  |  | MW_Reduction | 1.596 | 1.464
|  |  | MW_Oblig | 2.5 | 2.5
|  |  | Int_PF | 0.73099 | 0.5856
|  | sites on offer |  | 1950 | 1950
|  | sites active for test |  | 1112 | 1112
| resource 2 | eventpf | quantity | interval59 | interval60
|  |  | int_endtime | 14:45 | 15:00
|  | 0.21886 | Int_Frac | 0.87333 | 1
|  |  | Int_Wt | 0.46619 | 0.53381
|  |  | MW_Actual | 1.551 | 1.551
|  |  | MW_Base | 1.573 | 1.57
|  |  | MW_Reduction | 0.022 | 0.019
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0.25191 | 0.19
|  | sites on offer |  | 35 | 35
|  | sites active for test |  | 36 | 36
| portfolio | eventpf
|  | 0.63667 | prorated int_frac | 0.87333 | 1
|  |  | prorated obligation | 1.5285 | 1.5285
|  |  | actual obligation | 2.6 | 2.6
|  |  | actual demand reduction | 1.618 | 1.483
|  |  | int_pf | 0.71257 | 0.57038
test 4
| resource 1 | eventpf | quantity | interval67 | interval68
|  |  | int_endtime | 16:45 | 17:00
|  | 0.63507 | Int_Frac | 0.91222 | 1
|  |  | Int_Wt | 0.47705 | 0.52295
|  |  | MW_Actual | 4.101 | 4.276
|  |  | MW_Base | 5.701 | 5.712
|  |  | MW_Reduction | 1.6 | 1.436
|  |  | MW_Oblig | 2.5 | 2.5
|  |  | Int_PF | 0.70158 | 0.5744
|  | sites on offer |  | 1950 | 1950
|  | sites active for test |  | 1112 | 1112
| resource 2 | eventpf | quantity | interval67 | interval68
|  |  | int_endtime | 16:45 | 17:00
|  | 0.62231 | Int_Frac | 0.91222 | 1
|  |  | Int_Wt | 0.47705 | 0.52295
|  |  | MW_Actual | 1.488 | 1.473
|  |  | MW_Base | 1.548 | 1.532
|  |  | MW_Reduction | 0.06 | 0.059
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0.65773 | 0.59
|  | sites on offer |  | 35 | 35
|  | sites active for test |  | 36 | 36
| portfolio | eventpf
|  | 0.63458 | prorated int_frac | 0.91222 | 1
|  |  | prorated obligation | 1.5285 | 1.5285
|  |  | actual obligation | 2.6 | 2.6
|  |  | actual demand reduction | 1.66 | 1.495
|  |  | int_pf | 0.6999 | 0.575
|  | eventpf |  | test 1 |  | test 2 |  | test 3 |  | test 4
Contract Period |  | 0.63946 | prorated int_frac | 0.16556 | 1 | 0.33 | 1 | 0.87333 | 1 | 0.91222 | 1
|  |  | prorated obligation | 1.278 | 1.278 | 1.278 | 1.278 | 1.5285 | 1.5285 | 1.5285 | 1.5285
|  |  | actual obligation | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6
|  |  | actual demand reduction | 0.109 | 1.193 | 0.901 | 2.167 | 1.618 | 1.483 | 1.66 | 1.495
|  |  | int_pf | 0.25323 | 0.45885 | 1 | 0.83346 | 0.71257 | 0.57038 | 0.6999 | 0.575
|  |  |  | 0.053579 | 0.58642 | 0.42175 | 1 | 0.9512 | 0.87183 | 0.97589 | 0.87889
|  |  |  | 0.21158 | 1.278 | 0.42175 | 1.278 | 1.3349 | 1.5285 | 1.3943 | 1.5285

## payment reductions
calculations for payment reductions
1. assume portfolio-level contract period event performance is less than 0.90 and portfolio-level normalized peak demand reduction is less than 90% of obligation
2. assume resource 1 portfolio-level contract period normalized peak demand reduction is greater than or equal to 90% of obligation and avoids payment reduction
3. assume resource 2 contract period normalized peak demand reduction per site is less than 90% of obligation per projected site, and
further assume resource 2 maximum number of sites during contract period is greater than 80% of projected number sites on offer
as a result
resource 1 avoids any accelerted payment reduction
resource 2 is subject to accelerated payment reduction (squaring epf not cubing)
test 1
| resource 1 | eventpf | quantity | interval62 | interval63
|  |  | int_endtime | 15:30 | 15:45
|  | 0.44477 | Int_Frac | 0.16556 | 1
|  |  | Int_Wt | 0.14204 | 0.85796
|  |  | MW_Actual | 4.147 | 3.115
|  |  | MW_Base | 4.25 | 4.308
|  |  | MW_Reduction | 0.103 | 1.193
|  |  | MW_Oblig | 2.5 | 2.5
|  |  | Int_PF | 0.24886 | 0.4772
|  | sites on offer |  | 1950 | 1950
|  | sites active for test |  | 930 | 930
| resource 2 | eventpf | quantity | interval62 | interval63
|  |  | int_endtime | 15:30 | 15:45
| original baseline | 0.051478 | Int_Frac | 0.16556 | 1
|  |  | Int_Wt | 0.14204 | 0.85796
|  |  | MW_Actual | 1.399 | 1.414
|  |  | MW_Base | 1.405 | 1.404
|  |  | MW_Reduction | 0.006 | 0
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0.36242 | 0
|  | sites on offer |  | 35 | 35
|  | sites active for test |  | 30 | 30
| adjusted baseline | 0.0026499 | Int_Frac | 0.16556 | 1
|  |  | Int_Wt | 0.14204 | 0.85796
| target epf | 0.0026499 | MW_Actual | 1.399 | 1.414
|  |  | MW_Base_Adj | 1.3993 | 1.414
|  |  | MW_Reduction | 0.00030887 | 0
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0.018656 | 0
| portfolio | eventpf
|  | 0.42776 | prorated int_frac | 0.16556 | 1
|  |  | prorated obligation | 1.278 | 1.278
|  |  | actual obligation | 2.6 | 2.6
|  |  | actual demand reduction | 0.10331 | 1.193
|  |  | int_pf | 0.24001 | 0.45885
test 2
| resource 1 | eventpf | quantity | interval70 | interval71
|  |  | int_endtime | 17:30 | 17:45
|  | 0.89985 | Int_Frac | 0.33 | 1
|  |  | Int_Wt | 0.24812 | 0.75188
|  |  | MW_Actual | 4.289 | 3.01
|  |  | MW_Base | 5.19 | 5.177
|  |  | MW_Reduction | 0.901 | 2.167
|  |  | MW_Oblig | 2.5 | 2.5
|  |  | Int_PF | 1 | 0.8668
|  | sites on offer |  | 1950 | 1950
|  | sites active for test |  | 930 | 930
| resource 2 | eventpf | quantity | interval70 | interval71
|  |  | int_endtime | 17:30 | 17:45
| original baseline | 0 | Int_Frac | 0.33 | 1
|  |  | Int_Wt | 0.24812 | 0.75188
|  |  | MW_Actual | 1.343 | 1.322
|  |  | MW_Base | 1.309 | 1.288
|  |  | MW_Reduction | 0 | 0
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0 | 0
|  | sites on offer |  | 35 | 35
|  | sites active for test |  | 30 | 30
| adjusted baseline | 0 | Int_Frac | 0.33 | 1
|  |  | Int_Wt | 0.24812 | 0.75188
| target epf | 0 | MW_Actual | 1.343 | 1.322
|  |  | MW_Base_Adj | 1.343 | 1.322
|  |  | MW_Reduction | 0 | 0
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0 | 0
| portfolio | eventpf
|  | 0.87478 | prorated int_frac | 0.33 | 1
|  |  | prorated obligation | 1.278 | 1.278
|  |  | actual obligation | 2.6 | 2.6
|  |  | actual demand reduction | 0.901 | 2.167
|  |  | int_pf | 1 | 0.83346
test 3
| resource 1 | eventpf | quantity | interval59 | interval60
|  |  | int_endtime | 14:45 | 15:00
|  | 0.34078 | Int_Frac | 0.87333 | 1
|  |  | Int_Wt | 0.46619 | 0.53381
|  |  | MW_Actual | 3.95 | 4.085
|  |  | MW_Base | 5.546 | 5.549
|  |  | MW_Reduction | 1.596 | 1.464
|  |  | MW_Oblig | 2.5 | 2.5
|  |  | Int_PF | 0.73099 | 0.5856
|  | sites on offer |  | 1950 | 1950
|  | sites active for test |  | 1112 | 1112
| resource 2 | eventpf | quantity | interval59 | interval60
|  |  | int_endtime | 14:45 | 15:00
| original baseline | 0.21886 | Int_Frac | 0.87333 | 1
|  |  | Int_Wt | 0.46619 | 0.53381
|  |  | MW_Actual | 1.551 | 1.551
|  |  | MW_Base | 1.573 | 1.57
|  |  | MW_Reduction | 0.022 | 0.019
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0.25191 | 0.19
|  | sites on offer |  | 35 | 35
|  | sites active for test |  | 36 | 36
| adjusted baseline | 0.0479 | Int_Frac | 0.87333 | 1
|  |  | Int_Wt | 0.46619 | 0.53381
| target epf | 0.0479 | MW_Actual | 1.551 | 1.551
|  |  | MW_Base_Adj | 1.5558 | 1.5552
|  |  | MW_Reduction | 0.0048149 | 0.0041584
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0.055133 | 0.041584
| portfolio | eventpf
|  | 0.63009 | prorated int_frac | 0.87333 | 1
|  |  | prorated obligation | 1.5285 | 1.5285
|  |  | actual obligation | 2.6 | 2.6
|  |  | actual demand reduction | 1.6008 | 1.4682
|  |  | int_pf | 0.705 | 0.56468
test 4
| resource 1 | eventpf | quantity | interval67 | interval68
|  |  | int_endtime | 16:45 | 17:00
|  | 0.63507 | Int_Frac | 0.91222 | 1
|  |  | Int_Wt | 0.47705 | 0.52295
|  |  | MW_Actual | 4.101 | 4.276
|  |  | MW_Base | 5.701 | 5.712
|  |  | MW_Reduction | 1.6 | 1.436
|  |  | MW_Oblig | 2.5 | 2.5
|  |  | Int_PF | 0.70158 | 0.5744
|  | sites on offer |  | 1950 | 1950
|  | sites active for test |  | 1112 | 1112
| resource 2 | eventpf | quantity | interval67 | interval68
|  |  | int_endtime | 16:45 | 17:00
| original baseline | 0.62231 | Int_Frac | 0.91222 | 1
|  |  | Int_Wt | 0.47705 | 0.52295
|  |  | MW_Actual | 1.488 | 1.473
|  |  | MW_Base | 1.548 | 1.532
|  |  | MW_Reduction | 0.06 | 0.059
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0.65773 | 0.59
|  | sites on offer |  | 35 | 35
|  | sites active for test |  | 36 | 36
| adjusted baseline | 0.38727 | Int_Frac | 0.91222 | 1
|  |  | Int_Wt | 0.47705 | 0.52295
| target epf | 0.38727 | MW_Actual | 1.488 | 1.473
|  |  | MW_Base_Adj | 1.5253 | 1.5097
|  |  | MW_Reduction | 0.037339 | 0.036716
|  |  | MW_Oblig | 0.1 | 0.1
|  |  | Int_PF | 0.40932 | 0.36716
| portfolio | eventpf
|  | 0.62554 | prorated int_frac | 0.91222 | 1
|  |  | prorated obligation | 1.5285 | 1.5285
|  |  | actual obligation | 2.6 | 2.6
|  |  | actual demand reduction | 1.6373 | 1.4727
|  |  | int_pf | 0.69034 | 0.56643
|  | eventpf |  | test 1 |  | test 2 |  | test 3 |  | test 4
Contract Period |  | 0.63411 | prorated int_frac | 0.16556 | 1 | 0.33 | 1 | 0.87333 | 1 | 0.91222 | 1
|  |  | prorated obligation | 1.278 | 1.278 | 1.278 | 1.278 | 1.5285 | 1.5285 | 1.5285 | 1.5285
|  |  | actual obligation | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6
|  |  | actual demand reduction | 0.10331 | 1.193 | 0.901 | 2.167 | 1.6008 | 1.4682 | 1.6373 | 1.4727
|  |  | int_pf | 0.24001 | 0.45885 | 1 | 0.83346 | 0.705 | 0.56468 | 0.69034 | 0.56643
|  |  |  | 0.050781 | 0.58642 | 0.42175 | 1 | 0.94109 | 0.86311 | 0.96257 | 0.86579
|  |  |  | 0.21158 | 1.278 | 0.42175 | 1.278 | 1.3349 | 1.5285 | 1.3943 | 1.5285