| PGRR Number | 041 | PGRR Title | Revise and Add Requirements for NERC TPL-001-4 Standard |
| --- | --- | --- | --- |

| Date | January 15, 2015 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Brad Myers |
| E-mail Address | blmyers@aep.com |
| Company | American Electric Power (AEP) |
| Phone Number | 918-599-2690 |
| Cell Number |  |
| Market Segment | Transmission Planner |

Comments

AEP largely concurs with and offers no specific redline to the 12/17/2014, ‘PLWG Recommended’ draft of PGRR041.  AEP agrees with ERCOT’s interpretation that the NERC TPL-001-4 (R5) does require definition for steady state voltage deviation criteria.  Further, AEP agrees that the proposed criteria’s application to “load-serving busses 100 kV and above” aligns with TPL standard and is a good common-sense measure.  AEP would, however, like to better understand the selection of an 8% voltage deviation value and poses the following questions for consideration and discussion during the January Planning Working Group (PLWG) meeting.

Q1. How did ERCOT arrive at the proposed 8% voltage deviation value?  Is the value arbitrary, based on similar voltage deviation criteria in other RTOs, or based on specific study results or experience?

Q2. Does a significant post-contingency voltage deviation (8% or greater) pose a specific reliability concern or is the criteria perceived as an early indicator of potential system voltage limitations?

Q3. Has ERCOT performed a preliminary system assessment to measure the project and/or cost implications of the proposed 8% voltage deviation requirement?  If not, are there plans to perform an assessment of this nature prior to ROS review of the proposed PGRR?

Revised Cover Page Language

None.

Revised Proposed Guide Language

None.