## Slide 1: PLWG Report to ROS
October 6, 2014

## Slide 2: 2015 PLWG Leadership
Brad Schwarz – Chair
Charlie DeWitt – Vice Chair

## Slide 3: PGRRs under review
PGRR040 – Clarification of Water Supply Rights Attestation Obligation
  Tabled to allow additional time for PRS to review associated NPRR674
PGRR041 – Revise and Add Requirements for NERC TPL-001-4 Standard
  Added language to require additional analysis to assess voltage stability if steady-state voltage deviations exceed 8%

## Slide 4: Assignments to PLWG
CDR and Planning Study Model Differences
  Draft whitepaper is out for comments.
  ERCOT SMEs are adding more language around why the CDR and Planning model differ.
Load Scaling Methodology Review
  Reviewed draft PGRR language submitted by NRG
Generation Deliverability Criteria
  PLWG leadership and ERCOT staff are working on draft PGRR language for consideration.
  Currently waiting on ERCOT Legal opinion on Protocol and Planning Guide language.