## Slide 1
Siemens PTI GIC Data File Contents
Presented to PGDTF
February 11, 2015

## Slide 2: GIC Data File Contents
  Required Data
    Geographic location of substations (longitude and latitude)
    Grounding resistance data for substations
    DC resistance of transformer windings
    Identification of GIC blocking device in the grounding connection
    Transformer vector group
  Optional Data for Transformers
    Number of cores
    K Factor
  Source: Siemens PTI 2012

## Slide 3: GIC Data File Contents
  Three group records, with each group containing a particular type of data
    Substation Data
    Bus Substation Data
    Transformer Data
    Source: Siemens PTI 2012

## Slide 4: Substation Data
  Source: Siemens PTI 2012

## Slide 5: Substation Data Example
  Source: Siemens PTI 2012

## Slide 6: Bus Substation Data
  Source: Siemens PTI 2012

## Slide 7: Bus Substation Data Example
  Source: Siemens PTI 2012

## Slide 8: Transformer Data
  Source: Siemens PTI 2012
Notes: DC resistances, if left blank, will be calculated based on power flow data
User can choose to enter, CORE, KFACTOR, or enter “0” for both and k-factor will be determined based on base kV of transformer windings (as shown on next slide)

## Slide 9: Transformer MVAR Scaling Factors
  Source: Siemens PTI 2012

## Slide 10: Transformer Data Example
  Source: Siemens PTI 2012