| NPRR Number | 657 | NPRR Title | Discontinue Backup Control Plan Submittal Results, Dispatch Instructions Compliance Metrics, and Backup Control Plan Test Dates and Results Summary Reports |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | February 12, 2015 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 8.1, QSE and Resource Performance Monitoring 8.3, TSP Performance Monitoring and Compliance |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | Nodal Operating Guide Revision Request (NOGRR) 138, Delete Grey Box for Reporting of Back-up Control Plan Submittal. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) proposes the discontinuation of the posting requirement for Discontinue Backup Control Plan Submittal Results, Dispatch Instructions Compliance Metrics, ERCOT Market Information List (EMIL) ID, NP8-510M and Backup Control Plan Test Dates and Results Summary Reports, EMIL ID NP8-922-M. This NPRR is part of a series of revision requests submitted by the Market Information System User Group (MISUG) in support of the TAC June 2013 recommendation that all manually developed ERCOT market reports be reviewed for market interest and the amount of labor involved to produce the reports. This NPRR is the result of a collaborative effort between the MISUG and ERCOT to review the reports that are manually produced by ERCOT. Below is the MISUG summary of the results of the review: - Evaluated the 134 reports manually produced by ERCOT Staff - 95 reports are required by Public Utility Commission of Texas (PUCT) Substantive Rules, ERCOT Protocols or an ERCOT Other Binding Document. - 39 reports are requested or self prompted. - Conclusion of the evaluation: - Discontinue 15 reports, eliminating 516 hrs of manual work annually. - Continue producing 119 reports which constitute 24,631.5 hours of manual work annually. - Automate 15 reports which would eliminate 3,906 hours of manual work annually. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) |  |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR657 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 9/24/14, NPRR657 was posted. - On 10/9/14, PRS considered NPRR657. - On 10/30/14, WMS comments were posted. - On 10/30/14, ROS comments were posted. - On 11/20/14, OWG comments were posted. - On 12/3/14, a second set of WMS comments were posted. - On 1/9/15, a second set of ROS comments were posted. - On 1/15/15, PRS again considered NPRR657. - On 1/28/15, an Impact Analysis was posted. - On 2/12/15, PRS considered the 1/15/15 PRS Report and Impact Analysis for NPRR657. |  |  |
| PRS Decision |  | On 10/9/14, PRS unanimously voted to table NPRR657. All Market Segments were present for the vote. On 1/15/15, PRS unanimously voted to recommend approval of NPRR657 as submitted. All Market Segments were present for the vote. On 2/12/15, PRS unanimously voted to endorse and forward to TAC the 1/15/15 PRS Report and Impact Analysis for NPRR657. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 10/9/14, participants expressed concern with the removal of certain ERCOT report posting requirements and requested further review of NPRR657 by WMS and ROS. On 1/15/15, there was no discussion. On 2/12/15, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - Supports TAC recommendation to review manual reports produced by ERCOT of Manual Report clean up to discontinue reports that are manual in nature and deemed unnecessary to continue to support. |
| Quantitative Benefits | - One of 15 reports identified for discontinuation/decommissioning, collectively eliminating 516 hours of effort annually to manually produce the 15 reports. - The15 reports identified have been evaluated by the MISUG for value and utility to the market. |
| Impact to Market Segments | - Removal of report information that is unused or redundant. |
| Credit Implications | - No. |
| Other | - Data is assembled manually and report has had no significant user download activity since market open. |

| Sponsor |  |
| --- | --- |
| Name | Julie Thomas on behalf of the MISUG |
| E-mail Address | julie.thomas@luminant.com |
| Company | Luminant |
| Phone Number | 214-875-9378 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 103014 | Recommended NPRR657 remain tabled for further review. |
| ROS 103014 | Recommended NPRR657 remain tabled for further review. |
| OWG 112014 | Endorsed NPRR657 as submitted. |
| WMS 120314 | Endorsed NPRR657 as submitted. |
| ROS 010915 | Endorsed NPRR657 as submitted. |

Comments

Please also note that the following NPRR also proposes revisions to the following Sections:

- NPRR667, Ancillary Services Redesign

  - Section 8.1

Proposed Protocol Language Revision

- 8.1	QSE and Resource Performance Monitoring

(1)	ERCOT shall develop a Technical Advisory Committee (TAC)- and ERCOT Board-approved Qualified Scheduling Entity (QSE) and Resource monitoring program to be included in the Operating Guides.  Nothing in this Section changes the process for amending the Operating Guides.  The metrics developed by ERCOT and approved by TAC and the ERCOT Board must include the provisions of this Section.

(2)	Each QSE and Resource shall meet performance measures as described in this Section and in the Operating Guides.

(3)	ERCOT shall monitor and post the following categories of performance:

(a)	Real-Time data, for QSEs:

(i)	Telemetry performance

(b)	Regulation control performance, for QSEs and as applicable, Resource-specific performance (see also Section 8.1.1, QSE Ancillary Service and Reserves Performance Standards);

(c)	Hydro responsive testing for Generation Resources;

(d)	Supplying and validating data for generator models, as requested by ERCOT, for Generation Resources;

(e)	Outage scheduling and coordination, for QSEs and Resources;

(f)	Resource-specific Responsive Reserve (RRS) performance for QSEs and Resources;

(g)	Resource-specific Non-Spinning Reserve (Non-Spin) performance, for QSEs and Resources;

(h)	Outage reporting, by QSEs for Resources;

(i)	Current Operating Plan (COP) metrics, for QSEs; and

(j)	Day-Ahead Reliability Unit Commitment (DRUC) and Hourly Reliability Unit Commitment (HRUC) commitment performance by QSEs and Generation Resources.

[NPRR257: Replace or insert applicable paragraphs of Section 8.1, QSE and Resource Performance Monitoring, above, with the following upon system implementation:] - 8.1 QSE and Resource Performance Monitoring (1) ERCOT shall develop a Technical Advisory Committee (TAC)- and ERCOT Board-approved Qualified Scheduling Entity (QSE) and Resource monitoring program to be included in the Operating Guides. Nothing in this Section changes the process for amending the Operating Guides. The metrics developed by ERCOT and approved by TAC and the ERCOT Board must include the provisions of this Section. (2) Each QSE and Resource shall meet performance measures as described in this Section and in the Operating Guides. (3) ERCOT shall monitor and post the following categories of performance: (a) Net dependable real power capability testing, for Resources; (b) Reactive testing, for Generation Resources, to validate Corrected Unit Reactive Limit (CURL) and Unit Reactive Limit (URL); (c) Real-Time data, for QSEs: (i) Telemetry performance; (ii) Communications system performance; (iii) Operational data requirements required under Section 6.5.5.2, Operational Data Requirements. (d) Regulation control performance, for QSEs and as applicable, Resource-specific performance (see also Section 8.1.1, QSE Ancillary Service and Reserves Performance Standards); (e) Hydro responsive testing for Generation Resources; (f) Black Start Service (BSS) test results for QSEs and Generation Resources posted to the Market Information System (MIS) Certified Area; (g) Supplying and validating data for generator models, as requested by ERCOT, for Generation Resources; (h) Outage scheduling and coordination, for QSEs and Resources; (i) Resource-specific Responsive Reserve (RRS) performance for QSEs and Resources; (j) The QSE backup control plan for Resource energy deployment in the event of the loss of a communication path with ERCOT. ERCOT will test these plans randomly at least once a year for QSEs representing Resources; (k) Resource-specific Non-Spinning Reserve (Non-Spin) performance, for QSEs and Resources; (l) 24 hours per day, seven days per week qualified staffing requirement, as described in the Operating Guides, for QSEs; (m) Automatic Voltage Regulator (AVR) requirements, for QSEs and Generation Resources; (n) Staffing plan for a backup control facility or procedures in the event that the primary facility is unusable, for QSEs; (o) Outage reporting, by QSEs for Resources; (p) Current Operating Plan (COP) metrics, for QSEs; and (q) Day-Ahead Reliability Unit Commitment (DRUC) and Hourly Reliability Unit Commitment (HRUC) commitment performance by QSEs and Generation Resources.

- 8.3	TSP Performance Monitoring and Compliance

(1)	ERCOT shall develop a Technical Advisory Committee (TAC)- and ERCOT Board-approved Transmission Service Provider (TSP) monitoring program to be included in the Operating Guides for TSPs, which shall include the following:

(a)	Real-Time data:

(i)	Telemetry performance; and

(b)	Compliance with model update requirements, including provision of network data in Common Informational Model (CIM) compatible format and consistency with the Transmission Element naming convention developed in accordance under Section 3, Management Activities for the ERCOT System.

(c)	Compliance with valid Dispatch Instructions.

[NPRR257: Replace Section 8.3 above with the following upon system implementation:] - 8.3 TSP Performance Monitoring and Compliance (1) ERCOT shall develop a Technical Advisory Committee (TAC)- and ERCOT Board-approved Transmission Service Provider (TSP) monitoring program to be included in the Operating Guides for TSPs, which shall include the following: (a) Transmission Element ratings methodology as required by ERCOT: (i) Timely submittal of ratings, required information on methodology, and updates as requested by ERCOT; and (ii) Timely response to ERCOT requests to review rating methodology; (b) Real-Time data: (i) Telemetry performance; and (ii) Communications system performance; and (c) Compliance with model update requirements, including provision of network data in Common Informational Model (CIM) compatible format and consistency with the Transmission Element naming convention developed in accordance under Section 3, Management Activities for the ERCOT System.