In the January 2015 PLWG meeting we had an action item to identify the number of instances where the post-contingency deviation limit would be binding. ERCOT planning looked reviewed the 2014 Regional Transmission Plan cases and contingency definitions under a deviation limit of 8%, 9% and 10%.

Following is the table showing the count.

| Post Contingency Deviation Limit | 2015 | 2017 | 2019 | 2020 |
| --- | --- | --- | --- | --- |
| 8% | 27 | 26 | 25 | 10 |
| 9% | 16 | 19 | 17 | 10 |
| 10% | 4 | 5 | 6 | 5 |