Operations Working Group Meeting

Monday, 1/26/15

Austin – Lakeway Resort

In Attendance:

| Frank Owens – Cross Texas Transmission | Michael Cruz-Montes – CenterPoint Energy |
| --- | --- |
| John Warren – LCRA | Jimmy Hartmann – ERCOT |
| Matt Carter – Garland Power and Light | Tip Tipton – Brazos Electric Coop |
| Stephen Solis – ERCOT | Roberto Delgado – Lone Star |
| Bill Blevins – ERCOT | Billy Reid – Austin Energy |
| Robert Bailey – NRG | Kevin Morley – CenterPoint Energy |
| John Abel – Oncor | Thomas Fox – Cross Texas Transmission |
| Jonas Setzer – CPS Stan Morris – TNMP Sherry Looney – Luminant | Walter Reid – Wind Coalition Curtis Graves – Austin Energy |

Dial-In Attendees:

| Greg Graham – ORGANIZATION John Moone – BTU Kristin Rodriguez – ORGANIZATION Blake Gross – AEP Anthony Alford – CNP Agee Springer – ERCOT | Linda Rodriguez – AEP Seth Trout – CES Tom Paff – ORGANIZATON Randy Jones – Calpine Ivan Velasquez – Oncor |
| --- | --- |

- Antitrust Admonition

Meeting opened at 9:08 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting Report

New ROS leadership was reported.

- November OWG Meeting Notes

Reviewed notes. OWG approved meeting notes with no changes.

- NOGRR Reviews and Language Changes

- ■132NOGRR Automatic Under-Voltage and Under-Frequency Load Shedding Protection Systems -- Load Restoration. This Nodal Operating Guide Revision Request (NOGRR) adds a requirement for Under-Frequency Load Shedding (UFLS) and Under-Voltage Load Shedding (UVLS) systems Load restoration coordination consistent with that of manually shed Load for EEA 3 or a Constraint Management Plan. NOGRR was revised by CNP and amended by OWG. Recommended for approval by OWG as revised.

- 135NOGRR Constraint Management During Energy Emergency Alerts. This Nodal Operating Guide Revision Request (NOGRR) seeks to improve management of congestion during an Energy Emergency Alert (EEA) by proposing:

- Language that provides a mechanism for ERCOT Operations to manage constraints in EEA 2 or 3 to higher Facility ratings when applicable for those constraints identified as limiting generation output; and language that reconsiders use of double-circuit contingencies during emergency operations based on Grid conditions [ERCOT]Language Review (ROS assignment to review duplicate language with NPRR642).

OWG did review duplicate language. NPRR642 tabled for one month pending discussions with QMWG.

- 138NOGRR Delete Grey Box for Reporting of Back-up Control Plan Submittal. This Nodal Operating Guide Revision Request (NOGRR) proposes the discontinuation of the posting requirement for Discontinue Backup Control Plan Submittal Results, ERCOT Market Information List (EMIL) ID, NP8-510M and Backup Control Plan Test Dates and Results Summary Reports, EMIL ID NP8-922-M. Language Review. OWG recommended approval of NOGRR pending impact analysis.

- 139NOGRR Under/Over-Frequency Relaying Requirements. This Nodal Operating Guide Revision Request (NOGRR) adds over-frequency relaying requirements and clarifies under-frequency and over-frequency relay set-points so that Generation Resources know what is expected.  Over-frequency relay set points criteria was approved by NERC in March 2014 under Standard PRC-024, Generator Frequency and Voltage Protective Relay Settings. [ERCOT] Language Review. Randy from Calpine voiced support for Austin Energy’s language. OWG recommended approval as amended pending impact analysis.

- 142NOGRR Phasor Measurement. This Nodal Operating Guide Revision Request (NOGRR) represents the consensus recommendation of the Phasor Measurement Task Force (PMTF) as the binding language required to meet the top three Synchrophasor use cases identified by ERCOT staff and the PMTF as having merit in the ERCOT region. [PMTF] Language Review. ERCOT (Blevins) gave presentation on NOGRR. Questions on data caching and equipment installation timeline were asked by Calpine. Model validation at ERCOT was also discussed. OWG tabled for one month to allow time for additional comments from participants.

- Monthly Operations Report

- Reviewed the November and December reports.

- Operations Task Force

Action Items: No Report and will need to retire.

- Texas RE Update Report

No report this month.

- System Operations Report

No report this month.

- Seminar Task Force Report

OTS dry run starts today. No other items reported.

- Other

At our November OWG meeting Frank requested that ERCOT (Bill Blevins) be at next meeting to discuss oscillation issues in Panhandle.

ERCOT (Stephen Solis) update on Voltage Control Workshop. ERCOT (Solis) presented update and answered several questions.

- Future Meeting Date

Wednesday February 19th ERCOT Met Center room 168.