## Slide 1: SAWG Update to WMS
March 4th, 2015
Brandon Whittle

## Slide 2: Report Releases
Spring Final SARA http://www.ercot.com/content/gridinfo/resource/2015/adequacy/sara/SARA-FinalSpring2015.xls
Summer Preliminary SARA http://www.ercot.com/content/gridinfo/resource/2015/adequacy/sara/SARA-PreliminarySummer2015.xls
Housekeeping
SAWG web page and calendar for 2014 are here!
SAWG exploder is in the works.

## Slide 3: CDR Input Review
PUN Capacity Forecasting – ERCOT drafted an NPRR. Concerns exist on whether capacity from PUNs would be appropriately counted. ERCOT is hoping to set up a public conference call in mid to late March with hopes for participation from those involved with PUNs.

## Slide 4: RT Co-op & MIRTM General Plan
ERCOT provide Concept Paper
Get written comments on concept paper
ERCOT and MPs discuss the Concept Paper and comments received and make policy cuts at focused SAWG meetings
Get help from WMS and/or TAC on sticky policy cuts
ERCOT write draft NPRRs
    a. RT Co-optimization
    b. Multi-Interval SCED
6) Market Participants provide comments on draft NPRRs
7) ERCOT and MPs discuss framework of Cost Benefit Analysis
8) ERCOT provide numbered NPRRs with preliminary Impact Analysis
9) Complete CBA

## Slide 5: RT Co-Op & Multi-Interval RTM NPRR Development
SAWG was productive in February, at this time we do not recommend creating another stakeholder body.
ERCOT Expects to return at our March meeting with
  RTCOOP- an issues list capturing outstanding issues and our efforts to this point. SAWG expects to work through these and escalate appropriate issues to WMS.
  MIRTM- An expectation of resource demand to do study on forecast effectiveness and expected efficiency around real-time commitment.

## Slide 6: RT Co-Op Issues
  Should AS prices cascade?
  Should AS be substitutable?
  Is there a reason to have non-zero offers in RTM for AS?
  Should we have ORDC in DAM?
  Do we require sufficiency of AS in DAM; i.e. can DAM choose Energy over AS?

## Slide 7: Next Meeting – March 25th, 2015
Expected Agenda Items
RT – Co-Op & Multi Interval SCED
PUN Capacity Methodology
SARA Protocol Development?
WMS Assignments