## Process_Assumptions
Process & Assumptions
1) This monthly process utilizes 867 reads with a stop date ending in the prior month
2) Data selected from database for analysis as per dates noted on Read Statistics tab
3) Selected all AMS reads with start times within 60 days of the first of the reporting month to the last day of the reporting month
4) Both estimated and actual 867 and AMS reads were selected
5) Selected 867 records that have AMS reads (if an ESI ID has an 867 but no AMS read then the 867 record is dropped)
6) Sum up AMS totals for the period of the coinciding 867 read
7) Calculate the delta between 867 and AMS kWh
a) (Delta kWh) = [(867 kWh) - round(AMS kWh)] / (867 kWh)
b) If both the 867 kWh and AMS kWh are zero, then Delta kWh = 0
c) If 867 kWh is zero and AMS kWh is non-zero, then the comparison cannot be performed and the record is removed from further reporting analysis
Disconnect Type Breakout
Data broken into three groups based on disconnect type
a) AMSR - Remote disconnect type, thought to have a meter multiplier of 1
b) AMSM - Manual disconnect type, may not have a meter multiplier of 1
c) Unknown - Remote disconnect type not designated

## Read Statistics
Data Description | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
Date of Data Pull | 2014-10-27 | 2014-10-27 | 2014-10-27 | 2014-11-07 | 2015-01-14 | 2015-01-14 | 2015-02-16
Starting Reads | 7111155 | 6489299 | 7434052 | 7256268 | 6459392 | 6917096 | 6818892
Removed due to zero kWh 867 and non-zero AMS total | 7196 | 6678 | 6780 | 7300 | 6057 | 5755 | 6044
All analyzed reads | 7103959 | 6482621 | 7427272 | 7248968 | 6453335 | 6911341 | 6812848
Removed due to AMS reads being within (inclusive) 2kWh or 2% of 867 | 6983663 | 6395122 | 7333601 | 7159498 | 6369910 | 6768628 | 6738150
Analyzed reads (subset with deltas greater than 2kWh and 2%) | 120296 | 87499 | 93671 | 89470 | 83425 | 142713 | 74698
% Analyzed reads (subset with deltas greater than 2kWh and 2%) | 1.693% | 1.35% | 1.261% | 1.234% | 1.293% | 2.065% | 1.096%

## Analyzed Reads by SO
Analyzed Reads by Service Order
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
AMSR - All Analyzed Reads | 96160 | 67930 | 71014 | 65780 | 60534 | 111872 | 53576
AMSR - Cycle Read | 58356 | 35789 | 35648 | 37610 | 37409 | 88936 | 32273
AMSR - Move In/Out | 29634 | 25302 | 27857 | 21242 | 17901 | 17682 | 16927
AMSR - Switch | 8170 | 6839 | 7509 | 6928 | 5224 | 5254 | 4376
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
AMSM - All Analyzed Reads | 23405 | 18904 | 21858 | 22940 | 22215 | 30178 | 20453
AMSM - Cycle Read | 19069 | 15663 | 18231 | 19307 | 18618 | 27064 | 17286
AMSM - Move In/Out | 2885 | 2414 | 2690 | 2599 | 2167 | 2091 | 2280
AMSM - Switch | 1451 | 827 | 937 | 1034 | 1430 | 1023 | 887
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
Unknown - All Analyzed Reads | 731 | 665 | 799 | 750 | 676 | 663 | 669
Unknown - Cycle Read | 352 | 316 | 393 | 374 | 317 | 290 | 254
Unknown - Move In/Out | 374 | 347 | 400 | 367 | 355 | 371 | 412
Unknown - Switch | 5 | 2 | 6 | 9 | 4 | 2 | 3

## AMSR_Cycle Reads_Less Than
AMSR Cycle Reads - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
<(50%) | 1644 | 1752 | 1792 | 1606 | 1695 | 1583 | 927 | <(50) kWh | 6505 | 4976 | 6941 | 5898 | 5980 | 5073 | 3828
(10)-(50%) | 3041 | 1947 | 2123 | 2547 | 2955 | 2486 | 1908 | (10)-(50) kWh | 4553 | 3077 | 6798 | 7910 | 9135 | 4856 | 3478
(2)-(10%) | 7998 | 5112 | 10743 | 10735 | 12313 | 6962 | 5287 | (2)-(10) kWh | 1625 | 758 | 919 | 1080 | 1848 | 1102 | 816

## AMSR_Cycle_Reads_Greater Than
AMSR Cycle Reads - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
>50% | 4579 | 3972 | 4294 | 3727 | 2833 | 2639 | 1233 | >50 kWh | 23783 | 15749 | 14097 | 12954 | 9267 | 15962 | 9874
10-50% | 8238 | 6698 | 6485 | 6996 | 5551 | 7825 | 4739 | 10-50 kWh | 17988 | 9695 | 5626 | 7783 | 8605 | 47713 | 11013
2-10% | 32856 | 16308 | 10211 | 11999 | 12062 | 67441 | 18179 | 2-10 kWh | 3902 | 1534 | 1267 | 1985 | 2574 | 14230 | 3264

## AMSR_Move InOut_Less Than
AMSR Move In/Out - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
<(50%) | 709 | 563 | 563 | 488 | 497 | 407 | 440 | <(50) kWh | 662 | 648 | 669 | 391 | 370 | 388 | 643
(10)-(50%) | 2086 | 1693 | 1532 | 1339 | 1233 | 911 | 1097 | (10)-(50) kWh | 5566 | 4745 | 4995 | 3341 | 2364 | 2068 | 2514
(2)-(10%) | 6545 | 5369 | 5919 | 4628 | 3664 | 2967 | 3087 | (2)-(10) kWh | 3112 | 2232 | 2350 | 2723 | 2660 | 1829 | 1467

## AMSR_MoveInOut_Greater Than
AMSR Move In/Out - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
>50% | 769 | 752 | 761 | 588 | 471 | 531 | 398 | >50 kWh | 2719 | 2837 | 2819 | 1657 | 1369 | 1476 | 2070
10-50% | 4315 | 4309 | 4888 | 3606 | 3093 | 3058 | 3027 | 10-50 kWh | 11407 | 10043 | 10811 | 6821 | 5682 | 6524 | 6268
2-10% | 15210 | 12616 | 14194 | 10593 | 8943 | 9808 | 8878 | 2-10 kWh | 6168 | 4797 | 6213 | 6309 | 5456 | 5397 | 3965

## AMSR_Switch_Less Than
AMSR Switch - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
<(50%) | 172 | 152 | 396 | 136 | 146 | 106 | 100 | <(50) kWh | 724 | 758 | 792 | 558 | 252 | 229 | 329
(10)-(50%) | 702 | 681 | 825 | 586 | 529 | 307 | 353 | (10)-(50) kWh | 2449 | 2142 | 2519 | 2610 | 1386 | 1171 | 1050
(2)-(10%) | 2805 | 2432 | 2589 | 3284 | 1853 | 1595 | 1296 | (2)-(10) kWh | 506 | 365 | 499 | 838 | 890 | 608 | 370

## AMSR_Switch_Greater Than
AMSR Switch - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
>50% | 102 | 88 | 225 | 146 | 90 | 85 | 25 | >50 kWh | 1028 | 910 | 1008 | 521 | 372 | 383 | 556
10-50% | 979 | 866 | 885 | 680 | 621 | 607 | 465 | 10-50 kWh | 2836 | 2273 | 2126 | 1576 | 1455 | 2037 | 1577
2-10% | 3410 | 2620 | 2589 | 2096 | 1985 | 2554 | 2137 | 2-10 kWh | 627 | 391 | 565 | 825 | 869 | 826 | 494

## AMSM_Cycle Reads_Less Than
AMSM Cycle Reads - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
<(50%) | 472 | 506 | 703 | 625 | 577 | 515 | 387 | <(50) kWh | 3600 | 3289 | 4323 | 4289 | 4060 | 3708 | 3193
(10)-(50%) | 1687 | 1567 | 1842 | 1923 | 1687 | 1778 | 1519 | (10)-(50) kWh | 3421 | 3023 | 3458 | 4102 | 4149 | 4271 | 3556
(2)-(10%) | 5467 | 4747 | 5808 | 6445 | 6535 | 6266 | 5383 | (2)-(10) kWh | 605 | 508 | 572 | 602 | 590 | 580 | 540

## AMSM_Cycle Reads_Greater Than
AMSM Cycle Reads - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
>50% | 604 | 551 | 642 | 626 | 539 | 678 | 485 | >50 kWh | 6081 | 4834 | 5320 | 5095 | 4376 | 9225 | 4770
10-50% | 2273 | 2010 | 2384 | 2226 | 1988 | 2188 | 1979 | 10-50 kWh | 4303 | 3334 | 3771 | 4399 | 4593 | 7552 | 4287
2-10% | 8566 | 6282 | 6852 | 7462 | 7292 | 15639 | 7533 | 2-10 kWh | 1059 | 675 | 787 | 820 | 850 | 1728 | 940

## AMSM_MoveInOut_Less Than
AMSM Move In/Out - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
<(50%) | 73 | 80 | 78 | 80 | 55 | 71 | 77 | <(50) kWh | 443 | 424 | 451 | 406 | 300 | 272 | 325
(10)-(50%) | 217 | 231 | 222 | 252 | 215 | 188 | 198 | (10)-(50) kWh | 433 | 404 | 453 | 503 | 390 | 344 | 384
(2)-(10%) | 679 | 613 | 698 | 694 | 536 | 486 | 531 | (2)-(10) kWh | 93 | 96 | 94 | 117 | 116 | 129 | 97

## AMSM_MoveInOut_Greater Than
AMSM Move In/Out - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
>50% | 106 | 92 | 154 | 111 | 93 | 108 | 125 | >50 kWh | 1010 | 711 | 802 | 727 | 524 | 526 | 684
10-50% | 460 | 391 | 459 | 416 | 378 | 359 | 398 | 10-50 kWh | 697 | 601 | 669 | 614 | 583 | 560 | 554
2-10% | 1350 | 1007 | 1079 | 1046 | 890 | 879 | 951 | 2-10 kWh | 209 | 178 | 221 | 232 | 254 | 260 | 236

## AMSM_Switch_Less Than
AMSM Switch - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
<(50%) | 41 | 22 | 30 | 27 | 26 | 26 | 26 | <(50) kWh | 380 | 221 | 195 | 232 | 290 | 176 | 172
(10)-(50%) | 138 | 68 | 89 | 83 | 174 | 75 | 82 | (10)-(50) kWh | 269 | 181 | 224 | 261 | 370 | 225 | 214
(2)-(10%) | 513 | 340 | 329 | 425 | 562 | 356 | 300 | (2)-(10) kWh | 43 | 28 | 29 | 42 | 102 | 56 | 22

## AMSM_Switch_Greater Than
AMSM Switch - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01
>50% | 37 | 16 | 19 | 28 | 20 | 20 | 18 | >50 kWh | 411 | 197 | 223 | 207 | 255 | 254 | 234
10-50% | 164 | 118 | 114 | 128 | 139 | 122 | 97 | 10-50 kWh | 291 | 177 | 233 | 244 | 340 | 265 | 203
2-10% | 558 | 263 | 356 | 343 | 509 | 424 | 364 | 2-10 kWh | 57 | 23 | 33 | 48 | 73 | 47 | 42