DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Monday, October 30, 2014 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| Bern, Alan | Oncor |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Estraca, Renee | STEC | Alt. Rep. for J. Moore |
| Firestone, Joel | Topaz Power |  |
| Green, Bob |  |  |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Helyer, Scott | Tenaska Power Services |  |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Kolb, Lloyd | Golden Spread Electric Cooperative |  |
| Marsh, Tony | MAMO Eneterprises |  |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Vo, Trieu | CPS Enery |  |

The following proxies were assigned:

- Spencer Weiss to Dana Showalter

- Randy Jones to Dana Showalter

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Barnes, Bill | NRG Energy | Via Teleconference |
| Beckman, Dwight | Brazos Electric | Via Teleconference |
| Brown, Jeff | Shell | Via Teleconference |
| Bunch, Kevin | EDF Trading |  |
| Burks, Spencer | LCRA | Via Teleconference |
| Calhoun, Brad | IncSys |  |
| Chessmore, Carol | Oncor | Via Teleconference |
| Dietert, Cole | LCRA | Via Teleconference |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Gross, Blake | AEPSC |  |
| Hammons, Daniela | CenterPoint Energy | Via Teleconference |
| Hampton, Brenda | Luminant |  |
| Henry, Mark | Texas Reliability Entity |  |
| Jacobs, Kaci | TXU | Via Teleconference |
| Jones, Liz | Oncor |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Koellner, Kris | LCRA |  |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Mattei, Andrew | Brazos Electric | Via Teleconference |
| Mercado, David | CenterPoint Energy | Via Teleconference |
| Minchew, Christina | WETT |  |
| Owens, Frank | Cross Texas Transmission |  |
| Paff, Tom | Duke Energy | Via Teleconference |
| Penny, David | Texas Reliability Entity |  |
| Pieniazek, Adrian | NRG Energy |  |
| Rocha, Basileo | CPS Energy |  |
| Santos, Juan | Garland Power and Light | Via Teleconference |
| Tammar, Karl | Sharyland | Via Teleconference |
| Thomas, Julie | Luminant | Via Teleconference |
| Trout, Seth | CES | Via Teleconference |
| Wagner, Marguerite | BETM |  |
| Whittle, Brandon |  | Via Teleconference |
| Woitt, Wes | CenterPoint Energy |  |
| Woodruff, Taylor | Oncor |  |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Bernecker, John |  | Via Teleconference |
| Billo, Jeff |  |  |
| Geer, Ed |  | Via Teleconference |
| Gnanam, Prabhu |  |  |
| Hailu, Ted |  |  |
| Hanson, Kevin |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Landin, Yvette |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Lavas, Jamie |  |  |
| Lowrie, Gene |  | Via Teleconference |
| Mago, Nitika |  | Via Teleconference |
| Peters, Patrick |  | Via Teleconference |
| Ramasubbu, Priya |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Springer, Agee |  |  |
| Stout, Matt |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Tindall, Sandra |  | Via Teleconference |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote. 2014 ROS Chair Bill Hatfield called the October 30, 2014 ROS meeting to order at 9:30 a.m. Antitrust Admonition Mr. Hatfield directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines. A copy of the guidelines was available for review. Agenda Review There were no changes to the agenda. Approval of ROS Meeting Minutes September 4, 2014 This item was postponed. October 6, 2014 David DeTullio moved to approve the October 6, 2014 ROS meeting minutes as posted. Clayton Greer seconded the motion. The motion carried unanimously. Technical Advisory Committee (TAC) Update Mr. Hatfield noted that TAC made no additional assignments to ROS at the October 23, 2014 meeting, and conveyed TAC Chair Randa Stephenson’s appreciation of the method used to track the 2014 ROS goals. ERCOT Updates (see Key Documents) System Planning Report Jeff Billo presented the monthly System Planning Report. Planning Geomagnetic Disturbance Task Force (PGTF) Mr. Billo presented the draft PGTF scope for ROS consideration. Alan Bern moved to establish the PGTF and to approve the PGTF scope as submitted. Trieu Vo seconded the motion. The motion carried unanimously. Maintenance/Improvement of Operational Checklist for Resource Interconnection Ted Hailu reported that the draft handbook and checklist has been distributed to the Wholesale Market Subcommittee (WMS), Qualified Scheduling Entity (QSE) Managers Working Group (QMWG), and ROS listservs for comment, and that a revised draft will be published in November 2014. Mr. Hailu welcomed additional input on the drafts and noted that work would continue with the QMWG, with reporting to both ROS and WMS. Rio Grande Valley Outage Chad Thompson provided initial information regarding the October 8, 2014 Load shed event in the Rio Grande Valley and noted that the formal report is forthcoming. Results – Unannounced High Sustained Limit (HSL) Testing Bill Blevins reported results of unannounced HSL testing. Operations Report Agee Springer reviewed the Operations Report. Annual Results of Underfrequency-Load Shed (UFLS) Survey North American Electric Reliability (NERC) TPL Changes for January 1, 2015 Matt Mereness reviewed the annual results for the UFLS survey, and advised ROS of NERC TPL changes effective January 1, 2015. Referrals (see Key Documents) Nodal Protocol Revision Request (NPRR) 654, Discontinue Ancillary Service Requirement Methodology Assessment Report NPRR655, Discontinue Contingency List Changes Due to Weather Report NPRR661, Discontinue Posting Profile Data Evaluation Report Dennis Kunkel moved to recommend PRS table NPRR654, NPRR655, and NPRR661, and to refer NPRR655 to the Operations Working Group (OWG). Ebby John seconded the motion. Mr. John asked if the report contemplated in NPRR655 might be needed, in light of anticipated changes to contingencies. The motion carried unanimously. NPRR657, Discontinue Backup Control Plan Submittal Results, Dispatch Instructions Compliance Metrics, and Backup Control Plan Test Dates and Results Summary Reports Mr. Hatfield referred NPRR657 to the Black Start Working Group (BSWG). NPRR658, Changes to Annual Reporting Requirements for RUC Payments Made to Resources with PPAs Randy Ryno moved to endorse NPRR658 as submitted. Mr. Kunkel seconded the motion. The motion carried unanimously. NPRR659, Discontinue RMR Cost Data Deviation Requests/Responses Report Mr. Ryno moved to endorse NPRR659 as amended by the 10/30/14 WMS comments and as revised by ROS. Lloyd Kolb seconded the motion. The motion carried unanimously. Dynamics Working Group (DWG) (see Key Documents) Carol Chessmore reviewed recent DWG activities and presented proposed revisions to the DWG Procedure Manual for ROS consideration. DWG Procedure Manual Mr. Bern moved to approve the revised DWG Procedure Manual as submitted. Julius Horvath seconded the motion. The motion carried unanimously. Network Data Support Working Group (NDSWG) (see Key Documents) There were no questions regarding the posted NDSWG report. OWG (see Key Documents) Frank Owens reviewed recent OWG activities and presented Revision Requests for ROS consideration. Update – Unit Start-Up Failures, Trips, De-Rates Mr. C. Thompson reported that OWG has been asked to comment on data and recommendations provided by ERCOT Staff regarding unit start-up failures, unit trips, and de-rates during cold weather events. Market Participants discussed that Reliability Unit Commitment (RUC) is a tool in place to address reliability, and that absent another solution from WMS and the RUC Task Force (RUCTF) ROS will likely have no further comment. OWG Scope Mr. Bern moved to approve the revised OWG scope as submitted. Mr. Kunkel seconded the motion. The motion carried unanimously. Nodal Operating Guide Revision Request (NOGRR) 132, Automatic Under-Voltage and Under-Frequency Load Shedding Protection Systems – Load Restoration ROS took no action on this item. NOGRR137, Rescind NOGRR034 and Maintain Current Telemetry Performance Reporting Practices Mr. Ryno moved to recommend approval of NOGRR137 as recommended by OWG in the 10/22/14 OWG Report. Mr. Kolb seconded the motion. The motion carried unanimously. Urgent Status – NOGRR135, Constraint Management During Energy Emergency Alerts Mr. Hatfield reported that Urgent status was no longer needed for NOGRR135. ROS took no action on this item. Operations Trainers Working Group (OTWG) Mr. Hatfield noted that the first OTWG meeting would likely be November 12, 2014, that the notice would be sent to the ROS listserv, and that Market Participants specifically interested in participating in the OTWG should contact Kelly Blackmer. OTWG Leadership ROS took no action on this item. ROS Procedures (see Key Documents) Mr. Hatfield reported a minor revision to the ROS Procedures to add the OTWG to the list of ROS working groups. Mr. Bern moved to approve the revised ROS Procedures as submitted. Mr. Ryno seconded the motion. The motion carried unanimously. Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) There were no questions regarding the posted PDCWG report. Planning Working Group (PLWG) (see Key Documents) There were no questions regarding the posted PLWG report. Planning Guide Revision Request (PGRR) 039, Generation Data for Resource Adequacy and Reliability Reporting Mr. Ryno moved to recommend approval of PGRR039 as recommended by PLWG in the 9/17/14 PLWG Report. Mr. DeTullio seconded the motion. The motion carried unanimously. Resource Data Working Group (RDWG) Taylor Woodruff that RDWG has completed approximately 80 percent of the Resource Registration Glossary and will submit Resource Registration Glossary Revision Requests (RRGRRs) to clarify language. Voltage Reduction Task Force (VRTF) (see Key Documents) Spencer Burks reviewed recent VRTF activities. Phasor Measurement Task Force (PMTF) (see Key Documents) Kris Koellner reviewed recent PMTF activities and noted that the PMTF has been organized for almost one year and is nearing completing of its assignment. Mr. Hatfield congratulated the PMTF on their efforts and requested that ERCOT Staff develop any necessary Revision Requests, providing PMTF with a first review of the drafts. Market Participants declined to disband the task force at this time. ERCOT Synchrophasor Technology Assessment Mr. Koellner presented an assessment of synchrophasor technology in ERCOT. Draft Nodal Operating Guide Section 6 Language Key Recommendations ROS took no action on these items. Steady State Working Group (SSWG) (see Key Documents) Basileo Rocha reviewed recent SSWG activities and presented proposed revisions to the SSWG Procedure Manual for ROS consideration. SSWG Procedure Manual Mr. Bern moved to approve the revised SSWG Procedure Manual as submitted. Mr. Horvath seconded the motion. The motion carried unanimously. Other Business West Texas Export Capability Assessment Results Mr. Blevins reported on the results of the West Texas export capability assessment. Market Participants discussed the need to tune the Congestion Revenue Right (CRR) auction appropriately. No Reports - BSWG - System Protection Working Group (SPWG) Adjournment Mr. Hatfield adjourned the October 30, 2014 ROS meeting at 12:05 p.m.

http://www.ercot.com/calendar/2014/10/20141030-ROS