| NPRR Number | 641 | NPRR Title | Season Definition Change for Switchable Resources Reporting Unavailable Capacity |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | January 15, 2015 |  |  |
| Proposed Effective Date |  | March 1, 2015 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 16.5.4, Maintaining and Updating Resource Entity Information |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes the “Peak Period” reference and clarifies the timing and treatment of reporting on Switchable Generation Resource availability in Section 16.5.4. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR641 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 7/10/14, NPRR641 and an Impact Analysis were posted. - On 8/14/14, PRS considered NPRR641. - On 9/4/14, ERCOT comments were posted. - On 9/22/14, a second set of ERCOT comments were posted. - On 10/9/14, PRS again considered NPRR641. - On 11/6/14, PRS again considered NPRR641. - On 12/8/14, a third set of ERCOT comments were posted. - On 12/11/14, PRS again considered NPRR641. - On 1/5/15, a fourth set of ERCOT comments were posted. - On 1/15/15, PRS again considered NPRR641. |  |  |
| PRS Decision |  | On 8/14/14, PRS unanimously voted to table NPRR641 for one month. All Market Segments were present for the vote. On 10/9/14, PRS unanimously voted to recommend approval of NPRR641 as amended by 9/22/14 ERCOT comments. All Market Segments were present for the vote. On 11/6/14, PRS unanimously voted to table NPRR641 for one month. All Market Segments were present for the vote. On 12/11/14, PRS unanimously voted to table NPRR641 for one month. All Market Segments were present for the vote. On 1/15/15, PRS unanimously voted to endorse and forward to TAC the 12/11/14 PRS report as amended by 1/5/15 ERCOT comments and Impact Analysis for NPRR641. |  |  |
| Summary of PRS Discussion |  | On 8/14/14, Market Participants requested review and clarification of the proposed reporting from Switchable Generation Resources (both content and frequency) from ERCOT before moving forward with NPRR641. On 10/9/14, participants reviewed ERCOT comments clarifying the frequency and uses of unavailability reporting for Switchable Generation Resources. On 11/6/14, some participants expressed confusion over the title of this NPRR, given its current language, and requested that WMS consider the relevance of NPRR641 to ongoing discussions regarding Switchable Generation Resources prior to moving it forward. On 12/11/14, participants reviewed the 12/8/14 ERCOT comments and requested additional comments to clarify instances of “ERCOT shall” versus “ERCOT may” when describing uses for the reported unavailability data. On 1/15/15, participants reviewed the 1/5/15 ERCOT comments. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Qualitative Benefits | - Provides consistent treatment of summer and winter periods in reporting. - Aligns Protocol language with existing defined terms. |  |
| Quantitative Benefits |  |  |
| Impact to Market Segments |  |  |
| Credit Implications | No. |  |
| Other |  |  |

| Sponsor |  |
| --- | --- |
| Name | Peter Warnken |
| E-mail Address | pwarnken@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6705 |
| Cell Number | 512-585-2246 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 090414 | Clarified the requirements for Switchable Generation Resource reporting on availability. |
| ERCOT 092214 | Clarified the requirements for Switchable Generation Resource reporting on availability. |
| ERCOT 120814 | Clarified the requirements for Switchable Generation Resource reporting on availability. |
| ERCOT 010515 | Clarified the requirements for Switchable Generation Resource reporting on availability. |

Proposed Protocol Language Revision

16.5.4	Maintaining and Updating Resource Entity Information

(1)	Each Resource Entity must timely update information the Resource Entity provided to ERCOT in the application process, and a Resource Entity must promptly respond to any reasonable request by ERCOT for updated information regarding the Resource Entity or the information provided to ERCOT by the Resource Entity, including:

(a)	The Resource Entity’s addresses;

(b)	A list of Affiliates; and

(c)	Designation of the Resource Entity’s officers, directors, Authorized Representatives, and USA (all per the Resource Entity application) including the addresses (if different), telephone and facsimile numbers, and e-mail addresses for those persons.

(2)	If a Resource Entity has a Switchable Generation Resource with a contractual requirement in a non-ERCOT Control Area during the summer or winter Peak Load Seasons, it shall report to ERCOT in writing the Peak Load Seasons for which the identified capacity will not be available to the ERCOT System for the subsequent ten years.  The initial communication and subsequent updates to previously reported unavailable capacity shall be filed with ERCOT as soon as possible, but in no event later than ten Business Days after the information is obtained.  The communications should reflect the Resource Entity’s best estimate of the required information at the time the filing is made.  ERCOT shall use the provided data for p

reparation of the Report on Capacity, Demand and Reserves

and other planning purposes.