## Slide 1: PLWG Report to ROS
March 5, 2014

## Slide 2: PGRRs under review
PGRR040 – Clarification of Water Supply Rights Attestation Obligation
  PLWG has agreed on current language in the PGRR
  Tabled to allow WMS review on associated NPRR674

## Slide 3: PGRRs needing vote
PGRR041 – Revise and Add Requirements for NERC TPL-001-4 Standard
  Added language to require additional analysis to assess voltage stability if steady-state voltage deviations exceed 8%.
  Considered 8%, 9% and 10%.
Post Contingency Deviation Limit | 2015 | 2017 | 2019 | 2020
8% | 27 | 26 | 25 | 10
9% | 16 | 19 | 17 | 10
10% | 4 | 5 | 6 | 5

## Slide 4: Assignments to PLWG
CDR and Planning Study Model Differences
  ERCOT SMEs are adding more language around why the CDR and Planning model differ.
Load Scaling Methodology Review
  PRGG042 submitted by ERCOT
  PLWG discussions have not been able to reach a consensus on the appropriateness of current load scaling methodologies
Generation Deliverability Criteria
  ERCOT staff is working on draft PGRR language for consideration.
  Currently waiting on ERCOT Legal opinion on Protocol and Planning Guide language.