## NOTES
General Notes
1) "Registered" includes both competitive & NOIE
2) "Un-Registered" includes all outflows for competitive ESI IDs (all capacities)
3) MWH volumes are quarterly totals
4) "Registered" MW values based upon the last day of the quarter
5) ERCOT MWH percentages based upon ERCOT total load for the same quarter
6) Used ERCOT capacity value of 70,899 from Dec. 2014 CDR to calculate "Registered" DG MW as a percentage of ERCOT total

## Registered_MW
≈0.649% of ERCOT Capacity as of Q4-2014

## drg1
QUARTER | MWH | ERCOT PERCENTAGE (secondary axis)
Q1-2011 | 150734.1724 | 0.2094%
Q2-2011 | 150540.457 | 0.1757%
Q3-2011 | 140592.8295 | 0.1347%
Q4-2011 | 145338.1897 | 0.2021%
Q1-2012 | 159120.5362 | 0.2297%
Q2-2012 | 170834.8395 | 0.2008%
Q3-2012 | 186493.225 | 0.1897%
Q4-2012 | 178715.1509 | 0.2471%
Q1-2013 | 173588.5022 | 0.2477%
Q2-2013 | 181077.481 | 0.2182%
Q3-2013 | 171304.7329 | 0.1705%
Q4-2013 | 175411.3749 | 0.2243%
Q1-2014 | 173652.5633 | 0.2236%
Q2-2014 | 187405.7478 | 0.2256%
Q3-2014 | 177518.9504 | 0.1752%
Q4-2014 | 165667.6177 | 0.2123%

## drg2
QUARTER | MW
Q1-2011 | 161
Q2-2011 | 165
Q3-2011 | 176
Q4-2011 | 176
Q1-2012 | 204
Q2-2012 | 255
Q3-2012 | 255
Q4-2012 | 245
Q1-2013 | 240
Q2-2013 | 390
Q3-2013 | 402
Q4-2013 | 412
Q1-2014 | 431
Q2-2014 | 435
Q3-2014 | 439
Q4-2014 | 460

## drg3
QUARTER | MWH | ERCOT PERCENTAGE (secondary axis)
Q1-2011 | 964.0631 | 0.001339%
Q2-2011 | 1489.0021 | 0.001738%
Q3-2011 | 1094.371 | 0.001048%
Q4-2011 | 1283.9097 | 0.001785%
Q1-2012 | 1832.1776 | 0.002645%
Q2-2012 | 2483.825 | 0.002919%
Q3-2012 | 2136.3805 | 0.002173%
Q4-2012 | 2214.7214 | 0.003063%
Q1-2013 | 2910.7471 | 0.004153%
Q2-2013 | 3404.0114 | 0.004102%
Q3-2013 | 2694.9122 | 0.002683%
Q4-2013 | 2594.1426 | 0.003317%
Q1-2014 | 3772.8048 | 0.004857%
Q2-2014 | 5684.4002 | 0.006841%
Q3-2014 | 4295.9692 | 0.00424%
Q4-2014 | 5135.4618 | 0.006581%