Operations Working Group Meeting

Thursday, 2/19/15

Met Center Room 168

In Attendance:

| Gene Lowrie – ERCOT | Michael Cruz-Montes – CenterPoint Energy |
| --- | --- |
| John Warren – LCRA | Colleen Frosch – ERCOT |
| Matt Carter – Garland Power and Light | Walter Reed – Wind Coalition |
| Chad Thompson – ERCOT | Jerry Willms – Lone Star |
| Mark Henry – Texas RE | Billy Reid – Austin Energy |
| Sherry Looney - Luminant | Brian Manning – ERCOT |
| John Abel – Oncor | Leon Ricaud – ERCOT |
| Jonas Setzer – CPS |  |

Dial-In Attendees:

| Tip Tipton – Brazos John Moore – BTU Bob Temple – Sharyland Linda Rodriguez – AEP Liz Jones - Oncor | John Palen – NRG Aaron Brooks – Wett Mike Juricek – Oncor Randy Jones – Calpine |
| --- | --- |

- Antitrust Admonition

Meeting opened at 9:08 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting Report

No new assignments from ROS.

- January OWG Meeting Notes

Will review next month, the notes were not posted in time for the meeting.

- NOGRR Reviews and Language Changes

- 135NOGRR Constraint Management During Energy Emergency Alerts. This Nodal Operating Guide Revision Request (NOGRR) seeks to improve management of congestion during an Energy Emergency Alert (EEA) by proposing:

- Language that provides a mechanism for ERCOT Operations to manage constraints in EEA 2 or 3 to higher Facility ratings when applicable for those constraints identified as limiting generation output; and language that reconsiders use of double-circuit contingencies during emergency operations based on Grid conditions.  IMPACT ANALYSIS REVIEW:  OWG was in consensus to endorse and forward to ROS the 1/26/15 OWG Report as amended by the 1/21/15 ERCOT comments and the associated Impact Analysis for NOGRR135.

ROS assignment to review duplicate language with NPRR642, consensus was to allow the NOGRR/NPRR to proceed and to continue with that discussion.

- 138NOGRR Delete Grey Box for Reporting of Back-up Control Plan Submittal. This Nodal Operating Guide Revision Request (NOGRR) proposes the discontinuation of the posting requirement for Discontinue Backup Control Plan Submittal Results, ERCOT Market Information List (EMIL) ID, NP8-510M and Backup Control Plan Test Dates and Results Summary Reports, EMIL ID NP8-922-M. Language Review. IMPACT ANALYSIS REVIEW:  OWG was in consensus to endorse and forward to ROS the 1/26/15 OWG Report and Impact Analysis for NOGRR138

- 139NOGRR Under/Over-Frequency Relaying Requirements. This Nodal Operating Guide Revision Request (NOGRR) adds over-frequency relaying requirements and clarifies under-frequency and over-frequency relay set-points so that Generation Resources know what is expected.  Over-frequency relay set points criteria was approved by NERC in March 2014 under Standard PRC-024, Generator Frequency and Voltage Protective Relay Settings. [ERCOT] Language Review. IMPACT ANALYSIS REVIEW:  OWG was in consensus to endorse and forward to ROS the 1/26/15 OWG Report and Impact Analysis for NOGRR139.

- 142NOGRR Phasor Measurement. This Nodal Operating Guide Revision Request (NOGRR) represents the consensus recommendation of the Phasor Measurement Task Force (PMTF) as the binding language required to meet the top three Synchrophasor use cases identified by ERCOT staff and the PMTF as having merit in the ERCOT region. [PMTF] Language Review. LANGUAGE REVIEW:  OWG was in consensus to recommend approval of NOGRR142 as amended by the 1/27/15 Calpine comments.

- Monthly Operations Report

- Reviewed the January report.

- Texas RE Update Report

BAL-001-TRE-1 will be effective April 1st.  PDCWG updating Operating Guides.

Question was asked about protocol audits, John asked for a lessons learned discussion at the OWG next meeting.

- System Operations Report

Reviewed draft procedure for pre-contingency load shedding to avoid post-contingency cascading.

- Seminar Task Force Report

Comment made that the dry run went well and it looks like it is going to be a very informative seminar.

- Other

ERCOT (Gene Lowrie) reviewed the results of the under frequency load shed survey and testing schedule for 2015.

Reminder of the Voltage Control Workshop on Monday, February 23rd.

Hold over from last month, group is requesting Bill Blevins to report on oscillation issues in Panhandle.

- Future Meeting Date

Thursday March 19th ERCOT Met Center room 168.