| NPRR Number | 562 | NPRR Title | Subsynchronous Resonance |
| --- | --- | --- | --- |
| Date |  | March 20, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | Fred Huang / Chad Seely |  |
| E-mail Address |  | Shun-Hsien.Huang@ercot.com / Chad.Seely@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6665 / 512-225-7035 |  |
| Cell Number |  | 512-825-0288 |  |
| Market Segment |  | Not Applicable. |  |

Comments

On March 13, 2015, ERCOT held a workshop with stakeholders to discuss the current study scope of Subsynchronous Resonance (SSR).  Attached hereto is a copy of the ERCOT presentation.  Please take note of the following:

- As indicated in the presentation, ERCOT respectfully requests that stakeholders submit comments on the presentation or any other SSR issues that should be considered as part of stakeholder discussions going forward as official comments as part of Nodal Protocol Revision Request (NPRR) 562 by Friday April 3, 2015.  This will allow transparency for all stakeholders when placed in one “Key Documents” location.

- As requested at the workshop, ERCOT has posted a sample spec sheet (562NPRR-23(b) WGR Frequency Dependent Impedance Table 032015.xlsx) to give some guidance on data parameters requested for frequency scan analysis.  The spec sheet is subject to change as we continue further stakeholder discussions.

- Lastly, at the workshop, there were comments expressing the need to adjust the Frequency Range from 10 Hz to 5 Hz in the Stage 2: Frequency Scan Criteria.  ERCOT has evaluated those comments and agrees that the range should be adjusted to cover from 5 Hz to 55 Hz.  Please take this decision into consideration as part of your overall comments to the presentation.

ERCOT will evaluate all other stakeholders comments at the March 13th workshop in conjunction with any official comments submitted as part of NPRR562 in April and will update stakeholders in late April or early May about next steps.

Revised Proposed Protocol Language

None at this time.

Revised Proposed Protocol Language

None at this time.