APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, February 5, 2015 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB |  |
| --- | --- | --- |
| Armke, James | Austin Energy |  |
| Bern, Alan | Oncor |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Firestone, Joel | Topaz Power |  |
| Greer, Clayton | Morgan Stanley |  |
| Grimes, Mike | EDP Renewables | Alt. Rep. for R. Tzartzev |
| Helyer, Scott | Tenaska Power Services | Alt. Rep. for B. Staples |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Moore, John | South Texas Electric Cooperative |  |
| Nelson, Stuart | LCRA | Alt. Rep. for B. Hatfield |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Soutter, Mark | Invenergy |  |
| Vo, Trieu | CPS Enery |  |

Guests:

| Abbott, Kristin | PUCT | Via Teleconference |
| --- | --- | --- |
| Blackburn, Don | Luminant | Via Teleconference |
| Blackwell, John | LST |  |
| Brown, Jeff | Shell | Via Teleconference |
| Bunch, Kevin | EDF Trading | Via Teleconference |
| Burke, Tom | GSEC | Via Teleconference |
| Cook, Tim | Cross Texas Transmission | Via Teleconference |
| Evans, Doug | STEC | Via Teleconference |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Gross, Blake | AEPSC |  |
| Hughes, Darren | Panda Funds | Via Teleconference |
| Jones, Liz | Oncor |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos Electric |  |
| Lane, Rob | Luminant |  |
| Li, Young | Potomac Economics | Via Teleconference |
| Looney, Sherry | Luminant |  |
| Mattei, Andrew | Brazos Electric | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Niemeyer, Sydney | NRG Energy | Via Teleconference |
| O’Keefe, Rob | AEP | Via Teleconference |
| Owens, Frank | Cross Texas Transmission |  |
| Penny, David | Texas Reliability Entity | Via Teleconference |
| Rabsatt, Ferne | Constellation | Via Teleconference |
| Reid, Walter | Wind Coalition |  |
| Rocha, Basileo | CPS Energy | Via Teleconference |
| Rother, Werner | PUCT | Via Teleconference |
| Sandidge, Clint | Noble Americas | Via Teleconference |
| Shaw, Pamela | CES | Via Teleconference |
| Varnell, John | Tenaska | Via Teleconference |
| Warren, John | LCRA |  |
| Whitworth, Doug | Texas Reliability Entity | Via Teleconference |
| Woitt, Wes | CenterPoint Energy |  |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Bernecker, John |  | Via Teleconference |
| Bezzem, Joseph |  | Via Teleconference |
| Billo, Jeff |  |  |
| Garcia, Freddy |  | Via Teleconference |
| Geer, Ed |  | Via Teleconference |
| Gnanam, Prabhu |  |  |
| Guiyab, Rochie |  | Via Teleconference |
| Hanson, Kevin |  |  |
| Peters, Patrick |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Springer, Agee |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote. 2015 ROS Chair Joel Firestone called the February 5, 2015 ROS meeting to order at 9:30 a.m. Antitrust Admonition Mr. Firestone directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines. A copy of the guidelines was available for review. Agenda Review There were no changes to the agenda. Approval of ROS Meeting Minutes October 30, 2014 January 8, 2015 These items were postponed. Technical Advisory Committee (TAC) Update Mr. Firestone noted discussion at the February 26, 2015 TAC meeting regarding strategic initiatives being discussed in stakeholder forums, and the possibility of prioritizing efforts. Draft 2015 ROS Goals Mr. Firestone presented draft 2015 ROS Goals and noted the TAC request that subcommittees bring finalized goals to the March 26, 2015 TAC meeting for approval. Market Participants requested that the draft goals be circulated and then considered at the March 2015 ROS meeting. ERCOT Reports to ROS – (see Key Documents) System Planning Reports Prabu Gnanam presented the December 2014 System Planning Report. Operations Reports Chad Thompson welcomed any questions, noting that due to the early ROS meeting date, the January 2015 Operations Report was not yet available. No questions were offered. Referrals (see Key Documents) PRS: Parking Deck NOGRR050, Resolution Reporting Issues Related to NPRR219 Mr. Firestone referred NOGRR050 to the Outage Coordination Improvement Task Force (OCITF). Establish Outage Coordination Task Force (OCTF) (see Key Documents) Woody Rickerson presented a draft scope for the OCITF. Randy Jones moved to establish the OCITF, and to elect Liz Jones chair, and Chris Lyons vice chair. Mark Soutter seconded the motion. The motion carried unanimously. Mr. Firestone requested Market Participants continue to review the draft OCITF scope in preparation for its consideration at the next ROS meeting. Confirmation of 2015 ROS Working Group/Task Force Leadership (see Key Documents) Mr. Firestone thanked Market Participants for their willingness to serve in volunteer leadership roles. Mr. R. Jones moved to confirm the 2015 ROS working group and task force leadership as posted. David DeTullio seconded the motion. The motion carried unanimously. Dynamics Working Group (DWG) (see Key Documents) Rob O’Keefe reviewed recent DWG activities. Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey reviewed recent NDSWG activities. Operations Working Group (OWG) (see Key Documents) John Warren reviewed recent OWG activities and presented a Revision Request for ROS consideration. Chad Thompson reminded Market Participants of the Voltage Workshop scheduled for February 23-24, 2015, and encouraged attendance. Nodal Operating Guide Revision Request (NOGRR) 132, Automatic Under-Voltage and Under-Frequency Load Shedding Protection Systems – Load Restoration Market Participants discussed the 1/22/15 CNP Comments to NOGRR132. Randy Ryno moved to recommend approval of NOGRR132 as recommended by OWG in the 1/26/15 OWG Report. James Armke seconded the motion. The motion carried unanimously. Energy Emergency Alert (EEA) Language in Protocols and Operating Guides Mr. Warren reported that OWG will request the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) also consider the topic of redundant EEA language in Protocols and Operating Guides. Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) Concept Approval for System Change Request (SCR) to Implement Integral ACE into the GTBD Calculation and Concept Approval for Draft Nodal Protocol Revision Request (NPRR)/NOGRR re BAL-001-TRE-1 Market Participants discussed that the topics are important, and that discussion would be facilitated by allowing PDCWG to submit the proposed Revision Requests. Mr. R. Jones moved to direct PDCWG to submit Revision Requests regarding the addition of Integral Area Control Error (ACE) into the Generation to be Dispatched (GTBD) calculation, and to align ERCOT Protocols and Operating Guides with North American Electric Reliability Corporation (NERC) Regional Standard BAL-001-TRE-1. Clayton Greer seconded the motion. Mr. Greer requested that the Revision Requests be discussed in an open session of PDCWG. The motion carried unanimously. Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents) Revision to Task Force Acronym Mike Juricek and Mr. Firestone proposed that the Planning Geomagnetic Disturbance Task Force (PGTF) acronym be revised and clarified as “PGDTF”. There were no objections to the acronym revision. Planning Working Group (PLWG) (see Key Documents) Market Participants noted the submission of Planning Guide Revision Request (PGRR) 042, Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology. Steady State Working Group (SSWG) (see Key Documents) No questions were offered regarding the posted report. Voltage Reduction Task Force (VRTF) (see Key Documents) Ms. L. Jones reported that the VRTF-issued survey regarding circuit availability for voltage reduction, if implemented during EEA, is due back to the task force at the end of February 2015. Organization Update – Grid Planning and Operations Ken McIntyre presented organizational changes. Market Participants discussed the possibility of prioritizing large initiatives, and the need for specific contacts for each initiative. Other Business Mr. Firestone reminded Market Participants of the Texas Reliability Entity (Texas RE) Energy Management Systems (EMS) workshop scheduled for February 17, 2015 at ERCOT Taylor. Open Action Items Mr. Firestone requested PDCWG evaluate the impacts of the 2015 Ancillary Service Methodology on inertia, and per TAC, define what is meant by “immediately frequency responsive” as is relates to NERC BAL-001-TRE. Mr. Firestone also added to the Open Action Items list, for tracking purposes, the OWG effort regarding duplicative EEA language in the Protocols and Operating Guides. Some Market Participants expressed a preference that EEA language remain in the Protocols, due to commercial implications. No Reports - Black Start Working Group (BSWG) - Operations Trainers Working Group (OTWG) - Phasor Measurement Task Force (PMTF) - Resource Data Working Group (RDWG) - System Protection Working Group (SPWG) Adjournment Mr. Firestone adjourned the February 5, 2015 ROS meeting at 10:34 a.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2015/2/5/31990-ROS