EMERGENCY RESPONSE SERVICE

Technical Requirements & Scope of Work

Standard Contract Term:

June 1, 2015 through September 30, 2015

| VERSION | DATE POSTED |
| --- | --- |
| DRAFT | 03/12/2015 |

Table of Contents

1.	Document Description and Change Control Process	4

2.	Overview and Description of Service	4

3.	Preliminary Baseline Review for ERS Loads	6

4.	ERS Resource Identification (ERID)	6

5.	Offer Submission	11

6.	Contract Periods and Contract Period Renewals	14

7.	Baselines for ERS Loads	15

8.	Metering & Meter Data	17

9.	Participation by Sites in NOIE Territories	19

10.	Participation by Registered Load Resources (LRs)	20

11.	Communications Systems	21

12.	Scheduled Periods of Unavailability	22

13.	Substitutions	24

14.	Deployment	26

15.	Availability Measurement & Verification	28

16.	Event Performance Measurement & Verification	31

17.	QSE Performance Criteria	35

18.	Testing	38

19.	Payment Reductions & Suspension of ERS Resources and/or their QSE	39

20.	Prohibition on Other Market Activity	43

21.	Settlement	44

22.	ERS Self-Provision	45

23.	Communications to Market Participants	47

Definitions

ERS Submission Form - Excel spreadsheet used by QSEs to submit preliminary baseline reviews, substitutions, procurement & reinstatement ERIDS and offers for all ERS programs.

ERS Web Page - http://www.ercot.com/services/programs/load/eils/index

Interval metering - Meters measuring energy usage in 15-minute intervals and meeting the requirements applicable to the ERCOT system, including Interval Data Recorders (IDRs) and Advanced Meters, as defined in the Protocols, and other types of metering meeting the accuracy standards described in the Metering & Meter Data section of this document.

Distributed Renewable Generation (DRG) - Electric generation with a capacity of not more than 2,000 kW provided by a renewable energy technology that is installed on a retail electric Customer’s side of the meter.

Protocols - Prevailing ERCOT Nodal Protocols.

Ramp Period – Ten minutes for ERS-10 and thirty minutes for ERS-30 period of time beginning with ERCOT’s issuance of a Verbal Dispatch Instruction (VDI) requesting ERS deployment.

Site - Either an individual ERS Resource or a member of an aggregated ERS Resource.

Unique Meter Identifier - Identifier assigned by the QSE to a site and to the interval data used for the site for ERS performance measurement & verification when the site is within the service territory of a Non-Opt In Entity (NOIE), within a Private Use Network, or is sub-metered behind a revenue meter.  QSEs are required to use a single Unique Meter Identifier for a specific Site throughout its participation in ERS.

Any capitalized terms not specifically defined in this document are deemed to be consistent with the Protocols, Section 2, Definitions and Acronyms.

# Document Description and Change Control Process

## This document sets forth detailed requirements for participation in ERS by QSEs and ERS Resources; and is specific to the ERS Standard Contract Term defined herein. This document is reviewed by ERCOT Staff prior to the start of every ERS Standard Contract Term.  Any updates or changes to this document are subject to the Change Control process described below.

## ERCOT Staff will provide a period for stakeholder review and input for any draft changes to this document.  The Change Control procedure is as follows:

### ERCOT shall post the draft version of the Technical Requirements and Scope of Work to the ERS Web Page on or before the date published in the ERS procurement schedule for an ERS Standard Contract Term.

### ERCOT will notify stakeholders of the posted draft by sending an email to the subscribers to the Demand Side Working Group (DSWG) email exploder list on the posting date.

### ERCOT will identify a period of time for review and written comments from stakeholders and will consider any written feedback provided by stakeholders during the review period.

#### Comments should be submitted via email to ERS@ercot.com by the deadline set forth in the procurement schedule, which shall be at least fourteen (14) days after the posting date of the draft.

### Upon request by a representative of any Market Participant that has submitted written comments, ERCOT will conduct a conference call and online review of the submitted comments.

### ERCOT at its discretion may choose to adopt or incorporate any changes recommended by stakeholders if ERCOT concludes that the proposed changes are consistent with PUC Substantive Rule 25.507 and the Protocols, and can be administered by ERCOT Staff.

### ERCOT may correct errors in numbering and formatting after the review period described above without additional review.

# Overview and Description of Service

## Throughout this document the use of the term ERS by itself applies to all ERS service types.

## ERS is an emergency response service, designed to be deployed by ERCOT as an operational tool under Energy Emergency Alert (EEA) Level 1 or Level 2.  ERS is designed to decrease the likelihood of depleting ERCOT operating reserves and the need for ERCOT to order firm Load shedding, which is EEA Level 3.  ERCOT may also deploy ERS Resources during EEA Level 3.

## ERCOT procures ERS by contracting with QSEs after selecting offers submitted in response to a Request for Proposal.  If a QSE’s offer is selected by the Emergency Response Service Procurement Methodology, ERCOT will pay the QSE a capacity payment in exchange for making ERS Resources available for deployment upon ERCOT’s instruction.

## The procurement schedule for an upcoming ERS Standard Contract Term is posted under the Upcoming Contract Term link at the ERS Web Page.

## ERCOT procures ERS for an ERS Standard Contract Term.  ERCOT may issue a Request for Proposal to procure ERS for the following four-month ERS Standard Contract Terms:

### February 1 through May 31

### June 1 through September 30

### October 1 through January 31

## ERCOT shall procure ERS from one or more of the four following ERS service types:

### Weather-Sensitive ERS-10

### Non-Weather-Sensitive ERS-10

### Weather-Sensitive ERS-30

### Non-Weather-Sensitive ERS-30

## ERCOT may restructure ERS Standard Contract Terms in order to facilitate additional participation in ERS.  ERCOT shall provide Notice of any changes to the standing ERS Standard Contract Terms no fewer than ninety (90) days prior to the start date of that ERS Standard Contract Term.

## The minimum capacity offer for a Weather-Sensitive ERS Load is one half (0.5) MW; all other ERS capacity offers have a minimum of one-tenth (0.1) MW.

## QSEs may aggregate multiple Sites to constitute an ERS Resource provided that each Site in an ERS Resource aggregation meets all technical requirements described herein.

## Total hours per Time Period and all ERCOT Holidays are identified by ERCOT in the RFP specific to the ERS Standard Contract Term.

### QSEs on behalf of ERS Resources may submit offers for one or more ERS Time Period.

### An offer is specific to a Time Period.

## The standing ERS Time Periods are as follows (all times are Central Prevailing Time):

| Time Period Name | Time Period Hours |
| --- | --- |
| Business Hours 1 | Hours Ending 0900 - 1300 (8:00:00a.m. to 1:00:00p.m.) Monday through Friday except ERCOT Holidays. |
| Business Hours 2 | Hours Ending 1400 - 1600 (1:00:00p.m. to 4:00:00p.m.) Monday through Friday except ERCOT Holidays. |
| Business Hours 3 | Hours Ending 1700 - 2000 (4:00:00p.m. to 8:00:00p.m.) Monday through Friday except ERCOT Holidays. |
| Non-Business Hours | All other hours |

## For the first ERS Contract Period in an ERS Standard Contract Term, ERCOT shall procure ERS Resources for each Time Period using a clearing price. ERCOT shall describe the procurement methodology in an Other Binding Document titled “Emergency Response Service Procurement Methodology”.

## ERCOT may consider geographic location and its potential effect on congestion in selecting ERS Resources.  ERCOT may reject an offer if, in ERCOT’s estimation, the location of the prospective ERS Resource may cause significant Congestion.

## ERS is subject to an ERS cost cap of $50 million for each 12-month period beginning February 1 and ending January 31.

## Payments and Self-Provision credits to QSEs representing ERS Resources are subject to adjustments as described in the Protocols, Section 8.1.3.3, Payment Reductions and Suspension of Qualification of Emergency Response Service Resources and/or their Qualified Scheduling Entities.

## Deployment of ERS Resources will not result in additional payments other than any payment for which the QSE may be eligible through Real-Time energy imbalance or other ERCOT Settlement process.

## ERCOT shall analyze 15-minute interval meter data; adjusted for the deemed actual Distribution Loss Factors (DLFs), for each ERS Resource for purposes of offer analysis, availability and performance measurement.

### The ERS Resource associated with unique meters in competitive choice areas will be adjusted by the same DLFs as the ESI ID associated with that ERS Resource.

### The ERS Resource associated with unique meters in NOIE areas will be adjusted based on a NOIE DSP DLF study submitted to ERCOT pursuant to Protocols, Section 13.3, Distribution Losses.

# Preliminary Baseline Review for ERS Loads

## QSEs may submit ERS Load data to ERCOT at any time prior to the published ERS Resource Identification (ERID) deadline for purposes of obtaining preliminary and unofficial baseline assignment and/or capacity validation information.  This optional process is described in detail in a separate document titled “Preliminary Baseline Review Process”, posted to the ERS Web Page.

## The preliminary review process is not a substitute for the ERID process, and information on any prospective ERS Loads must be submitted as part of the ERID process even if they have previously been submitted to ERCOT for preliminary baseline review.

# ERS Resource Identification (ERID)

## ERID submission is the first mandatory step in the ERS procurement process.  QSEs shall submit data relating to all prospective ERS Resources to ERCOT using the ERS Submission Form, and by adhering to the published procurement schedule.

### ERS Resources must complete the ERID process each SCT.

## QSEs must identify all prospective ERS Sites that the QSE will represent in the upcoming Standard Contract Term.

### Such identification should include an accurate and descriptive name, street address, and ZIP Code for the Site.

## Unless there is a legitimate business reason for the name change, QSEs are required to use a single descriptive name for a specific site throughout the QSE’s representation of that Site in ERS.

## The ERID form must include one or more of the following meter identifiers:

### An ESI ID number for any Site where an ESI ID is present, this applies to:

#### All Sites situated in competitive choice areas of the ERCOT Region even if a sub-meter will be used to measure and verify ERS;

#### The injection point of a Private Use Network if a Site within the Private Use Network will be providing ERS;

#### A NOIE Settlement metering point if the meter at that point is dedicated to the Site that will provide ERS; or

#### A non-Settlement ESI ID within a NOIE footprint.

### A Resource ID for any Site (Generators) where a Resource ID is present, (note the ESIID for the Site is also required).

### A unique meter identifier number for prospective Sites including but not limited to the following:

#### Sites within a NOIE service territory that are not metered by a dedicated Settlement metering point ESI ID or a non-Settlement ESI ID;

#### Sites behind an ESI ID, including sub-metered Sites or Sites within a Private Use Network, if the sub-meter will be used for measurement and verification of ERS performance.  QSEs should not provide separate meter data if it is identical to the ESI ID meter data used for ERCOT Settlement or will not provide an accurate measurement of the Site’s performance;

#### Any Site at a non-interval metered location where the QSE is responsible for installation of interval metering prior to the start of the Standard Contract Term, and is responsible for submission of interval meter data.

### Unique meter identifier numbers must be distinct and must remain consistent throughout ERID and offer submissions and from SCT to SCT.  Unique meter identifiers for Sites in NOIE service territories should be formatted according to the instructions in the Participation by Sites in NOIE Territories section of this document.

## ERS Generator Sites shall be identified by ESI ID and Resource ID as applicable, and by using the same name and location description as contained in their interconnection agreement with their TDSP.

## QSEs  are required to submit ERID information for prospective ERS Generators, irrespective of the fact that ERS Generators are not subject to baseline assignments.  The performance of an ERS Generator is measured based on the production of energy by the generator(s) and by the injection of energy to the ERCOT System.

## For Sites with Distributed Renewable Generation (DRG), the QSE may elect to have the Site evaluated solely with its premise-level load as metered by the TDSP or based on the site native load that is served by a combination of the ERCOT grid and the DRG. For purposes of ERS participation by a Site with DRG, the native load will be calculated by adding the DRG output to the site’s import load as measured on the TDSP import meter and subtracting the site’s export load as measured on the TDSP export meter.

## If the QSE elects to have the site evaluated by its premise-level load as metered by the TDSP, the site will be subject to the metering requirements described above.

## If the QSE elects to have the site evaluated based on its native load, the following are required:

### The site must have signed an interconnection agreement with its TDSP.

### If the site is located in a competitive area of ERCOT, the ESIID for the site must have a profile segment assignment in ERCOT systems that indicates the presence of distributed renewable generation as well as interval metering for both import from and export to the ERCOT grid.

### If the site is located in a NOIE area of ERCOT, the QSE must arrange with the NOIE TDSP to provide meter data for the site’s import from and export to the ERCOT grid and the QSE must submit 15-minute interval data for the DRG output to ERCOT consistent with the specifications detailed in the Metering & Meter Data section of this document.  This data must cover the most recent 12 months or the period of time starting with the date of the interconnection agreement with the applicable TDSP.

## If both a prospective ERS Load and a prospective ERS Generator are co-located (present at the same service delivery point), the QSE shall submit separate ERIDs for the ERS Load and the ERS Generator.  A Load site with a DRG is ineligible to be treated as co-located with an ERS Generator.

## An ERS Load and its QSE may choose an alternate baseline assignment, or one of the default baseline types approved by ERCOT.

## In order to evaluate the applicability of a default baseline assignment, ERCOT generally must have access to Site-specific historic interval meter data, pulled within the last 45 days.

### If such data is not available in the ERCOT systems from an active interval-metered ESI ID, the QSE is responsible for submitting the data to ERCOT consistent with the specifications detailed in the Metering & Meter Data section of this document.  This requirement applies to any Site meeting any of the following descriptions:

#### The Site is in a competitive choice area of the ERCOT Region but does not have sufficient historical interval meter data.

### The Site is situated in a NOIE territory or within a Private Use Networks.

### The Site providing ERS is only part of the overall Load behind a single premise-level meter and the dedicated measurement of the Site providing ERS is necessary for measurement and verification of ERS.  The QSE may consult with ERCOT Staff as necessary to make this determination.

### If a site with a DRG has been designated by the QSE to be evaluated by its native load, the default baseline analysis shall be performed using the calculated native load.

## In order to qualify as Weather-Sensitive, an ERS load must meet one of the following criteria.

### Consist exclusively of residential sites; or,

### Consist exclusively of non-residential sites and must qualify as weather-sensitive based on the accuracy of the regression baseline evaluation methodology as described in the Protocols, Section 8.1.3.1.1, Baseline Assignments for Emergency Response Service Loads, as an indicator of actual interval Load.

#### ERCOT shall establish minimum accuracy standards for qualification as an ERS Load under the regression baseline evaluation methodology.

#### An ERS Load must have at least nine months of interval meter data to qualify as weather-sensitive under the regression baseline evaluation methodology.

#### ERCOT’s determination that an ERS Load qualifies as Weather-Sensitive ERS Load is independent of ERCOT’s determination of which baseline methodologies may be appropriate for purposes of evaluating the ERS Load’s performance

### If a site with a DRG has been designated by the QSE to be evaluated by using its native load, the default baseline analysis shall be performed using the calculated native load.

## ERCOT may request additional meter data (i.e., more than 12 months of data) at its own discretion for prospective ERS Loads desiring a default baseline assignment.

## For prospective ERS Loads desiring a default baseline assignment, QSEs must specify the Time Period(s) to be reviewed.

### QSEs shall indicate the Time Period(s) to be reviewed by selecting ‘Yes’ in the column for each Time Period.

### A default baseline type assigned by ERCOT to an ERS Load is potentially dependent on the Time Period(s) specified in the submission.

### During the Offer process a QSE may drop Time Period(s) without affecting the baseline assignment but cannot add Time Period(s).

## For prospective ERS Loads desiring a default baseline assignment, QSEs should consider the following:

### A more accurate default baseline model can usually be created for an aggregation than for an individual Site.  Similarly, large aggregations are typically more likely to be accurately modeled than small aggregations.

### During the ERID process QSEs may submit the same Sites multiple times as part of different aggregations.

## If a QSE requests a default baseline assignment but ERCOT has insufficient historical meter data available at the time of baseline assignment to accurately model the ERS Load, ERCOT will initially assign the ERS Load to the alternate baseline.  If ERCOT later determines that sufficient historical data is available and the ERS Load has sufficient predictability for a default baseline assignment, ERCOT, with the QSE’s assent, may reassign the ERS Load to that baseline, and calculate performance for the ERS Standard Contract Term accordingly.

## QSEs should be aware that ERCOT will generally assign an ERS Load to the alternate baseline in the following circumstances:

### If one or more Sites within the ERS Load has insufficient available historic interval meter data.

### If the prospective ERS Load contains a non-interval metered Site.  In such cases the QSE is responsible for ensuring that the Site is equipped with interval metering by the start of the applicable Standard Contract Term, and that the interval meter data will be delivered to ERCOT on schedule by the relevant meter-reading entity.

## QSEs should provide ERCOT with a list of hours from the previous 12 months that the prospective ERS Load was unavailable, or for which the meter data may not provide an accurate indication of its true Load shape, due to factors such as scheduled maintenance, backup generation testing, or Force Majeure events.  ERCOT will exclude these hours in its baseline assignment analysis for the prospective ERS Load.

### For a Load Resource (LR), this list should include hours that it was deployed via ERCOT Dispatch instruction or under frequency relay trip.

## If the prospective ERS Load has had a material change in its energy usage patterns within the preceding 12 months, QSEs should provide a detailed description of such change.

## QSEs are not required to declare any of the following for prospective ERS Resources during the ERID process:  renewal opt-in, self-serve capacity, injection capacity, capacity offer, offer price, maximum base Load, and proration lower limit.

## QSEs shall designate on the ERS Submission Form any ERS Site that is a registered LR or is located behind an ESI ID with one or more registered LRs as part of the ESI ID’s overall Load.  For additional detail, please see the Participation by Registered Load Resources section of this document.

## A QSE may include non-interval metered Sites in an aggregation only if the QSE is committing to having interval metering (see Metering & Meter Data section) installed prior to the beginning of the Standard Contract Term.  Aggregations that include such Sites will automatically be assigned to the alternate baseline, see the Baselines for ERS Loads section of this document.

## By submitting an ERID form, the QSE affirms that it has obtained full authorization from all Sites within the prospective ERS Resource to obtain their historical usage analysis from ERCOT, and that the prospective ERS Resource holds ERCOT harmless for providing such analysis to the QSE.  This affirmation is included on the Identification tab of the ERS Submission Form, which must be accompanied by a signature of the QSE’s Authorized Representative.

## Submission of ERID data does not bind the QSE or the ERS Resource to provide ERS or submit an offer.

## ERCOT staff will analyze data submitted in the ERID process and will provide the following information to QSEs:

### Baseline assignments (may be more than one option per ERS Load).

### Pre-screened capacity for each prospective ERS Load by Time Period, using the most recent data for a full 12 months and for blocks of four months correlating to the ERS Standard Contract Term.  The pre-screened capacity will be reported as average Load for each prospective ERS Load and 5th percentile Load level if the prospective ERS Load qualifies for one or more of the default baseline types.  This analysis is provided as a service to QSEs to help prevent unintentional over- or under-offering.

### Any error and exception reports, including identification of erroneous ESI ID numbers or DUNS numbers, non-interval metering, and/or meter data covering less than 12 months.

### Statistical results based on the historical data analyzed for the ERS Load for any applicable default baselines to assist the QSE in understanding the historical accuracy level of the baseline Load estimates.  QSEs should consult the “Default Baseline Methodologies” and “How to Read the ERID Form Evaluation” documents, posted to the ERS Web Page, for details in interpreting historical accuracy levels.

## ERCOT will provide these results as promptly as possible throughout the ERID process; but no later than the deadline published in the procurement schedule.  QSEs may then use the results of this analysis in preparing their final ERS offers.

## ERCOT will validate each prospective ERS Resource submitted and will assign an ERID number to each properly validated ERS Resource.  Offering will be limited to ERS Resources that have received an ERID number.

## At the end of the ERID process, ERCOT will notify affected QSEs of any Site for which more than one QSE has submitted an ERID form.  It is the QSEs’ responsibility to resolve any such problems prior to Offer submission.

## Upon QSE request ERCOT will provide the dates and times (within the last year) of tests and deployments for an ESIID.  The request should be sent to ERS@ercot.com.

# Offer Submission

## QSEs representing prospective ERS Resources shall submit offers to provide ERS using the ERS Submission Form and shall adhere to the deadlines in the procurement schedule posted to the ERS Web Page.

## Offers may be submitted only for ERS Resources that have an ERCOT assigned ERID number.

## A QSE may submit separate offers for an ERS Resource to provide any or all of the four ERS service types during the same or different ERS Time Periods in the same ERS Standard Contract Term, but ERCOT shall only award offers for one service type for each ERS Resource.

## For each ERS Resource, the QSE shall declare the following values for each Time Period for which an offer is being submitted:

### Capacity offer (in MW to the nearest tenth);

### Price (in dollars per MW per hour);

### Whether capacity proration is allowed for the Time Period

### Proration Lower Limit (in MW to the nearest tenth).

## ERCOT shall procure ERS Resources for each ERS Time Period using a clearing price.

### The “Emergency Response Service Procurement Methodology”, posted on the ERCOT website, is an Other Binding Document that describes the methodology used by ERCOT to procure ERS.

## ERCOT may consider geographic location and its effect on congestion in making ERS awards.

## ERCOT may prorate the capacity awarded to an ERS Resource in an ERS Time Period if the capacity offered for that ERS Resource would cost more than the Emergency Response Service Procurement Methodology allows under the time period expenditure limit.

### Such proration shall only be done if the QSE indicates on its offer for an ERS Resource that the QSE is willing to have the capacity prorated and also has indicated the lowest prorated capacity limit which is acceptable for that ERS Resource.

### If proration would result in an award below an ERS Resource’s designated prorated capacity limit or below the minimum MW offer applicable to the ERS service type the offer will not be awarded.

## If an ERS Load and an ERS Generator are co-located (at the same service delivery point), the same QSE must represent both ERS Resources and both Resources must participate in the same ERS service type

## For each ERS Generator each site must have an interconnection agreement with its TDSP prior to submitting an ERS offer.  ERS Generator offers must be based entirely on the ERS Generator’s injection of energy to the ERCOT System.  An ERS Resource that does not inject energy to the ERCOT System can only be offered as an ERS Load.

## For each ERS Generator, the QSE must specify the following (the value may be zero)

### A declared self-serve value, in MW, representing the amount of native Load that the generator will serve.

### A declared injection capacity, in MW, representing the amount of energy that the generator will inject to the ERCOT System during hours outside of ERS events or ERCOT unannounced tests.

## For each ERS Load, the QSE shall select a baseline assignment (available options will appear in a drop-down menu on the form).  If the alternate baseline is selected, the QSE shall declare the ERS Load’s Maximum base Load (in MW to the nearest one-thousandth).

### Maximum Base Load values are not applicable to ERS Loads assigned to a default baseline type.

### Maximum Base Load values are not applicable to ERS Generators

## For each site in an ERS Load with a backup generator used to provide some or all of the demand response, for each site in an ERS Load with a DRG, and for each site in an ERS Generator, the QSE must specify the nameplate MW of the generator and the fuel type.  If more than one generating unit is present, the total nameplate MW should be reported. If the QSE has opted to have a site with DRG evaluated by its premise-level load as metered by the TDSP, the nameplate MW of the generator must be left blank.

## Each offer submitted by a QSE on behalf of an aggregated ERS weather-sensitive Load shall include the QSE’s projection of the maximum number of sites in the aggregation during the ERS Standard Contract Term.  ERCOT shall review this projection and the information provided regarding the initial size of each aggregated ERS Load and shall reject any offer on behalf of such an ERS Load if the maximum size of the ERS Load projected by the QSE would violate the limits of site participation growth described in paragraph 5.14(a)(i)(ii) below.

## A QSE may modify the population of an aggregated ERS Weather-Sensitive Load once per month during an ERS Standard Contract Term via a process defined by ERCOT.  Such adjustments shall be effective on the first day of each month following the first month.

### During an ERS Standard Contract Term, a QSE may increase the number of sites in an aggregated ERS weather-sensitive Load by no more than the greater of the following:

#### 100% of the initial number of sites; or

#### Two MW times the QSE’s projection of the maximum number of sites in the aggregation during the ERS Standard Contract Term, divided by the MW capacity offered for the aggregation.

### Any sites added to an ERS Weather-Sensitive Load are subject to the same requirements for historical meter data as the other sites in the aggregation, as described in Protocols, Section 8.1.3.1.1, Baseline Assignments for Emergency Response Service Loads.

## An aggregated ERS Resource consists of two or more Sites which are obligated during all awarded Time Periods in a Standard Contract Term or Contract Period.  ERCOT will reject any offer containing a Site that has been submitted as part of more than one ERS Resource.

## QSEs may self-provide ERS.  Processes are detailed in the ERS Self-Provision section of this document.  Other than issues relating to price, the requirements for offering self-provided ERS are identical to those for offering ERS competitively.

## The minimum capacity offer for an ERS Weather-Sensitive Load is one half (0.5) MW; all other ERS service types have a minimum capacity offer amount of 100 kW (one-tenth or 0.1 MW).  Fractional offers above the 100 kW minimum are permitted to the nearest whole kW (one-thousandth or 0.001 MW) level.

## ERS offers are specific to a Time Period within a Standard Contract Term or Contract Period.  ERCOT will evaluate offers for each Time Period independently.

## Offers must be for a single price, MW capacity and maximum base Load for any specific Time Period, although those values may vary across Time Periods.

## Submission of an offer shall include the name of the QSE, the name of an individual authorized by the QSE to represent the QSE and its ERS Resource, and the name of the entity that controls the ERS Resource.

## Submission of an offer constitutes a binding commitment by the QSE and the ERS Resource to provide ERS for all hours during each awarded Time Period for the duration of the Standard Contract Term or Contract Period.

## The Identification tab of the ERS Submission form includes the following affirmations:

### The controlling entity of the ERS Resource has reviewed P.U.C. Substantive Rule 25.507 and all Protocols regarding ERS Service, and has agreed in writing to comply with and be bound by those provisions.

### The QSE affirms that it and the controlling entity of the ERS Resource are familiar with any Federal or State environmental regulations that apply to the use of any generator in the provision of ERS, and that the use of such generator(s) in the provision of ERS is compliant with those regulations.  This applies to both ERS Generators and to the use of backup generation by ERS Loads.

### The QSE affirms that the ERS Resource capacity being offered is not capacity that is separately obligated to respond during an Energy Emergency Alert (EEA) event and that neither the QSE nor the ERS Resource is receiving a separate reservation payment for any such obligation occurring in the contracted ERS Time Period.

### The QSE has obtained written authorization from each entity identified in this form as an ERS Resource or prospective ERS Resource to:

#### Represent the entity in all matters before ERCOT concerning the entity's provision of ERS,

#### Obtain the entity’s historical usage analysis from ERCOT, and

#### Submit offers to provide ERS on the entity's behalf.

### The QSE agrees to produce the above authorization and agreement immediately upon request from ERCOT or the Public Utility Commission of Texas.

## An ERS offer shall also indicate whether the ERS Resource is available to have its ERS obligation renewed in the event that its ERS deployment obligation is exhausted during the initial Contract Period in the Standard Contract Term.  The processes and obligation for such ERS Resources, which are described as “renewal opt-ins,” are described in the Contract Periods and Contract Period Renewals section of this document.

## Offers for ERS Loads selecting a default baseline type are limited to some or all of the Time Periods selected by the QSE and evaluated by ERCOT in the ERID process.  QSEs have the option of selecting any or all of the Time Periods for ERS Resources selecting the alternate baseline.

## Offer parameters are the sole responsibility of the QSE and ERS Resource.  The MW capacity of an ERS Load offer is not required to equal that of the pre-screened capacity (based on historical data) provided as a service to the QSE by ERCOT.

## QSEs may not change the price, the MW capacity, the baseline selection, or the declared maximum base Load of an ERS Resource after the offer is submitted, absent a request to do so for good cause and agreement by ERCOT to accept the change.

## Any offer that includes a Site submitted by more than one QSE is subject to rejection by ERCOT.

# Contract Periods and Contract Period Renewals

## For each of the four ERS service types an ERS Standard Contract Term may consist of a single ERS Contract Period or multiple non-overlapping ERS Contract Periods, as follows:

### If no ERS Resources’ obligations are exhausted during an ERS Contract Period the ERS Contract Period shall terminate at the end of the last Operating Day of the ERS Standard Contract Term.

### If one or more ERS Resources’ obligations are exhausted, the ERS Contract Period shall terminate at the end of the Operating Day during which the exhaustion occurred. However, if ERS Resources participating in a service type remain deployed at the end of that Operating Day, the ERS Contract Period for that ERS service type shall terminate at the end of the Operating Day on which those ERS Resources are recalled.

### If an ERS Contract Period terminates as provided in paragraph (b) above, and one or more ERS Resources’ obligations were not exhausted or ERCOT elects to renew the obligations of any Resources whose obligations were exhausted, then a new ERS Contract Period shall begin at hour ending 0100 on the following Operating Day.  This new ERS Contract Period shall terminate as provided in this Section.

## ERS Resources shall be obligated in ERS Contract Periods as follows:

### For the first ERS Contract Period in an ERS Standard Contract Term, all ERS Resources awarded by ERCOT shall be obligated.

### For each of any renewal ERS Contract Periods, an ERS Resource with remaining obligation due to cumulative deployment time of less than eight hours at the end of the previous ERS Contract Period shall be obligated for only this remaining deployment time in the new ERS Contract Period.

### For each of any subsequent renewal ERS Contract Periods in an ERS Standard Contract Term, ERCOT may renew the obligation of certain ERS Resources as follows:

#### Prior to the start of a renewal ERS Contract Period, ERCOT shall notify QSEs representing ERS Resources of its decision to include renewal opt-ins in the renewal ERS Contract Period.  Such Notification shall include a list of the QSEs’ renewal opt-in Resources’ capacity obligations by ERS Time Period.

#### For purposes of managing ERS expenditures within the ERS Cost Cap, ERCOT may limit the obligation of renewal opt-in ERS Resources in a renewal ERS Contract Period to a subset of the four ERS Time Periods.

#### If ERCOT elects to include renewal opt-in ERS Resources in a renewal ERS Contract Period, the renewal opt-ins shall be procured automatically under the same offer parameters — including capacity, price, maximum base Load (if applicable), and performance evaluation methodology — as originally awarded.

#### If ERCOT elects to include renewal opt-ins as part of the first renewal Contract Period in an ERS Standard Contract Term, participation is mandatory for ERS Resources with renewal obligations.

#### Renewal opt-in ERS Resources may opt out of participation in future renewal Contract Periods.  By the end of the second Business Day in any renewal ERS Contract Period, a QSE may revoke the renewal opt-in status of any of its committed ERS Resources for any subsequent renewal ERS Contract Periods within that ERS Standard Contract Term.  Such revocation must be communicated to ERCOT by a QSE authorized representative or primary contact via email to ERS@ercot.com, and shall include the name of the QSE and its ERS Resource.  Notwithstanding this provision, an ERS Resource whose obligation is not exhausted during a renewal Contract Period will be automatically re-obligated in subsequent renewal Contract Periods until the obligation is exhausted.

## By the end of the third Business Day in any renewal ERS Contract Period, ERCOT shall communicate to QSEs a confirmation of the terms of participation for all of their committed ERS Resources.  Notwithstanding this provision, participation by obligated ERS Resources is binding from the start time of each ERS Contract Period.

# Baselines for ERS Loads

## ERCOT will assign each individual or aggregated ERS Load to its own unique baseline type.  In some cases, an ERS Load may be qualified for multiple baseline types and may choose its preferred assignment from the options offered by ERCOT.  The baseline will be used to verify the ERS Load’s performance as compared to its contracted capacity during an ERS deployment event and is a key determinant in ERCOT’s measurement and verification of the ERS Load’s availability.

## A baseline assignment applies to the ERS Load for all Time Periods and Contract Periods within a Standard Contract Term.

## ERS baseline methodologies fall into two categories: default or alternate.  As described in the Offer Submission section of this document, ERCOT will evaluate interval-metered Load from prospective ERS Loads to determine their baseline assignments.

## All Sites within an aggregated ERS Load must be assigned to the same baseline type (one of the four default baseline types or the alternate baseline).

Default Baseline (Drop By)

## The primary goal of a default baseline is to accurately estimate an ERS Load’s level of electric energy usage under “business as usual” conditions – that is, in the absence of an ERS deployment – for any given interval.  The combination of inputs to a default baseline are designed to yield interval-by-interval Load estimates for the ERS Load to provide the most accurate possible benchmark for evaluating the performance of the ERS Load in a deployment event.  This estimate can then be compared to the ERS Load’s interval meter data from an ERS deployment event to determine its performance throughout the Sustained Response Period.  Depending on the default baseline type, analysis of at least 12 months of historic interval meter data may be necessary for ERCOT to determine whether an ERS Load can be modeled accurately under a default baseline.

## ERCOT has developed four default baseline types:

### The Regression Model applies the methodology used for the development and support of ERCOT’s Load Profiles to develop an unadjusted ERS Load-specific model.  In addition to the ERS Load’s interval-meter data (including historic consumption data, or, if applicable, calculated native load data plus data for the time periods preceding and following the deployment event), the model inputs for this default baseline model fall into three general categories: weather-related variables (e.g., temperature, dew point, wind speed, cloud cover); calendar-related variables (e.g., day of week, holiday, season); and daylight/ darkness variables (sunrise and sunset time).  ERCOT, at its sole discretion, may use other data variables in the baseline formula if ERCOT determines the additional data will enhance the accuracy of the baseline.

### The Middle 8-of-10 Preceding Like Days Model uses the ERS Load’s actual interval-meter consumption data, or, if applicable, calculated native load data for 10 “like” days (weekdays or weekends/holidays) occurring close to the day of an ERS deployment event, discards the highest Load day and the lowest Load day of the 10, and creates an unadjusted baseline by averaging the Load of the remaining eight days.

### The Matching Day Pair Model is based on identifying the sets of two days over the preceding 12 months in which the ERS Load’s actual interval-metered usage, or, if applicable, calculated native load data most closely matches its corresponding Load data for the day before and the day of the ERS deployment event.  This methodology selects the 10 closest-matched day pairs and averages them together by interval to create an unadjusted baseline.

### For the Control Group Model the following will apply:

#### The Control Group Baseline performance evaluation methodology shall only be available to Residential ERS Loads.

#### Sites in an ERS Load assigned to the control group baseline are required to have fully functional interval metering in place to measure actual energy usage or, if applicable, calculated native load data at the start of an ERS Standard Contract Term, but are not required to have historical meter data prior to that time.

#### ERCOT will divide the aggregation into multiple numbered groups for purposes of testing and deployment event and will assign sites to groups.

#### ERCOT will communicate the group assignments to the QSE representing the ERS Load no later than five business days following the award announcement for the ERS Standard Contract Term, or five business days prior to the first day of a month in which the changes are made by the QSE to the participating sites in a Weather-Sensitive ERS Load.

#### ERCOT will randomly select one group to be the control group and will notify the QSE of that designation. Sites in the control group will have their interval-by-interval loads during the event averaged together, and these averages with constitute the per-site baseline for the event.

#### This per-site baseline will be compared to the interval-by-interval per-site load for the deployed groups to determine the per-site load reduction.

#### ERCOT will strive to minimize control group size while preserving the ability to achieve accurate Demand response measurement and verification.  The number of groups, group size and group designations are subject to change if the QSE adjusts the population of a Weather-Sensitive ERS Load during the ERS Standard Contract Term, as described in Protocols,  Section 3.14.3.1, Emergency Response Service Procurement.

### ERCOT will apply an event-day adjustment to the unadjusted baseline Load estimates for any of the default baseline types described above except for the Control Group Baseline.  An event-day adjustment is a scalar adjustment based on the ERS Load’s actual Load, or, if applicable, calculated native load data, for the hours preceding the declaration of an EEA.  An event-day adjustment may change the baseline up or down.

### The methodologies for developing the default baseline models are described in the document entitled “Default Baseline Methodology” at the ERS Web Page.  QSEs and ERS Loads may use these methodologies for estimating their own specific baseline for a particular day or event.

### For aggregated ERS Loads, ERCOT may develop either a single baseline model at the aggregate level or multiple baseline models for individual Sites or subsets of Sites within the aggregation.  If ERCOT develops the model at the Site and/or subset level, ERCOT shall establish the default baseline for the aggregation by summing the baselines of the individual Sites and/or subsets of Sites in the aggregation.  ERCOT shall verify the performance at the ERS Load level.

Alternate Baseline (Drop To)

## If, in ERCOT’s sole discretion, a sufficiently accurate default baseline cannot be established due to the characteristics of the Sites within an ERS Load, ERCOT will assign the ERS Load to the alternate baseline formula.  ERCOT may also assign an ERS Load to the alternate baseline if it determines the ERS Load’s availability and performance can be more accurately evaluated or more simply administered if assigned to the alternate baseline, if such assignment would not affect the ERS Load’s MW offer capacity, and if such assignment is agreed to by the QSE and ERS Load.

## A QSE may elect to assign any ERS Load to the alternate baseline.

## The availability factor for an ERS Load assigned to the alternate baseline is calculated based on its average actual hourly Load, or, if applicable, average calculated native load hourly data, during the committed Time Period minus its declared maximum base Load.  MW capacity offers for such ERS Loads should be based on this calculation.

# Metering & Meter Data

## Each ERS Resource, including each Site within an aggregated ERS Resource, must have an Electric Service Identifier (ESI ID) and dedicated 15-minute interval metering, subject to approval by ERCOT.  An ERS Resource located outside of a competitive service area may use a unique service identifier in lieu of an ESI ID.

## Each Site within an ERS Generator must have the following metering in place:

### TDSP metering capable of measuring energy exported to the ERCOT System;

### TDSP metering capable of measuring energy imported from the ERCOT System; and

### Interval metering dedicated to the generator that meets the requirements for meter data submission as detailed in this section.  ERCOT may grant an exception to this dedicated meter requirement if the ERID submission provided by the QSE on behalf of the ERS Resource is accompanied by a one-line diagram of the Site and a certification from a Professional Engineer stating that the generator does not serve native Load.

## For each ERS Generator the QSE will be required to submit meter data from the output of the ERS Generator.  In some cases TDSP metering which measures import from and export to the Grid is sufficient to meet this requirement. Two cases in particular are:

### The import from the Grid is small parasitic consumption by the ERS Generator

### The ERS Generator only runs:

#### When there is power interruption affecting the Load,

#### In response to an ERCOT instruction

#### Self-Testing

## Each QSE with an ERS Generator will be required to complete a spreadsheet provided by ERCOT attesting to the use of the ERS Generator.

## Each site in an ERS Load with a DRG, for which the QSE elects to have its performance evaluated based on its native load must have TDSP installed 15-minute interval metering capable of measuring the site’s imports from and exports to the ERCOT grid as well as 15-minute interval metering measuring the output of the DRG. If such a site is in a NOIE area, the QSE must arrange with the NOIE TDSP to have the import and export data submitted to ERCOT by the NOIE TDSP.

Meter Data Submitted to ERCOT by TDSPs in Competitive Choice Areas

## For ESI IDs situated in competitive choice areas of the ERCOT Region, meter data is stored in the ERCOT systems and will be accessed by ERCOT using the ESI ID number provided in the ERS Submission Form. Depending on the amount of data available, ERCOT may request additional or alternative data from the QSE or ERS Resource, or may analyze meter data for a shorter period.

Meter Data for ERS Resources in NOIE Territories

## QSEs representing ERS Resources that include Sites located in a territory served by a NOIE are responsible for arranging with the NOIE Transmission and/or Distribution Service Provider (TDSP) to provide ERCOT with the most recently available twelve (12) months of interval meter data.

### ERCOT may request additional meter data for ERS Load baseline assignment purposes.

### If sufficient interval meter data is not available, the submitting QSE must arrange to provide ERCOT with as much detailed meter data from the preceding period of up to 24 months as is available.  Data from prospective ERS Resources located within NOIE service territories will be used only for ERS offer analysis and performance measurement purposes and will not be used for any other market Settlement purposes.

### QSEs representing Sites in NOIE service territories are responsible for arranging for the NOIE TDSP to provide ERCOT with interval meter data for the Sites in the prescribed format on a monthly basis within 35 days following the end of a calendar month or following an ERCOT unannounced test.

### Meter data for a Site in a NOIE service territory that is not submitted by the NOIE TDSP is subject to the requirements for meter data from sources other than a registered TDSP as described below.

- Meter Data from sources other than a registered TDSP

## QSEs providing meter data from a source other than a registered TDSP shall submit such data to ERCOT according to the following rules:

### If a QSE provides premise-level sub-meter data for a Site that is also an interval-metered ESI ID within the ERCOT system, ERCOT will use the ESI ID data from its system.

## All submissions of meter data from a source other than a registered TDSP, including meter data measuring the energy output of a DRG.

- Must be validated and accompanied by an affidavit signed by a licensed Professional Engineer.  Such data must be specific to the Site, must meet the accuracy standards described in Subsection (8.9) below, and must be provided in one of the formats described in the document entitled “Interval Data File Format Descriptions,” posted to the ERS Web Page.  These provisions apply to all meter data collected from a committed Site during a Contract Period, including regular usage data and data covering the period of an ERCOT unannounced test.  Each submission of data must be accompanied by an affidavit.

#### Meter data submitted for purposes of preliminary baseline review or baseline assignments for ERS Loads during the ERID phase of the procurement process does not need to be accompanied by an affidavit.

### QSEs are responsible for submitting meter data with the supporting affidavit on a monthly basis for any committed ERS Resources.  Meter data is due at ERCOT no later than 35 days after the last day of a calendar month, in the prescribed format.

### QSEs are responsible for submitting meter data with the supporting affidavit to ERCOT within 35 days of an ERS deployment event or ERCOT unannounced test.

### Notwithstanding “c” and “d” above, QSEs are strongly encouraged to submit meter data as soon as possible after the end of a month or an ERCOT unannounced test; that is, prior to the 35-day deadline.  Prompt submission of data allows ERCOT staff to identify and work with the submitting QSE and applicable TDSP to resolve any data irregularities or inconsistencies in ample time prior to Settlement.

- For any missing or invalid data hours, ERCOT may assign zeroes for purposes of calculating availability factors or may declare the ERS Resource to have failed to meet its performance requirements in an ERS deployment event or ERCOT unannounced test.  For documented meter failures resulting in missing interval data, the QSE may submit estimated data meeting requirement (8.9) below or ERCOT will estimate data using an appropriate approximation method.

## If an entity other than a registered TDSP submits meter data to ERCOT for use in administering ERS, the metering used to produce the data must adhere to accuracy standards consistent with those required by PUC Substantive Rules and the Protocols, as follows:

### Metering equipment shall conform to the requirements described in PUC Subst. Rule §25.142, Submetering.

### Time stamps shall conform to the requirements in the Protocols, Section 10.9.2, TSP or DSP Metered Entities.

## If an entity other than a registered TDSP submits meter data to ERCOT for use in administering ERS, the data should be subjected to Validation, Editing and Estimation (VEE) consistent with the requirements in the Protocols, Section 10.11.3, TSP or DSP Settlement Meters.

## Non-TDSP interval data must be provided to ERCOT in a file format defined in the document entitled “Interval Data File Format Description” at the ERS Web Page.

Meter Data for ERS Sites at Load Resource ESI IDs

## QSEs representing ERS Resources that include Sites that are LRs or are located behind an ESI ID where one or more LRs are also present are responsible for providing ERCOT with distinct interval meter data for each Load, including the ERS Site and all other LRs behind the ESI ID.  Values for any intervals for which an LR is providing Ancillary Services during the Contract Period should be represented as zero, unless the LR does not provide any ERS capacity during the Contract Period (in this case, the LR’s full meter data set shall be provided).  ERCOT at its discretion may waive the sub-metering requirements under certain configurations.  Meter data must be submitted by the TDSP or attested by a Professional Engineer.

# Participation by Sites in NOIE Territories

## Sites associated with a Dynamically Scheduled Resource (DSR) may not participate in ERS.  Offers for Resources containing sites associated with a DSR will be rejected by ERCOT.  If ERCOT determines that any participating site is associated with a DSR, that site will be treated as removed from the Resource on the date the determination was made.  An ERS Resource’s obligation will not change as a result of any such site removal.

## Sites situated in NOIE service territories are eligible to participate in ERS.  Any non-NOIE QSE wishing to represent sites in a NOIE service territory must obtain written authorization from the NOIE to represent the Site. This authorization must be signed by an individual with authority to bind the NOIE and must be submitted to ERCOT prior to the submission of any offer on behalf of one or more such Sites.

## Sites within NOIE service territories generally are not assigned an ESI ID within the ERCOT system.  Exceptions to this include a Site directly metered by IDR metering at a NOIE Settlement Metering Point, and certain non-Settlement ESI IDs that have been installed by the NOIE TDSP for purposes other than ERCOT Settlement.  ERCOT must be able to track the performance history of Non-ESI ID Sites and therefore must have assurance that the Site Identification and unique meter identifier associated with a Site providing ERS must continue to assign the same name to the Site throughout its participation in ERS.  The QSE representing the ERS Resource must not change a unique identifier assigned to a Site providing ERS throughout its participation in ERS.

# Participation by Registered Load Resources (LRs)

## Meter data for any LR Sites must be provided to ERCOT consistent with the requirements in the Metering & Meter Data section of this document.

## The following combinations are ineligible to participate in ERS and will be rejected:

### The QSE indicates that the LR will be providing AS during the Contract Period and no Unique Meter ID (submeter) is present;

### The QSE does not indicate that an LR is present but the ERCOT systems indicate an active LR at that ESI ID;

### The QSE indicates an LR is present but no LR is present in the ERCOT systems at that ESI ID.

### The ESI ID field on the submission form is blank.

## If the QSE indicates that an LR is present but will not be providing AS during the Contract Period, and no Unique Meter ID is present:

## The Site may be offered into ERS as an individual ERS Load or as a member of an aggregated ERS Load;

## ERCOT will treat the entire premise (ESI ID) as the ERS Site and the QSE will not be required to submit additional meter data;

## Baseline assignment will be based on the premise-level (ESI ID) meter data and will exclude LR deployment intervals;

## After the end of the Contract Period, ERCOT will validate that the LR did not provide AS during the ERS Load’s awarded Time Periods in the Contract Period;

## ERCOT will use premise-level data in its systems for the ESI ID, or, if applicable, calculated native load data in calculating availability, event and test performance for the associated ERS Load.

## If the QSE indicates that at least one LR is present, a Unique Meter ID is present, and the LR will not be providing AS during the Contract Period:

### The Site may be offered into ERS as an individual ERS Load or as a member of an aggregated ERS Load;

### The entire sub-metered Load will be treated as dedicated to ERS;

### The QSE must identify any LRs that are present behind the ESI ID and must identify those that comprise all or part of the ERS Load;

### Baseline assignment will be based on historical submeter data provided by the QSE, or, if applicable, calculated native load data and will exclude LR deployment intervals;

### The QSE also must provide interval data for all LRs behind the ESI ID for the entire Contract Period consisting of the LR’s AS obligation to enable ERCOT to verify that the ERS obligation has been met;

### After the end of the Contract Period, ERCOT will validate submeter data and will validate that none of the LR Load was dually committed by comparing submetered Load data to ESI ID data minus the AS obligations at the ESI ID, and by comparing QSE-reported AS obligations with actual AS obligations pulled from the ERCOT systems;

### ERCOT will use data from the Unique Meter ID in calculating availability, event and test performance for the associated ERS Load.

## If the QSE indicates that at least one LR is present, a Unique Meter ID is present, and the LR will be providing AS during the Contract Period:

### The Site may be offered into ERS as an individual ERS Load or as a member of an aggregated ERS Load;

### Baseline assignment will be based on ESI ID premise-level data, or, if applicable, calculated native load data and will exclude LR deployment intervals;

### If an LR has an AS obligation during any hour of a day in which it also has an ERS obligation, the LR will be treated as not providing ERS during any interval of that day.

### Because LR(s) at the Site may be providing both ERS and AS, but not on the same day, the QSE must provide interval data detailing both LR obligations in AS and the net Load available to provide ERS;

### After the end of the Contract Period, ERCOT will validate submeter data and verify whether any LR was dually committed by comparing submetered Load data to ESI ID data minus the AS obligations at the ESI ID, and by comparing QSE-reported AS obligations with actual AS obligations pulled from the ERCOT systems;

### ERCOT will measure and verify availability, event and test performance for the associated ERS Load using ESI ID premise data, or, if applicable, calculated native load data minus the data representing the LR’s commitments in AS;

### If an event occurs in which an LR deployment overlaps an ERS deployment, ERCOT will verify whether both obligations were met by calculating the ERS Load reduction incremental to the LR AS Load reduction.

# Communications Systems

## A QSE representing ERS must be capable of communicating with its ERS Resources in such a way as to allow the ERS Resources to meet their performance criteria in an ERS deployment event.

## A QSE representing ERS must be capable of receiving both an ERCOT Verbal Dispatch Instruction (VDI) and an ERCOT Extensible Markup Language (XML) message during any hours in which it has committed ERS Resources.

### Such QSEs must establish a WAN connection and execute a WAN agreement with ERCOT.  Installation and enablement of the WAN connection at the QSE’s site is the full responsibility of the QSE.

### Any QSE currently certified as a Level 4 QSE or with an existing agreement and connection within the ERCOT WAN meets the VDI requirement.

## When ERCOT issues Dispatch instructions regarding ERS, QSEs shall instruct their committed ERS Resources to deploy their contracted capacity. QSEs are fully responsible during all contracted hours for communicating Dispatch instructions to the contracted ERS Resources they represent.

## ERS Resources are not subject to the modeling, telemetry, or Resource Plan requirements of other ERCOT Resources.

# Scheduled Periods of Unavailability

ERS Loads

## The Unavailability Submission form, posted to the ERS website, is used by ERS Loads to submit scheduled periods of unavailability and power interruptions.  The completed Unavailability Submission form should be emailed to ERS@ercot.com.

## A QSE may schedule in advance with ERCOT periods of unavailability for an ERS Load for up to two percent (2%) of its total committed hours in an ERS Contract Period.  These scheduled periods of unavailability must be communicated to ERCOT by an authorized representative of the QSE representing the ERS Load at least five (5) business days prior to the first day of the period of unavailability.

## QSEs also shall use the Unavailability Submission form to report any hours that Load within an ERS Load was disabled or unverifiable due to events on the TDSP side of the meter affecting the supply, delivery or measurement of electricity to the Load (“power interruption”).  Along with the form, QSEs must attach verification of such events from the TDSP or meter reading entity.

## A QSE may cancel or revise a previously scheduled period of unavailability or power interruption, in whole or in part (e.g., because an outage has been averted or cancelled, because a Site is able to return to service earlier than anticipated, etc.).  The revocation must be communicated to ERCOT by an authorized representative of the QSE representing the ERS Load at least one business day in advance of the beginning of the period to be revoked.

## Any hours of unavailability properly noticed to ERCOT, up to the 2% maximum, will be excluded from the hours used to calculate the ERS Load’s availability factor.  Hours of properly scheduled unavailability will be applied consecutively starting with the first notified hour and ending with the hour containing either the declared time of return to availability or the point where the total number of scheduled unavailable hours equals 2% of the ERS Load’s total committed hours in the Contract Period.  Properly scheduled hours of unavailability will not be applied proportionally across Time Periods.

## QSEs should submit a notice of Scheduled Unavailability for any committed hours that the ERS Load will be subjected to a Load-shed test initiated by any entity other than ERCOT.  This includes any hours that a backup generator is being tested.

## Submission of a notice of Scheduled Unavailability is an indication by the ERS Load that its Load will be off, or materially reduced, during the scheduled period.  This provision is not intended to allow the ERS Load to stay on-line during an ERS Dispatch Instruction.

## Committed ERS Loads are responsible for reporting, by the end of the next Business Day, any material change in their availability status to the QSE representing their ERS Load, irrespective of whether the change in availability is scheduled with ERCOT as described in this section.  Such communication to the ERS QSE must be sent via email to the QSE.

## QSEs representing ERS Loads shall retain all email communications from their ERS Loads regarding ERS Load material changes in availability. QSEs must report any material change in availability status of their portfolio to ERS@ercot.com by the end of the next Business Day following notification from their ERS Loads.  Material changes must be reported irrespective of whether the change in availability is scheduled with ERCOT as described in this section.

## For purposes of this subsection, a material change is defined as a reduction of 25 MW or more in the availability of a QSE’s ERS portfolio for a period estimated to last longer than 72 hours.

## Unless ERCOT has received a notice of unavailability, ERCOT will assume that the contracted ERS Load is available to respond to a deployment instruction.

ERS Generators

## The Unavailability Submission form, posted to the ERS website, is used by ERS Generators to submit scheduled periods of unavailability, power interruptions, self-test schedules and planned maintenance.  The completed Unavailability Submission form should be emailed to ERS@ercot.com.

## In order to support ERCOT’s evaluation of ERS Generator availability, no later than two Business Days prior to the start of an ERS Standard Contract Term QSEs representing ERS Generators shall submit the following information:

### For each ERS Generator, a schedule of planned maintenance, which includes start and stop times for any planned maintenance events during the four-month ERS Standard Contract Term. A QSE may modify the planned maintenance schedule during an ERS Contract Period by submitting the modification, using the same form, no later than five Business Days prior to the start date of the planned maintenance.

#### A modification to a planned maintenance schedule may decrease the number of hours of planned maintenance but may not increase the number of hours of planned maintenance.

### For each ERS Generator, the QSE shall notify ERCOT of its self-test schedule, which includes start and stop times and intended output of energy for each scheduled test of the ERS Generator during the ERS Standard Contract Term.  A QSE may modify the self-test schedule during an ERS Contract Period by submitting the modification, using the same form, no later than five Business Days prior to the date of the change.

#### A modification to a self-test schedule may decrease the number of scheduled tests but may not increase the number of scheduled tests.

### Self-tests may be conducted using Load banks.  ERS Generators are not required to inject energy to the ERCOT System via synchronous connection during a self-test so long as the ERS Generator is directly metered with 15-minute interval metering.  This provision does not apply to ERCOT unannounced tests.

# Substitutions

## The intent of this section is to provide QSEs a method to continue to meet their ERS commitments by substituting ERS Resources during unanticipated periods of ERS unavailability or reduced availability.

## If an ERS Resource experiences an unanticipated period of unavailability or reduced availability, its QSE may provide the service temporarily with a pre-qualified or provisionally qualified substituting ERS Resource under the conditions detailed in this section.

## ERCOT at its discretion may disallow any ERS Resource substitution if it determines that the substitution may cause operational or reliability concerns or is inconsistent with the intent of this section.

## ERCOT at its discretion may limit the number of substitutions per ERS Resource per Contract Period.

## The MW capacity and price of the original ERS Resource’s award may not be changed for a substitution.

Substitution Process

## The QSE shall notify ERCOT via email to ERS@ercot.com when an ERS Resource substitution is to occur.  The email notification must include the following information:

### Identification of the ERS Resource for which the substitution is being submitted (“original ERS Resource”);

### Start date and time of the period of substitution;

### Estimated date and time of the original ERS Resource’s return to service; and,

### A completed ERS Submission Form describing the substituting ERS Resource.

## A period of substitution will begin no earlier than the calendar day following ERCOT’s receipt of the notification.

## Submission of the form designating a substitution constitutes a binding commitment to provide ERS.  All affirmations on the Identification tab of the ERS Offer Submission form, are applicable to substituting ERS Resources.

## The minimum duration for a substitution is one calendar day.

## If a substitution is submitted during a previously submitted period of scheduled unavailability, the scheduled period of unavailability will end when the substitution begins.

## Periods of scheduled unavailability may be submitted for the substituting ERS Resource during the time the substitution is in effect; the 2% allowance for unavailability will apply cumulatively to the original ERS Resource and the substituting ERS Resource.

Description of Substituting ERS Resources

## A substituting ERS Resource may include Sites that are part of the original ERS Resource.

## A substituting ERS Resource will be considered pre-qualified if it meets one of the following conditions:

### It is a registered LR that has successfully completed an ERCOT administered Load-shed test within the previous 365 days;

### It is an ERS Resource that has successfully completed an ERCOT administered test prior to the substitution period and within the previous 365 days.

### It is an intact ERS Resource that has successfully completed its reinstatement procedures following a suspension.  Individual Sites within a reinstated aggregated ERS Resource may not be separated to provide a substitution during the current or immediately following SCT.

#### A reinstated ERS Resource may substitute only if the MW capacity of its reinstatement offer is greater than or equal to the committed capacity of the original ERS Resource.

### A QSE may elect to pre-qualify an ERS Resource by completing the reinstatement process for that resource. An ERS Resource pre-qualified in this manner may substitute only if the MW capacity of its pre-qualification offer is greater than or equal to the committed capacity of the original ERS Resource.  A pre-qualified ERS Resource will be deemed to be eligible to participate as a substitution for the remainder of the Standard Contract Term during which it completed the reinstatement process or during the subsequent Standard Contract Term.

### It is a prospective ERS Resource that has successfully completed a test administered by its QSE or a third party within the previous 365 days.  Procedures for such a test are detailed in the document entitled “Process For Pre-Qualification Testing Of ERS Resources by Entities other than ERCOT Staff” posted to the ERS Web Page.  The authorized representative of the QSE representing the ERS Resource shall attest that it followed the procedures by completing and submitting the affidavit for “ERS Pre-Qualification Resource Testing” posted to the ERS Web Page.  An ERS Resource that has become pre-qualified through a QSE or third party test may also be subject to an unannounced test by ERCOT during the substitution period.

### It is an aggregated ERS Resource consisting primarily of Sites that have passed unannounced ERCOT tests within the preceding 365 days (potentially including Sites from the original ERS Resource) and ERCOT determines that the new or untested Sites in the aggregation do not materially change the ability of the ERS Resource to meet its performance requirements.

#### ERCOT will apply the same “material change” criteria for determining the test status of a substituting ERS Resource as it does for an ERS Resource’s annual unannounced test.  If ERCOT determines the ERS Resource is not subject to an unannounced test prior to the substitution period, ERCOT reserves the right to conduct a test during the substitution period.

## ERCOT at its discretion may accept a substituting ERS Resource that is not pre-qualified.

### A provisionally qualified substituting ERS Resource that the QSE is submitting as a substitute for an ERS Load assigned to a default baseline type may only be ERS Load that ERCOT determines to be qualified for a default baseline assignment.  If the substituting resource is an ERS Load and is determined by ERCOT to be ineligible for a default baseline assignment, the substitution will be disallowed retroactively and the original ERS Load or immediately previously submitted substitution ERS Resource will be treated as still obligated.

### A provisionally qualified substituting ERS Resource that the QSE is submitting as a substitute for an ERS Generator may only be an ERS Generator. The rules regarding the treatment of co-located ERS Loads and ERS Generators in the Event Performance Measurement & Verification section of this document, shall apply to the substitutions for any tests or events that occur during the period of substitution.

### A provisionally qualified substituting ERS Resource will be required to successfully perform in an ERCOT unannounced test.  If the QSE withdraws the substitution before ERCOT is able to administer the test, or the substituting ERS Resource fails to meet its performance requirements in the test or an ERS deployment event, the substitution will be disallowed retroactively and the original ERS Resource will be treated as still obligated.

## An individual ERS Resource may substitute for an aggregated ERS Resource, and vice versa.

## The performance evaluation methodology of a substituting ERS Resource must be consistent with that of the original ERS Resource.

### ERS Generators may substitute for ERS Generators.

### Only alternate baseline ERS Loads may substitute for alternate baseline ERS Loads.

### Default baseline ERS Loads may substitute for default baseline ERS Loads.

#### A substituting ERS Load may have a different default baseline type than the original ERS Load.

## A substituting alternate baseline ERS Load may declare a different maximum base Load from the original ERS Load.

## A substituting ERS Generator may declare a different self-serve capacity and injection capacity from the original ERS Generator.

## The substituting ERS Resource shall not provide ERS with any capacity that is separately obligated, and receiving a separate reservation payment for such obligation, during the committed hours.

Compliance

## A substituting ERS Resource is subject to all applicable Protocol requirements and is subject to ERS deployment throughout the substitution period.  In a deployment event, the ERS Resource that is obligated at the time of the event is subject to the deployment requirements

## If the original and substituting ERS Resources in combination fail to meet their availability requirements, ERCOT will endeavor through meter data analysis to determine responsibility for the failure.  If ERCOT determines that the substituting ERS Resource met its contractual obligations during the substitution period, then only the original ERS Resource will be treated as having failed.  If ERCOT determines that the original ERS Resource met its contractual obligations outside the substitution period, then only the substituting ERS Resource will be treated as having failed.  If ERCOT determines that both the original and substituting ERS Resources failed to meet their obligations, then both will be treated as having failed.

## Substituting ERS Resources may be subject to an ERCOT unannounced test during their period of substitution.

# Deployment

## ERCOT will deploy ERS-10 and ERS-30 consistent with the Protocols; Section 6.5.9.4.2, EEA Levels.  ERCOT may deploy ERS-10 only during EEA Level 2 or 3 and may deploy ERS-30 only during EEA Level 1, 2 or 3.  ERCOT may deploy ERS or Load Resources providing Responsive Reserve Service (RRS) without deploying the other, and may deploy both services simultaneously or separately, and in any order.

### ERCOT shall deploy ERS via a XML message followed by a single VDI to the all-QSE Hotline.  The VDI shall represent the official start of the ERS ramp period.

## If the VDI is issued in a Time Period in which ERCOT has procured less than 500 MW of ERS, ERCOT will deploy all ERS Resources as a block.

## If the VDI is issued in a Time Period in which ERCOT has procured 500 MW or more of ERS, the ERCOT system operator has the discretion to deploy ERS Resources either as a block or in groups of approximately equal size.  For a group deployment, ERCOT shall instruct QSEs to deploy Group 1 first.  If future group deployments are necessary, ERCOT will deploy the groups via XML and VDI as a block or in numerical order by group number.

## ERCOT will randomly assign group assignments to ERS Resources.  A document describing the assignment methodology is posted to the Nodal Market Information System (MIS) Public Area and to the ERS Web Page.  ERCOT shall notify QSEs of their ERS Resource group assignments prior to the start of a Contract Period and upon any change to the numerical group assignment.

## For purposes of this section, deployment obligation time is the cumulative time during the Sustained Response Period of an event during which an ERS Resource has an obligation.  Deployment obligation time does not include the ramp time.  An ERS Resource shall be subject to a maximum of eight hours of cumulative deployment obligation time per ERS Contract Period, except that for ERS Resources that did not exhaust their obligations in a previous ERS Contract Period within the same ERS Standard Contract Term, the maximum deployment obligation time shall be the remaining deployment obligation time from the previous ERS Contract Period consistent with the Protocols, Section 3.14.3.3, Emergency Response Service Provision and Technical Requirements.

## Notwithstanding paragraph (14.5) above, the following shall apply;

### For a Non-Weather-Sensitive ERS Resource, if an ERS deployment is still in effect when the ERS Resource’s cumulative deployment obligation time equals or exceeds eight hours, the ERS Resource must continue to meet its event performance requirements for the next four hours or until ERCOT releases the ERS Resource, whichever comes first.

### For a Weather-Sensitive ERS Resource, the following shall apply:

#### The maximum number of deployment events during an ERS Contract Period shall be equal to two times the number of months of weather-sensitive obligation in the ERS Contract Period.

#### The duration of a Weather-Sensitive ERS Load’s deployment obligation time for a single event shall be a maximum of three hours.

#### If an ERS deployment is still in effect when the Weather-Sensitive ERS Resource’s cumulative deployment obligation time equals or exceeds eight hours, the ERS Resource must continue to meet its event performance requirements until the three hour maximum deployment obligation time for that event is met or ERCOT releases the ERS Load, whichever comes first.

## An ERS Resource’s initial obligation during an event is determined by its obligation at the end of the Ramp Period.  If the Ramp Period ends during the last interval of a Time Period on the day of deployment and a Resource does not have an obligation in the following Time Period the Resource will be treated as if it is not deployed.

## By the end of the Ramp Period, an ERS Resource shall deploy in accordance with the performance evaluation methodology appropriate to its ERS Resource type as described in the Event Performance Measurement & Verification and Participation by ERS Generators sections of this document, and in Section 8.1.3.1.4 of the Protocols.

## ERS Loads are expected to comply with this provision by reducing their net Load requirement from the ERCOT grid consistent with their awarded capacity and baseline assignment.  The use of backup generation is not prohibited.  However, shifting Load from one ESI ID or Service Delivery Point to another, without an overall Load reduction consistent with the awarded capacity, is considered a violation of the intent of ERS and the Protocols.

## The official start time of the ramp period for a VDI issued over the All QSE Hot Line will be determined by ERCOT staff upon review of the time-stamped recording of the VDI.  The time is established by the ERCOT operators’ confirmation of the QSEs repeat back of the instruction.

## Within 10 hours following the ERCOT recall VDI, committed ERS Resources shall return to an operating level that will allow them to meet their ERS obligations.

# Availability Measurement & Verification

## Within forty-five (45) days after the end of an ERS Standard Contract Term, ERCOT shall provide each QSE representing ERS Resources with an availability report for its ERS portfolio for each ERS service type. The report shall contain:

### The ERS availability factor for each ERS Resource for each ERS Time Period and each ERS Contract Period in the ERS Standard Contract Term

### The QSE’s portfolio-level availability factor for the ERS Contract Period in the ERS Standard Contract Term

### The QSE’s portfolio-level availability factor for the Standard Contract Term

## For an ERS Resource whose performance is evaluated using non-TDSP metering, including meter data measuring the energy output of a DRG, ERCOT will treat the ERS Resource as unavailable for any committed hours containing intervals for which the non-TDSP meter data, , is unavailable, regardless of the cause of the unavailability.

### For an ERS Load, ERCOT will assign a MWh value of zero to such hours.

### For an ERS Generator, ERCOT will treat such hours as unavailable.

ERS Time Period Availability Calculations

## ERS Loads:

### For an ERS Load assigned to a default baseline type, see Baselines for ERS Loads section of this document, ERCOT will determine the availability factor by calculating the number of hours an ERS Load was available in each committed Time Period, divided by the total number of hours in the Time Period.  ERCOT will consider the ERS Load to have been available for any hour in which the ERS Load’s actual interval-metered Load, or, if applicable, calculated hourly native load data was greater than 95% of its contracted ERS MW capacity; otherwise, the ERS Load will be considered unavailable for that hour.

### For an ERS Load assigned to the alternate baseline, ERCOT will determine the ERS Load’s availability factor by evaluating the ERS Load’s actual interval-metered Load, or, if applicable, calculated hourly native load data for all hours in each committed Time Period.  The availability factor will be the ratio of the ERS Load’s hourly average Load, or, if applicable, average calculated hourly native load excluding its declared maximum base Load to its contracted ERS MW capacity, provided that the availability factor shall not be greater than one (1).

### The following hours will be excluded in ERCOT’s calculations of an ERS Load’s availability factor:

#### Any hours for which the ERS Load’s QSE notified ERCOT, using the procedures described in the Scheduled Periods of Unavailability section of this document, of the ERS Load’s unavailability at least five Business Days in advance, up to a maximum of 2% of the total contracted hours in the ERS Contract Period;

#### Any hours in which an ERS Load was deployed during an EEA event, including the 10-hour recovery period;

#### Any hours in which an ERS Load-shed test was conducted and the 10-hour recovery period following the test;

#### Any hours following an ERS deployment resulting in exhaustion of the ERS Load’s obligation in an ERS Contract Period; and,

#### Any hours that Load within an ERS Load was disabled or unverifiable due to events affecting the supply, delivery, or measurement of electricity to the Site.  QSEs must provide verification of such events from the TDSP or relevant Meter Reading Entity.

### A Weather-Sensitive ERS Load shall always have its availability factor for an ERS Contract Period set to 1.0 and its Availability Settlement Weighting Factor set to zero.

## ERS Generators:

### ERCOT shall evaluate the availability of an ERS Generator by using 15-minute interval metering dedicated to the ERS Generator.

### ERCOT will calculate an ERS Generator’s availability factor for each committed ERS Time Period as the ratio of the number of hours the ERS Generator was available in the ERS Time Period divided by the total obligated hours in the ERS Time Period.  ERS Generators are considered available for any hours except the following:

#### Any hours containing intervals that are part of an unsuccessfully executed unannounced ERCOT test, beginning at the time of dispatch and ending at the end of the interval preceding the time the ERS Generator begins injecting energy to the ERCOT System at a rate consistent with its event performance criteria.  An unannounced ERCOT test is considered to be unsuccessfully executed if the ERS Generator fails to begin injecting energy to the ERCOT System at a rate consistent with its event performance criteria;

#### Any hours containing intervals in which either it is operating at a level greater than the sum of its declared self-serve value and its declared injection capacity; or

#### Any hours containing intervals in which it is metered at zero generation during an unsuccessfully executed self-test, beginning with the start time the ERS Generator has scheduled for the self-test and ending at the interval preceding the time that the ERS Generator begins generating at its intended energy output.  A scheduled self-test is considered to be unsuccessfully executed if the ERS Generator fails to begin generating at its intended energy output between the start and stop times designated for the test.  In such cases, the test shall be considered to have ended only when the ERS Generator has generated at its specified energy output for at least one full interval.

### Hours containing the following intervals will be excluded from the availability calculation:

#### Any hours of planned maintenance, as described in the Scheduled Periods of Unavailability section of this document, up to a maximum of 2% of the total contracted hours in the ERS Contract Period;

#### Any hours in which an ERS Generator was deployed during an EEA event including the ten-hour ERS recovery period;

#### Any hours following an ERS deployment that results in exhaustion of the ERS Generator’s obligation in an ERS Contract Period;

#### Any hours that the ERS Generator’s ability to inject energy to the ERCOT System was disabled or unverifiable due to events on the Transmission and/or Distribution Service Provider (TDSP) side of the meter affecting the ability of the ERS Generator to achieve a synchronous connection.  QSEs must provide verification of such events from the TDSP or Meter Reading Entity (MRE).

#### Intervals during a successfully completed ERCOT unannounced test of the ERS Generator and all intervals in the full ten-hour ERS recovery period;

#### Intervals during a successfully completed scheduled self-test, as reported to ERCOT via the provisions in this section.

ERS Contract Period Availability

### ERCOT shall compute a single combined availability factor (ERSAFCOMB) for an ERS Resource by calculating a time- and capacity-weighted average of the availability factors from each of the ERS Resource’s committed Time Periods.

### ERCOT shall compute an availability settlement weighting factor (ERSAFWT) for each ERS Resource for a Contract Period for each ERS service type.  The ERSAFWT represents the significance of the combined availability factor relative to the event performance factor in the equations used to determine payment to the QSE for an ERS Resource.

### For an ERS Contract Period with no ERS deployment events, the ERSAFWT for all ERS Resources shall be set to 1.0.

### For an ERS Contract Period with one or more ERS deployment events and in which no ERS Resource’s deployment time obligation was exhausted, the ERSAFWT for all deployed ERS Resources shall be set to 0.25 and the ERSAFWT for all undeployed ERS Resources shall be set to 1.0.

### For an ERS Contract Period in which one or more ERS Resource’s obligations were exhausted the following shall apply:

#### For all deployed ERS Resources, the ERSAFWT shall be set to 0.25 × ERSAFHRSqced with ERSAFHRSqced calculated as described in paragraph (iii) below.

#### For all ERS Resources with no deployments during the ERS Contract Period, ERSAFWT shall be set to 1.0.

#### ERSAFHRS for all ERS Resources shall be calculated as the ratio of the number of obligated hours in the ERS Contract Period prior to the deployment event resulting in depletion of the ERS obligation minus any hours during that time that were excluded for purposes of computing availability to the total number of awarded hours for an ERS Time Period in the ERS Standard Contract Term preceding the beginning of the ERS Contract Period and following the exhaustion of the ERS obligation.

#### An ERS Resource shall be deemed to have met its availability requirements for an ERS Contract Period if ERSAFHRS for the ERS Contract Period is less than 0.5 and if the ERS Resource achieves an ERSAFCOMB greater than or equal to the value calculated in the formula below:

      - 3.8 * ERSAFHRS qced – 3.8 * (ERSAFHRS qced)2

#### An ERS Resource that is deemed to have met its availability requirements under paragraph (iv) above shall have its ERSAFCOMB for that ERS Contract Period set to one (1).

| Pass Threshold Examples |  |  |  |  |
| --- | --- | --- | --- | --- |
| ERSAFHRS | Pass Threshold |  | ERSAFHRS | Pass Threshold |
| 0 | 0.0000 |  | 0.1 | 0.3420 |
| 0.01 | 0.0376 |  | 0.2 | 0.6080 |
| 0.02 | 0.0745 |  | 0.3 | 0.7980 |
| 0.03 | 0.1106 |  | 0.4 | 0.9120 |
| 0.04 | 0.1459 |  | 0.5 | 0.9500 |
| 0.05 | 0.1805 |  | 0.6 | 0.9500 |
| 0.06 | 0.2143 |  | 0.7 | 0.9500 |
| 0.07 | 0.2474 |  | 0.8 | 0.9500 |
| 0.08 | 0.2797 |  | 0.9 | 0.9500 |
| 0.09 | 0.3112 |  | 1 | 0.9500 |

# Event Performance Measurement & Verification

## No later than 45 days after the end of an ERS Standard Contract Term in which one or more ERS deployment events occurred, ERCOT shall provide each QSE representing ERS Resources with an event performance report containing the results of ERCOT’s evaluation of the event(s) for each ERS Resource and the QSE’s portfolio-level event performance factor for the event(s) and the ERS Standard Contract Term.

## An ERS Resource’s performance shall not be evaluated for an ERS deployment if either of the following is true:

### The QSE has submitted timely notice to ERCOT pursuant to the Protocols, Section 8.1.3.1.3.1, Time Period Availability Calculations for Emergency Response Service Loads, that one or more sites in the ERS Resource are unavailable, and the period of unavailability during the ERS deployment does not exceed the 2% maximum specified in that section; or

### The ERS Resource does not have an obligation for at least one full interval during the Sustained Response Period of that event.

## ERCOT shall evaluate an ERS Resource’s performance during an ERS deployment based on two criteria:

### Within the applicable ramp period, ERS Loads shall curtail Load and ERS Generators shall output energy and reach a level of energy injection to the ERCOT system in accordance with their ERS contractual obligations. ERCOT shall assess each ERS Resource’s compliance with this requirement by using the (EIPFs) equation in the Protocols, Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources for the first full interval of the Sustained Response Period.

### ERCOT shall measure each ERS Resource’s performance throughout the duration of an ERS deployment event by analyzing actual 15-minute interval meter data, or, if applicable, calculated 15-minute interval native load data associated with the ERS Resource, , as described in Protocols, Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources.

## For an ERS deployment event, ERCOT shall calculate EIPFs and an ERSEPF for a Weather Sensitive ERS Load, using actual 15-minute interval meter data, or, if applicable, calculated 15-minute interval native load data, consistent with the provisions of the Protocols, Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources.  No other provisions in paragraph (3) of that section shall apply to Weather Sensitive ERS Loads.

## Regardless of the number of enrolled sites in the Weather-Sensitive ERS Load  at the time of an event or test, the contracted capacity value (OFFERMW) used will be the value submitted by the QSE in its offer.

## For an ERS deployment event for a Weather-Sensitive ERS Load with two or more full intervals in the Sustained Response Period, if the ERS Load’s EIPF for the first full interval of the Sustained Response Period is less than 75% of the average EIPF for the remaining full intervals of the Sustained Response Period, the baseline used to evaluate the ERS Load shall be reduced to the level at which the ERSEPF for that event or test is equal to 0.75 times the ERSEPF determined by using the initial baseline.

## ERCOT shall evaluate the event performance of an ERS Generator by measuring net injection of energy to the ERCOT System using data from metering as described in paragraph (5)(a) of the Protocols, Section 3.14.3.3, Emergency Response Service Provision and Technical Requirements, and in the Metering and Meter Data section of this document.  ERCOT shall evaluate the availability of an ERS Generator by using 15-minute interval metering dedicated to the ERS Generator.

## An ERS Load will be classified as co-located with an ERS Generator if the ESI IDs and unique meter identifiers of each site in the ERS Load are all physically located with a site in the ERS Generator.

## If an ERS Generator is co-located with an ERS Load that is assigned to an ERS Default Baseline, the event and test performance of the ERS Generator and ERS Load shall be evaluated jointly using interval data from the Transmission and/or Distribution Service Provider (TDSP) installed metering. The sum of the load reduction provided by the load and the energy injected to the grid is compared to the sum of the obligations of both resources.  The resulting combined test and event performance factor will be attributed to both resources for purposes of computing QSE-level test and event performance and for purposes of suspension.

## If an ERS Generator is co-located with an ERS Load assigned to the ERS Alternate Baseline, the performance shall be evaluated using one of two methods selected by the QSE:

### The QSE may elect to have the performance of the ERS Generator and ERS Load evaluated separately.  In this case all site Load must participate in the ERS Load and ERCOT shall calculate interval-by-interval values for the sites in the ERS Load by adding the respective intervals of the QSE installed sub-metering on the output of the generator(s) at the site to the MWh registered on the TDSP meter and subtracting the MWh exported to the ERCOT Transmission Grid as registered on the TDSP metering. The performance of the ERS Load shall be evaluated using the ERCOT calculated values of the site Load, and the ERS Generator shall be evaluated using the sub-metering installed on each generator to directly measure the output of those generators.

### The QSE may elect to have the performance of the ERS Generator and ERS Load evaluated jointly.  In this case, ERCOT shall use the TDSP metering installed for the performance evaluation.

#### If ERCOT determines that one of its established Default Baseline types accurately represents the ERS Load’s Demand response contribution, the contribution of the ERS Load to the joint performance shall be based on that response.

### If ERCOT determines that none of its established Default Baseline types accurately represents the ERS Load’s Demand response contribution, the contribution of the ERS Load to the joint performance shall be deemed to be the product of the ERS Load’s obligation for the interval and the ERS Interval Performance Factor (EIPFi) as computed in the Protocols, Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources.

### The joint performance will be attributed to both the ERS Load and ERS Generator.

## An ERS Generator which is not co-located with an ERS Load shall have its performance based on its metered output to the ERCOT System as measured by the TDSP metering.

## The event performance factor is a number between zero and one, inclusive, representing the time-weighted arithmetic average of the ERS Resource’s interval performance factors for the Sustained Response Period, as calculated by ERCOT using interval-meter data.  The event performance factor calculation will begin with the first partial or full interval in the Sustained Response Period and will end with the last full interval in the Sustained Response Period.

## An interval performance factor is a number between zero and one, inclusive, calculated as follows:

### For an ERS Load assigned to a default baseline, ERCOT will calculate interval performance factors by subtracting the ERS Load’s actual Load for each interval, or, if applicable, calculated 15-minute interval native load data, from its baseline for that interval, and dividing that number by the product of its awarded capacity and the interval fraction for that interval.

### For an ERS Load assigned to the alternate baseline, ERCOT will calculate the ERS Load’s interval performance factors by subtracting the ERS Load’s actual Load for each interval, or, if applicable, calculated 15-minute interval native load data from the sum of its awarded capacity plus Maximum Base Load for that interval, and dividing that number by the product of its awarded capacity and the interval fraction for that interval.

### For an ERS Generator, ERCOT will calculate interval performance factors by subtracting the ERS Generator’s declared injection capacity value from its actual metered energy injection to the ERCOT System for the interval, and dividing that number by its awarded capacity for that interval.

### Interval performance factors will be weighted based on the percentage of the interval that is part of the Sustained Response Period.

## For the first fractional interval of the Sustained Response Period only, in place of the sum of awarded capacity plus Maximum Base Load, ERCOT will substitute a calculated value derived from historical interval meter data determined by ERCOT to represent an appropriate estimate of the ERS Load’s business-as-usual Load, or, if applicable, calculated 15-minute interval native load data specific to the conditions associated with the ERS deployment event.

## If an ERS deployment event lasts more than eight hours, the time-weighting factor for intervals beyond the eighth hour shall be reduced by 25%.  In any ERS Standard Contract Term in which ERCOT has deployed ERS, the ERSEPF for an ERS Resource shall be the time-weighted average of the event performance factors for all events for which the ERS Resource was deployed.

## Irrespective of its ERSEPF, an ERS Resource shall be deemed to have met its event performance requirements if it is an ERS Load determined by ERCOT to have met its Load reduction obligations in the ERS deployment event if measured on one of the ERCOT established Default Baseline types other than the baseline type to which it is assigned, and ERCOT determines that the different baseline more accurately represents the ERS Load’s Demand response contribution.

## For purposes of evaluating performance in an ERS deployment, access by ERCOT to meter data being provided by an entity other than a registered TDSP is subject to the requirements detailed in the Metering & Meter Data section of this document.

## For aggregated ERS Resources, performance will be based on the summed total of the actual interval-metered Load, or, if applicable, the summed total of the calculated 15-minute interval native load data or generation for all Sites within the aggregation relative to the established performance evaluation methodology for the aggregated ERS Resource.

## The performance of an ERS Resource within a Private Use Network will be evaluated based on two factors:

### The event performance of the ERS Resource itself, based on the actual interval data collected at the isolated Site-level meter, or, if applicable, calculated 15-minute interval native load data; and,

### Energy flows at the Private Use Network’s tie point to the ERCOT System.

## The Sustained Response Period for an ERS Resource will end at the time ERCOT issues a release instruction to the QSEs representing the ERS Resource, via a VDI.  The ERCOT System Operator will confirm issuance of the release instruction to all parties on the Hot Line call.  Upon receipt of this release instruction, ERS Resources shall return to a condition that will allow them to meet their contracted obligations within 10 hours.

## The obligation of a deployed ERS Resource is based on its awarded MW capacity by Time Period in the Sustained Response Period.  QSEs and ERS Resources are responsible for making any adjustments necessary to allow the ERS Resource to continue to meet its performance requirements at the time of a transition to a new Time Period.

## ERCOT may issue subsequent VDIs to QSEs to dispatch newly obligated ERS Resources in later Time Periods.  The performance obligations of such ERS Resources begin at the time of the later instruction.  QSEs representing ERS Resources obligated in a new Time Period shall not deploy those ERS Resources unless instructed to do so by ERCOT via a new, separate VDI.

## ERS Resources that were not dispatched in a deployment event because they were not obligated in a Time Period in which a VDI was issued remain obligated to provide ERS.  This applies even if ERS Resources dispatched in other Time Periods have exhausted their obligation for a Contract Period.

## Event performance factors are expressed as a number between 0 and 1.  ERCOT will assign final factors to three decimal points using standard rounding procedures.  For example, a factor of 0.94950 will round to 0.950; a factor of 0.94949 will round to 0.949.

## An ERS Resource that achieves an event performance factor of 0.95 or greater for any event will be deemed to have successfully met its deployment obligations, provided that the Resource meets the deployment requirement specified in item (16.3) above.

## The following applies in the case of a QSE portfolio-level event performance failure.  An ERS Resource that achieves an event performance factor of less than 0.95 will be deemed to have failed to meet its deployment obligation for that ERS deployment event, unless it meets either of the following conditions:

### The ERS Resource is an ERS Load   determined by ERCOT to have met its event performance obligations if measured on a default baseline type other than the baseline type to which it is assigned, and ERCOT determines that the different baseline more accurately represents the ERS Load’s demand response contribution; or

### The ERS Resource’s failure is attributable to its QSE’s failure to communicate a Dispatch Instruction in a timely manner, and ERCOT determines that the ERS Resource met its event performance obligations based on the time the QSE confirms it acted, based on documented communication with the ERCOT Operator.

### Any such determination by ERCOT will not change the QSE’s portfolio-level event performance factor and therefore will not affect payment to the QSE.

## In any ERS Contract Period in which ERCOT has deployed ERS more than once, the event performance factor for the Contract Period shall be the time-weighted average of the event performance factors for all events in the Contract Period.

## An ERS Resource meeting its performance obligations in an ERS deployment event shall not be subject to an ERCOT unannounced test for at least the following 365 days, as described in the Testing section of this document.

# QSE Performance Criteria

Resources other than Weather-Sensitive ERS Loads

## An ERS QSE’s performance will be evaluated based its ERS portfolio’s performance for each of the ERS service type during ERS deployment events and on the overall availability of its portfolio in an ERS Standard Contract Term, based on the criteria in the Protocols, Section, 8.1.3.3.3.

## QSE portfolio-level event performance factors and availability factors are expressed as a number between 0 and 1.  ERCOT will assign final factors to three decimal points using standard rounding procedures.  For example, a factor of 0.94950 will round to 0.950; a factor of 0.94949 will round to 0.949.

Availability

## ERCOT shall calculate a portfolio-level availability factor for each QSE’s ERS portfolio for each Time Period in an ERS Standard Contract Term or Contract Period using the methodologies defined in the Protocols, Section 8.1.3.1.3, Availability Criteria for Emergency Response Service Resources, except that the availability factor for each ERS Time Period will be allowed to exceed 1.0.  ERCOT shall then calculate a single time- and capacity-weighted availability factor for the QSE portfolio for the ERS Contract Period using the methodologies defined in the Protocols, Section 8.1.3.1.3.  ERCOT shall then calculate a single time- and capacity-weighted availability factor for the QSE portfolio for the ERS Standard Contract Term, capped at 1.0.

## For an ERS Standard Contract Term with a single ERS Contract Period, the QSE portfolio-level availability factor for the ERS Standard Contract Term shall be the portfolio-level availability factor for the ERS Contract Period.  For an ERS Standard Contract Term with multiple ERS Contract Periods, ERCOT shall compute a QSE portfolio-level availability factor for the ERS Standard Contract Term by averaging the QSE’s availability factors across ERS Contract Periods and ERS Time Periods, weighted according to time and capacity obligations.

## The QSE’s portfolio-level availability factor for the ERS Standard Contract Term will determine both the availability component of the ERS payment to the QSE and whether the QSE has met its ERS availability requirements.  If the QSE’s portfolio-level availability factor for the ERS Standard Contract Term equals or exceeds 0.95, the QSE shall be deemed to have met its availability requirements for the ERS Standard Contract Term; otherwise, the QSE shall be deemed to have failed to meet this requirement.   If the QSE’s portfolio-level availability factor for either ERS service type for the ERS Standard Contract Term is less than 1.0, the QSE’s ERS capacity payment shall be reduced according to the formulas in the Protocols, Section 6.6.11.1, Emergency Response Service Capacity Payments.

Event Performance

## QSEs representing ERS Resources must meet performance standards specified in the Protocols, Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources, as applied on a portfolio-level basis for each ERS service type.  ERCOT’s calculation of portfolio performance shall weight each ERS Resource according to its committed share of the QSE portfolio capacity measured in MW.  ERCOT shall determine a QSE’s portfolio-level event performance by calculating a QSE portfolio-level event performance factor (ERSEPFqr).  For purposes of evaluating ERS Loads, ERCOT shall establish a baseline representing the portfolio’s estimated Load, or, if applicable, calculated 15-minute interval native load data in the absence of the ERS deployment event.  For purposes of evaluating ERS Generators, ERCOT shall compute portfolio-level injection of energy to the ERCOT System.  Using this data, ERCOT shall calculate an ERSEPFqr for each ERS deployment event based on the methodologies defined in the Protocols, Section 8.1.3.1.4.  ERCOT shall then calculate an (ERSEPFqr) for the ERS Standard Contract Term, capped at 1.0.  For an ERS Standard Contract Term with no ERS deployment events, the (ERSEPFqr) for the ERS Standard Contract Term shall be set to 1.0.

### For an ERS Standard Contract Term with a single ERS deployment event, the (ERSEPFqr) for the ERS Standard Contract Term shall be the (ERSEPFqr) for the event.  For an ERS Standard Contract Term with multiple ERS deployment events, ERCOT shall compute the QSE’s portfolio-level event performance factor for the ERS Standard Contract Term by averaging (ERSEPFqr) for all of the deployment events, weighted according to the duration of the events and capacity obligations by interval.

### The (ERSEPFqr) for an ERS Standard Contract Term will determine both the event performance component of the ERS payment to the QSE and whether the QSE has met its ERS event performance requirements.  If an (ERSEPFqr) for an ERS Standard Contract Term is greater than or equal to 0.95, the QSE will be deemed to have met its event performance requirements for the ERS Standard Contract Term; otherwise, the QSE shall be deemed to have failed to meet this requirement.  If a QSE’s (ERSEPFqr) is less than 1.0 for the Standard Contract Term, the QSE’s ERS capacity payment shall be reduced according to the formulas in the Protocols, Section 6.6.11.1.  For purposes of calculating an (ERSEPFqr), any ERS Resource that was not subject to Dispatch during the event shall be treated as having met its obligation

## Ten-minute Deployment

### Within ten minutes of ERCOT’s issuance of a VDI to deploy ERS-10, a QSE shall ensure that each ERS Resource participating in ERS-10 in its portfolio deploys in accordance with the QSE’s contractual obligations.  ERCOT shall assess each QSE’s compliance with this requirement by calculating a QSE portfolio-level interval performance factor for the first full interval of the Sustained Response Period.  ERCOT shall determine a QSE’s portfolio-level interval performance factor by calculating an obligation-weighted average of the interval performance factors for all of the QSE’s committed ERS Resources for the first full interval of the Sustained Response Period, using the methodologies defined in the Protocols, Section 8.1.3.1.4, except that ERS Resources’ interval performance factors will be allowed to exceed one.

## Thirty-minute Deployment

### Within thirty minutes of ERCOT’s issuance of a VDI to deploy ERS-30, a QSE   shall ensure that each ERS Resource participating in ERS-30 in its portfolio deploys in accordance with the QSE’s contractual obligations.  ERCOT shall assess each QSE’s compliance with this requirement by calculating a QSE portfolio-level interval performance factor for the first full interval of the Sustained Response Period.  ERCOT shall determine a QSE’s portfolio-level interval performance factor by calculating an obligation-weighted average of the interval performance factors for all of the QSE’s committed ERS Resources for the first full interval of the Sustained Response Period, using the methodologies defined in the Protocols, Section 8.1.3.1.4, except that ERS Resources’ interval performance factors will be allowed to exceed one.

Weather-Sensitive ERS Loads

## A QSE’s ERS performance will be evaluated based on the performance of its portfolio of Weather-Sensitive ERS Loads during ERS deployment events in an ERS Standard Contract Term as follows:

### ERCOT shall compute the following quantities at the QSE portfolio level for each interval of a deployment: MW obligation, baseline estimate and actual Demand as the sum of the respective quantities across the ERS Loads, or, if applicable, calculated 15-minute interval native load data in the portfolio with obligations for that interval.  In addition, ERCOT shall compute the QSE’s portfolio-level prorated total obligations as the weighted sum of the obligations of the deployed ERS Loads weighted by the ratio the number of sites participating in the ERS Load during the event to the maximum number of sites projected by the QSE at the time of offer submission and the prorated interval fraction value (IntFrac) for each interval of a deployment as the average respectively of the interval fractions for each of the ERS Loads within its portfolio weighted by the ERS Load’s obligation for that interval multiplied by the ratio of the number of sites participating in the ERS Load during the event to the maximum number of sites projected by the QSE at the time of offer submission.

### ERCOT shall compute the QSE’s portfolio-level event interval performance factor for each interval of a deployment as specified in the Protocols, Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources, using the values computed in paragraph (a) above

### ERCOT shall compute the QSE’s portfolio-level Weather-Sensitive ERS Load event performance factor (ERSEPF) for each test and event as the weighted average of the event interval performance factors calculated in paragraph (b) above, weighted by the prorated obligation and interval fractions (IntFrac) computed in paragraph (a) above.

### ERCOT shall compute the QSE’s portfolio-level Weather-Sensitive ERS Load event performance factor for the ERS Contract Period as the average of the event interval performance factors for all tests and events during the ERS Contract Period calculated in paragraph (b) above weighted by the prorated obligation and interval fractions computed in paragraph (a) above

# Testing

## ERCOT may conduct an unannounced test of any ERS Resource at any time during an ERS Time Period in which the ERS Resource is contracted to provide ERS.  Prior to the beginning of a Standard Contract Term, a QSE may request that one or more of its ERS Resources awarded in ERS-30 be tested as if subject to a ten-minute ramp during that ERS Standard Contract Term.  The duration of a test will not count toward the ERS Resource’s eight hours of maximum deployment time for an ERS Contract Period.

### For Non-Weather-Sensitive ERS Resources, ERCOT shall determine a test performance factor for each test using the methodology defined in the Protocols, Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources.

#### The test performance factors for Non-Weather-Sensitive ERS Resources resulting from those tests will be used in Settlement for that and subsequent ERS Standard Contract Terms as specified in the Protocols, Section 8.1.3.3, Payment Reductions and Suspension of Qualification of Emergency Response Service Resources and/or their Qualified Scheduling Entities.

#### A test shall be deemed to be successful if the ERS Resource achieves both a test performance factor of 0.95 or greater and an EIPF for the full first interval of the test of 0.95 or greater.

#### An ERS Resource that successfully completes a test with a ten-minute ramp shall not be subject to an additional test for at least 365 days regardless of whether the ERS Resource is participating in ERS-10 or ERS-30.

#### An ERS Resource that successfully completes a test with a 30-minute ramp shall not be subject to an additional test for at least 365 days unless the ERS Resource participates in ERS-10 during that period.

#### An ERS Resource participating in ERS-10 that meets its performance obligations during any ERS deployment event shall not be subject to a test for at least the following 365 days.

#### An ERS Resource participating in ERS-30 that meets its performance obligations during any ERS deployment event shall not be subject to a test for at least the following 365 days unless the ERS Resource participates in ERS-10 during that period.

#### Notwithstanding the foregoing, if ERCOT determines that an ERS Generator failed to perform adequately in one or more scheduled self-tests, ERCOT may test that ERS Generator more than once in the following 365-day period.

### For Weather-Sensitive ERS Resources, ERCOT shall conduct unannounced testing of each Weather-Sensitive ERS Load at least once but no more than twice per month of obligation during an ERS Standard Contract Term, unless testing has been superseded by deployment events as described in paragraph (vii) below.

#### The tests will be conducted according to normal ERS testing procedures.

#### At the time of Dispatch during a test, ERCOT will not advise the QSE of the test duration, which may vary from one full 15-minute interval to 12 full 15-minute intervals.

#### ERCOT may conduct a test during any of a Weather-Sensitive ERS Load’s obligated hours.  However, tests will generally be targeted toward periods of peak weather conditions.

#### For a Weather-Sensitive ERS Load assigned to the control group baseline, for each test ERCOT will designate a single group which shall be removed from the test population.

        - The non-tested group will serve as the control group.

        - Selection of the group to serve as the control group for each test will be random, and will cycle through the groups within the ERS Load.

#### ERCOT shall calculate a test performance factor for each test of a Weather-Sensitive ERS Load using the event performance methodology described in the Protocols, Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources.

#### The QSE is responsible for managing group assignments and for deploying only the group(s) dispatched by ERCOT during a test.

#### ERCOT may reduce the number of tests administered by the number of deployment events during the ERS Standard Contract Term.

#### The test performance factors for Weather-Sensitive ERS Resources shall always be set to one for use in Settlement for the ERS Standard Contract Term.

## ERCOT shall conduct an unannounced test of an ERS Resource that has been suspended from participation in ERS pursuant to the Protocols, Section 8.1.3.3.  ERCOT will conduct such a test only after the QSE representing the ERS Resource has communicated to ERCOT a request for reinstatement of the suspended ERS Resource.

## An ERCOT unannounced test of an ERS Generator must demonstrate injection of energy to the ERCOT System.  The use of Load banks is prohibited for ERCOT unannounced tests.

## If an ERS Generator is co-located with an ERS Load as specified in the Protocols, Section 8.1.3.1.2, Performance Evaluation for Emergency Response Service Generators, ERCOT shall test both such ERS Resources simultaneously.

## In order to assist QSEs and ERS Resources in managing environmental compliance, ERCOT shall limit the cumulative duration of Sustained Response Periods of testing of an ERS Resource to a maximum of one hour per ERS Standard Contract Term unless otherwise required to conduct re-testing.

## Notwithstanding paragraph 18.5 above, Weather-Sensitive ERS Resources shall be subject to testing as described in paragraph 18.1 (b) above.

# Payment Reductions & Suspension of ERS Resources and/or their QSE

ERS Resources other than Weather-Sensitive ERS Loads

## If a QSE’s portfolio-level availability factor and event performance factors as calculated in the Protocols, Section 8.1.3.3.3, Performance Criteria for Qualified Scheduling Entities Representing Emergency Response Service Resources Other than Weather-Sensitive ERS Loads, both equal or exceed 0.95, the QSE will be deemed to have met its ERS performance requirements for the ERS Contract Period, and the QSE and its ERS Resources are not subject to suspension.

## If a QSE fails to meet its portfolio-level availability and/or event performance requirements as described in the Protocols, Section 8.1.3.3.3, ERCOT shall take the following actions:

### If a QSE failure is based only on event performance failure and ERS Resources that comprise 95% or more of the QSE’s obligation for each of the events in the ERS Contract Term are deemed to have met their obligations, the QSE shall be deemed to have met its event performance requirements for the ERS Contract Term; otherwise

### ERCOT may suspend the QSE from participation in ERS, and the QSE may be subject to administrative penalties imposed by the Public Utility Commission of Texas (PUCT).  ERCOT may consider mitigating factors such as equipment failures and Force Majeure Events in determining whether to suspend the QSE.

## If a QSE’s portfolio-level availability factor is less than 0.95, ERS Resources in that portfolio shall be subject to the following:

### If an ERS Resource in the QSE’s portfolio achieves an availability factor of 0.85 or greater, the ERS Resource shall not be subject to a reduction of its availability factor;

### If an ERS Resource in the QSE’s portfolio achieves an availability factor of less than 0.85, the ERS Resource’s availability factor shall be squared; and

### If the availability factor for one or more ERS Resources is squared pursuant to paragraph (b) above, ERCOT shall compute the QSE’s final portfolio-level availability factor using that modified availability factor.

## If a QSE’s portfolio-level event performance factor for a deployment event is less than 0.95 or its portfolio-level interval performance factor for the first full interval of the Sustained Response Period is less than 0.95, ERS Resources in that portfolio shall be subject to the following:

### If an ERS Resource in the QSE’s portfolio achieves an event performance factor of 0.95 or greater and an interval performance factor for the first full interval of the Sustained Response Period of 0.95 or greater, the ERS Resource shall not be subject to a reduction of its event performance factor for that event.

### If an ERS Load that is in the QSE’s portfolio and that is not co-located with an ERS Generator, as specified in the Protocols, Section 8.1.3.1.2, Performance Evaluation for Emergency Response Service Generators, achieves an event performance factor of less than 0.95 and an interval performance factor for the first full interval of the Sustained Response Period of 0.95 or greater, the baseline for that ERS Resource shall be multiplied by a reduction factor that results in the final event performance factor being equal to the square of its original event performance factor.

### If an ERS Generator that is in the QSE’s portfolio and that is not co-located with an ERS Load or is evaluated separately from a co-located ERS Load, as specified in the Protocols, Section 8.1.3.1.2, achieves an event performance factor of less than 0.95 and an interval performance factor for the first full interval of the Sustained Response Period of 0.95 or greater, the net energy injected to the ERCOT System for that ERS Resource for each interval of the event shall be multiplied by a reduction factor that results in the final event performance factor being equal to the square of its original event performance factor.

### If an ERS Load and an ERS Generator in a QSE’s portfolio that are co-located and evaluated jointly, as specified in the Protocols, Section 8.1.3.1.2, Performance Evaluation for Emergency Response Service Generators, achieves a combined event performance factor of less than 0.95 and a combined interval performance factor for the first full interval of the Sustained Response Period of 0.95 or greater, the net energy injected to the ERCOT System for the ERS Generator for each interval of the event shall be multiplied by a reduction factor that results in the final combined event performance factor being equal to the square of its original combined event performance factor.  If a reduction factor of zero results in the combined event performance factor being greater than the square of the original combined event performance factor the, net energy injected to the ERCOT System shall be set to zero for all intervals in the event and the baseline for the ERS Load shall be multiplied by a reduction factor that results in the final combined event performance factor being equal to the square of the original combined event performance factor.

### If an ERS Load that is in the QSE’s portfolio and that is not co-located with an ERS Generator or is evaluated separately, as specified in the Protocols, Section 8.1.3.1.2, achieves an event performance factor of 0.95 or greater and an interval performance factor for the first full interval of the Sustained Response Period of less than 0.95, the baseline for that ERS Resource shall be multiplied by a reduction factor that results in the final event performance factor being equal to 0.75 times its original event performance factor.

### If an ERS Generator that is in the QSE’s portfolio and that is not co-located with an ERS Load or is evaluated separately, as specified in the Protocols, Section 8.1.3.1.2, achieves an event performance factor of 0.95 or greater and an interval performance factor for the first full interval of the Sustained Response Period of less than 0.95, the net energy injected to the ERCOT System for that ERS Resource for each interval of the event shall be multiplied by a reduction factor that results in the final event performance factor being equal to 0.75 times its original event performance factor.

### If an ERS Load and an ERS Generator in a QSE’s portfolio that are co-located and are evaluated separately, as specified in the Protocols, Section 8.1.3.1.2, achieves a combined event performance factor of 0.95 or greater and a combined interval performance factor for the first full interval of the Sustained Response Period of less than 0.95, the net energy injected to the ERCOT System for the ERS Generator for each interval of the event shall be multiplied by a reduction factor that results in the final combined event performan1ce factor being equal to 0.75 times its original combined event performance factor.  If a reduction factor of zero results in the combined event performance factor being greater than the square of the original combined event performance factor the net energy injected to the ERCOT System shall be set to zero for all intervals in the event and the baseline for the ERS Load shall be multiplied by a reduction factor that results in the final combined event performance factor being equal to the square of the original combined event performance factor.

### If an ERS Load that is in the QSE’s portfolio and that is not co-located with an ERS Generator, as specified in the Protocols, Section 8.1.3.1.2, achieves an event performance factor of less than 0.95 and an interval performance factor for the first full interval of the Sustained Response Period of less than 0.95, the baseline for that ERS Resource shall be multiplied by a reduction factor that results in the final event performance factor being equal to 0.75 times the square of its original event performance factor.

### If an ERS Generator that is in the QSE’s portfolio and that is not co-located with an ERS Load or is evaluated separately, as specified in the Protocols, Section 8.1.3.1.2, achieves an event performance factor of less than 0.95 and an interval performance factor for the first full interval of the Sustained Response Period of less than 0.95, the net energy injected to the ERCOT System for that ERS Resource for each interval of the event shall be multiplied by a reduction factor that results in the final event performance factor being equal to 0.75 times the square of its original event performance factor.

### If an ERS Load and an ERS Generator in a QSE’s portfolio that are co-located and are evaluated jointly, as specified in the Protocols,  Section 8.1.3.1.2, achieves a combined event performance factor of less than 0.95 and an interval performance factor for the first full interval of the Sustained Response Period of less than 0.95, the net energy injected to the ERCOT System for the ERS Generator for each interval of the event shall be multiplied by a reduction factor that results in the final combined event performance factor being equal to 0.75 times the square of its original combined event performance factor.  If a reduction factor of zero results in the combined event performance factor being greater than 0.75 times the square of the original combined event performance factor the net energy injected to the ERCOT System shall be set to zero for all intervals in the event and the baseline for the ERS Load shall be multiplied by a reduction factor that results in the final combined event performance factor being equal to 0.75 times the square of the original combined event performance factor.

### If the final event performance factor for one or more ERS Resources in a QSE’s portfolio is reduced pursuant to paragraph (b) through (i) above, ERCOT shall re-compute the QSE’s final portfolio-level event performance factor using each ERS Resource’s final event performance factor.

## If an ERS Resource achieves a test performance factor of 0.95 or greater and an interval performance factor of 0.95 or greater for the first full interval of the Sustained Response Period of an unannounced ERCOT test as described in the Protocols, Section 8.1.3.2, Testing of Emergency Response Service Resources, or is not tested during an ERS Standard Contract Term, the ERS test performance factor (ERSTESTPF) shall be set to one for that ERS Standard Contract Term.

## If, at the end of an ERS Standard Contract Term, an ERS Resource has failed only one test within a 365-day period, ERSTESTPF shall be set to one for that ERS Standard Contract Term.

## If an ERS Resource has failed the two most recent unannounced ERCOT tests within a 365-day period as a result of achieving a test performance factor of less than 0.95 and/or an interval performance factor for the first full interval of the Sustained Response Period of less than 0.95 as described the Protocols, Section 8.1.3.1.2, the ERSTESTPF shall be set to the lower of 0.75 or the average of those two test performance factors.  ERSTESTPF shall be used in calculating the payment to the QSE for the ERS Standard Contract Term during which the second failure occurs.  Successful deployment in a subsequent ERS deployment event during that ERS Standard Contract Term shall result in ERSTESTPF being set to one for that ERS Standard Contract Term.

## If a Governmental Authority issues a written determination that an ERS Resource is in violation of any environmental law that would preclude the ERS Resource’s compliance with its ERS availability or deployment obligations, ERCOT shall treat the ERS Resource as having no availability for the remainder of the Standard Contract Term following the Governmental Authority’s determination and shall treat the Resource as having an event performance factor of zero for any deployments in the remaining portion of the ERS Standard Contract Term.  ERCOT shall also suspend the ERS Resource’s participation in ERS until the ERS Resource’s QSE certifies to ERCOT in writing that the violation has been remedied and that the ERS Resource may lawfully participate in ERS.

## If a QSE is suspended pursuant to paragraph (19.2) above, each of the QSE’s ERS Resources whose availability or event performance factors was reduced in accordance with paragraphs (19.3) or (19.4) above also shall be suspended, and each of the sites in those ERS Resources shall also be suspended.  The duration of the suspension for such ERS Resources and sites shall be one ERS Standard Contract Term.  ERCOT shall reject offers for ERS Resources that are suspended or that contain one or more suspended sites.  Notwithstanding the foregoing, ERCOT may choose not to suspend an ERS Resource if it determines that the reduced availability or event performance factor was attributable to the fault of its QSE or to one or more mitigating factors, such as equipment failures and Force Majeure Events.

## The suspension of an ERS Resource or a QSE representing an ERS Resource shall begin on the day following the expiration of the current or most recent ERS obligation.

## ERCOT may reinstate an ERS Resource’s eligibility to offer into ERS upon the ERS Resource’s satisfactory completion of the reinstatement process, including a test conducted by ERCOT, as described in the Protocols, Section 8.1.3.2 and in this document.

Weather-Sensitive ERS Load:

## If the QSE portfolio-level event performance factor for the QSE’s portfolio of Weather-Sensitive ERS Loads for the ERS Contract Period as calculated in the Protocols, Section 8.1.3.3.4, Performance Criteria for Qualified Scheduling Entities Representing Weather-Sensitive Emergency Response Service Load, is greater than or equal to 0.90, ERCOT shall not impose a payment reduction for any of the those ERS Loads.  Otherwise, ERCOT shall compute QSE portfolio-level Demand reduction values for each test and event throughout the ERS Contract Period as the greater of zero or the portfolio-level baseline estimate for each interval less the portfolio-level actual Load for that interval.  The relationship of the Demand reduction values for each ERS Load to actual weather shall be modeled and used to derive a time-period specific Demand reduction value that would be realized under normalized peak weather conditions.  If this normalized peak Demand reduction value summed across all ERS Loads in the portfolio is greater than or equal to 90% of the QSE’s total offered MW capacity in each time period, ERCOT shall not impose a payment reduction for any of the ERS Loads in the portfolio.

## If the provisions of paragraph (19.12) above are not met, ERCOT shall reduce a QSE’s payment for Weather-Sensitive ERS Load as follows:

### If the maximum number of sites in the ERS Load during the ERS Standard Contract Term is less than 80% of the number of sites projected by the QSE at the time of offer submission, as described in the Protocols, Section 3.14.3.1, Emergency Response Service Procurement, the baseline used to evaluate the Weather-Sensitive ERS Load shall be reduced to the level at which the ERSEPF is equal to the square of the ERSEPF determined by using the initial baseline.

### If the normalized peak Demand reduction value per site within the Weather-Sensitive ERS Load is less than 90% of the average Demand reduction value per site, based on the QSE’s offer, and the ERS Load’s ERSEPF is less than 0.90, the baseline used to evaluate the ERS Load for that event shall be reduced to the level at which the ERS Load’s ERSEPF is equal to the square of the ERSEPF determined by using the initial baseline.

### If either paragraph (a) or (b) above require a payment reduction, but not both, and the normalized peak demand reduction for the resource is greater than or equal to 90% of the QSE’s offered MW capacity, no payment reduction for the event shall be imposed.

### If the provisions of both paragraphs (a) and (b) above require the ERSEPF to be squared, the baseline used to evaluate the ERS Load shall be reduced to the level at which the ERSEPF for the ERS Load is equal to the cube of the ERSEPF determined by using the initial baseline.

### If an ERS Load’s obligation is exhausted during an ERS Contract Period, the provisions of paragraphs (a), (b) and (c) above shall not apply.

### If the final event performance factor for one or more ERS Loads in a QSE’s portfolio of Weather-Sensitive ERS Loads is reduced pursuant to paragraphs (a), (b) or (d) above, ERCOT shall re-compute the QSE’s final portfolio-level event performance factor using each ERS Load’s adjusted baselines.

# Prohibition on Other Market Activity

## No part of the contracted capacity of an ERS Resource may be used to provide an Ancillary Service for any hours the ERS Resource is committed in ERS.

## A QSE’s submission of an ERS Offer includes an affirmation that no part of the capacity being offered into ERS is separately obligated to respond during any of the same hours, and receiving a separate reservation payment for such obligation, occurring in the contracted ERS Time Period.   ERCOT shall consider any Site found to be dually committed as having failed to meet its ERS obligations.  ERCOT may treat such a Site as unavailable for all hours in that Standard Contract Term for purposes of calculating the ERS Resource’s availability factor, and may prohibit its participation in the next ERS Contract Period following the discovery.

## An ERS Generator may not register with ERCOT as a Generation Resource at any time that it is committed in ERS.

## These provisions do not prohibit the entity owning or controlling the Site from providing another service if the capacity providing the other service is separately metered and not under ERS contract.

## QSEs are responsible for communicating details relating to Prohibition on Other Market Activity to their current and prospective ERS participants.

# Settlement

ERCOT shall settle each ERS Time Period in an ERS Standard Contract Term or Contract Period pursuant to the Protocols.  Relevant Protocol Sections include, but are not limited to:  Sections 6.6.11.1, ERS Capacity Payments; 6.6.11.2, ERS Capacity Charges; and 9.14.5, Settlement of Emergency Response Service.

Payments

## ERCOT shall post the settlement for each Emergency Response Service (ERS) Time Period in an ERS Standard Contract Term or Contract Period 20 days after the final Settlement of the last Operating Day of the ERS Standard Contract Term is posted, as described in paragraph (1) of the Protocols, Section 9.14.5.  If the 20th day is not a Business Day, ERCOT will post the ERS Settlement on the next Business Day thereafter.  All disputes for the Settlement of the ERS Standard Contract Term are due ten Business Days after the date that the ERS settlement was posted.  ERCOT shall resolve any approved disputes upon resettlement of the ERS Standard Contract Term, as described below.

## ERCOT shall post the resettlement for each ERS Time Period in an ERS Standard Contract Term or Contract Period on the True-Up Settlement for the Operating Day on which the charge was first settled as described in paragraph (21.1) above.  ERS disputes filed based on a change in Load after the True-Up Settlement will be approved only if the QSE’s Load changes by 10% or more.  ERCOT shall resolve any approved ERS disputes no later than 30 Business Days after the date that the ERS resettlement was posted.

## Payments to QSEs representing ERS will be applied in the Settlement Statement and will be calculated using the equations and billing determinants described in the Protocols, Section 6.6.11.1.  The total payment to each QSE will be the sum of the calculations for all of the QSE’s committed ERS Resources by Time Period.

## ERCOT will provide Settlement payment calculation details upon request to QSEs representing ERS.

## If a QSE representing ERS defaults or is suspended from providing ERS prior to Settlement for an ERS Contract Period, ERCOT may make the appropriate ERS payment through the alternative mechanisms set forth in the Protocols.

Cost Allocation (Uplift), Disputes and Resettlement

## ERS costs will be allocated based on the Load Ratio Share (LRS) of each QSE during each ERS Time Period in an ERS Contract Period.  A QSE’s LRS for a Time Period will be the QSE’s total Load for the Time Period divided by the total ERCOT Load in the Time Period.

## ERCOT will make reasonable efforts to notify QSEs of the Settlement schedule for an ERS Standard Contract Term via a Market Notice in advance of the Settlement date.  The date may be provided as a range of possible Settlement dates.

## The first ERS Settlement will use LRS data from the Final Load for each Operating Day in the Standard Contract Term.  ERS will be resettled using LRS data from the True-Up Load for each Operating Day in the Standard Contract Term.

# ERS Self-Provision

## All provisions in this section apply to each Time Period within an ERS Contract Period by ERS service type.

## Self-provision of ERS is open to all QSEs representing Load that are qualified to represent ERS Resources.

## QSEs opting for ERS Self-Provision must submit the ERS Notification of Self-Provision Form by the prescribed deadline identified on the ERS Procurement Schedule.  The Self-Provision Form shall be submitted by email to ERS@ercot.com.

## A QSE self-providing ERS shall follow the same procedures outlined in the Offer Submission section of this document and shall adhere to the published schedule.

## ERCOT will evaluate meter data for self-provided ERS Resources by following the same procedures described in the Offer Submission section of this document.  If ERCOT exercises its authority to reduce the amount of a capacity offer from a self-provided ERS Resource, there is no penalty to the QSE.

## A QSE electing to self-provide part or its entire ERS obligation shall provide ERCOT the following, adhering to the deadline published in the procurement schedule:

### The maximum MW of capacity it is willing to self-provide for each ERS Time Period for each of the four ERS Service types; and,

### A Proxy Load Ratio Share for each ERS Time Period for which an offer is submitted, as defined in the Protocols, Section 3.14.3.2 (1) (b).

## QSEs should prepare and submit ERS Self-Provision offers in generally the same manner as competitive ERS offers, with the exception that self-provided ERS offers will not be priced.  The word “self” should be substituted for a monetary price in the appropriate cells on the ERS Submission Form.  QSEs may submit both ERS Self-Provision offers and competitive offers.  In such cases, both the ERS Self-Provision offers and the competitive offers should be submitted simultaneously on separate sheets within the ERS Submission Form.  All capacity within an ERS Resource must be either competitively offered or self-provided.

## After receiving and reviewing competitive offers and Self-Provision offers, ERCOT will determine ERS awards to QSEs, and may limit the awards so that the total ERS procurement for any Time Period does not exceed any upper limit that ERCOT has set for the Standard Contract Term.

## For all self-providing QSEs, ERCOT will calculate a Self-Provision Capacity Upper Limit (SPCUL), defined as the maximum level of self-provided ERS for which a QSE may receive credit at Settlement.  A proxy version of the SPCUL will be calculated during the procurement phase to afford a self-providing QSE the opportunity to reduce its Self-Provision MW offers to a level that approximates its LRS obligation.  The QSE’s actual SPCUL will be calculated during the Settlement phase to ensure that all self-providing QSEs are credited for the ERS delivered, up to their LRS obligation.

## If a QSE’s Self-Provision offers are subject to reduction based on ERCOT’s calculation of its proxy SPCUL, ERCOT will notify each self-providing QSE’s Authorized Representative, via email, of the QSE’s option to reduce its Self-Provision commitment.  The QSE may reduce any or all of its Self-Provision offers such that its revised total ERS Self-Provision capacity is equal to or greater than its proxy SPCUL.

## The QSE may reduce its ERS Self-Provision commitment by removing one or more ERS Resources from its Self-Provision offers and/or by reducing the MW commitment of one or more ERS Resources.  The QSE shall submit a revised ERS Submission form to ERCOT specifying the revised commitments within two Business Days following ERCOT’s notification to the QSE of its reduced obligation.

## Self-provided ERS Resources are subject to the same metering standards and requirements as described in the Metering & Meter Data section of this document.

## ERS Self-Provision will be credited at Settlement based on the clearing price paid per MW per hour for competitively-procured ERS for a Time Period.  The credit will be based on the lesser of the QSE’s delivered self-provision capacity or the QSE’s SPCUL.

## Self-provided ERS Resources may participate in renewal ERS Contract Periods, which are described in the Contract Periods and Contract Period Renewals section of this document.  QSEs representing self-provided ERS Resources that elect to participate in renewal Contract Periods shall receive credit at settlement for any such participation.  However, the obligation of a Self-Provided ERS Resource in a renewal Contract Period is not subject to adjustment by the QSE through the SPCUL process.

## ERCOT will calculate and apply availability factors and/or event performance factors for each self-provided ERS Resource in the same manner as for a competitively provided ERS Resource.  A self-provided ERS Resource’s availability and event performance factors are based on the ERS Resource’s awarded capacity and are unrelated to the QSE’s final SPCUL or LRS obligation.

## ERCOT may apply any penalties described in the Payment Reduction & Suspension of ERS Resources and/or their QSE section of this document to self-providing QSEs and/or their ERS Resources if ERCOT determines that either the QSE and/or its self-provided ERS Resources failed to meet performance or availability obligations.

## ERCOT will reduce the ERS Cost Cap, as it applies to future procurement of ERS, by the Settlement dollar value of all delivered competitive and self-provided ERS capacity.

# Communications to Market Participants

## ERCOT posts the following documents to the ERCOT Nodal Market Information System (MIS):

| Name of Report/Form | MIS Area |
| --- | --- |
| ERS Award Notification | Certified |
| ERS Preliminary Baseline Review Results | Certified |
| ERS Meter Data Error Report | Certified |
| ERS Pre-populated Resource Identification Forms | Certified |
| ERS Procurement Results | Public |
| ERS QSE-level Payment Details Report | Certified |
| ERS QSE Portfolio Availability Summary | Certified |
| ERS QSE Portfolio Event Performance Summary | Certified |
| ERS Resource Availability Summary | Certified |
| ERS Resource Event Performance Summary | Certified |
| ERS Resource Group Assignments | Certified |
| ERS Resource Submission Form-Approved | Certified |
| ERS Resource Submission Form-Error Reports | Certified |
| ERS Resource Test Results | Certified |
| ERS Split Deployment Methodology | Public |
| ERS Test Portfolio | Certified |
| Annual Report on ERCOT Demand Response | Public |
| Monthly ERCOT Demand Response from ERS | Public |
| Monthly ERCOT Demand Response from Pilot Projects | Public |
| ERS Offer Disclosure | Public |

## At least 24 hours before an ERS Standard Contract Term begins, or within 72 hours after the beginning of a new ERS Contract Period within an ERS Standard Contract Term, ERCOT shall provide each affected TDSP with the information listed below.  TDSPs shall maintain the confidentiality of this information.

### A list of ERS Resources and members of aggregated ERS Resources located in the TDSP’s service area that will be participating in ERS during the upcoming ERS Contract Period.

### The name of the QSE representing each ERS Resource;

### The ERS service type provided by each ERS Resource for each ERS Time Period;

### All applicable Electric Service Identifiers (ESI IDs) associated with each ERS Resource;

### The date(s) of the interconnection agreement(s) for each generator in any ERS Generator.

## Prior to the start of the first ERS Contract Period in an ERS Standard Contract Term, and no later than the end of the third Business Day following the start of any renewal Contract Period, ERCOT shall post on the MIS Public Area the number of MW procured per ERS Time Period, the number and type of ERS Resources selected, and the projected total cost of ERS for that ERS Contract Period.

## ERCOT shall post to the MIS Public Area the following information for each ERS offer 60 days after the first day of the ERS Standard Contract Term:

### The of the QSE submitting the offer;

### For each ERS Time Period, the price and quantity offered, or if the offer is for self-provided ERS, the quantity offered and an indication that the MW will be self-provided; and

### The ERS service type;

http://www.ercot.com/mktrules/nprotocols/current.

Defined for purposes of this document only.

Defined for purposes of this document only.

Protocols Section 6.5.9.4.2.

PUC Subst. Rule §25.507 (b)(2).

Protocols 3.14.3.1 (20).

Protocols Section 8.1.3.1.1 (3)(b).

Exception: a properly scheduled period of unavailability.

Protocols Section 3.14.3.1 (15)(b).

Protocols Section 3.14.3.3 (5)(a).

This may apply to but is not limited to an ERS Load located within a Private Use Network  or any Load independently metered or submetered.

Affidavit is posted to the ERS Web Page.

For example, submeter testing facilities, accuracy requirements for submeters, submeter test prior to installation, and testing of electric submeters. See additionally, http://www.puc.state.tx.us/rules/subrules/electric/index.cfm,for the rule’s complete requirements.

WAN requirements are detailed in Section 7.1 of the Nodal Operating Guides, http://www.ercot.com/mktrules/guides/operating/current.

Protocols Section 8.1.3.1.3.1(1)(b)(i).  The day that the form is received by ERCOT is considered “Day 1” of the five Business Days.

Protocols Section 8.1.3.1.3.1 (2)(b)(i).

Protocols Section 8.1.3.1.3.2(2)(a).

Protocols Section 8.1.3.1.4 (3)(b)(i).

This is approximately 80 days after the end of a Standard Contract Term.

Protocols Section 6.6.11.2.

Protocols Section 9.14.5 (2).

Form is posted to http://www.ercot.com/services/programs/load/ERS/index.html.

See detailed descriptions and equations in Protocol Sections 3.14.3.2, 6.6.11.1 and 6.6.11.2.

Protocols Section 3.14.3.2.

Protocols Section 3.14.3.1 (17).

Protocols Section 3.14.3.4 (4).