# Supplemental Resources

## The intent of this section is to provide QSEs a method to supplement its ERS portfolio-level obligations by submitting Supplemental ERS Resources during an ERS Contract Term.

## ERCOT at its discretion may disallow any Supplemental ERS Resource if it determines that acceptance may cause operational or reliability concerns or is inconsistent with the intent of this section.

## ERCOT at its discretion may limit the number of Supplemental ERS Resources per Contract Period.

Supplemental Resource Process

## The QSE shall notify ERCOT via email to ERS@ercot.com when a Supplemental ERS Resource is to be initiated.  The email notification must include the following information:

### Start and stop dates of the period for the Supplemental ERS Resource;

### A completed ERS Submission Form describing the Supplemental ERS Resource.

## The effective date of the beginning of a Supplemental ERS Resource must begin no earlier than the calendar day following ERCOT’s receipt of the notification.

## Submission of the form designating a Supplemental ERS Resource constitutes a binding commitment for the Resource to provide ERS.  All affirmations on the Identification tab of the ERS Offer Submission Form are applicable to Supplemental ERS Resources.

## The minimum duration for a Supplemental ERS Resource is one calendar day.

## Periods of scheduled unavailability may be submitted for the Supplemental ERS Resource during the time the Resource is in effect; the 2% allowance for unavailability will apply to the Supplemental ERS Resource.

Description of Supplemental ERS Resources

  - A Supplemental ERS Resource may not include Sites that are currently obligated to provide ERS. The Supplemental ERS Resource shall not provide ERS with any capacity that is separately obligated, and receiving a separate reservation payment for such obligation, during the committed hours.

  - If a Supplemental ERS Resource is an ERS Generator, the rules regarding the treatment of co-located ERS Loads and ERS Generators in the Event Performance Measurement & Verification section of this document, shall apply for any tests or events that occur during the period the Supplemental ERS Resource is participating in ERS.

## A Supplemental ERS Resource will be considered pre-qualified if it meets one of the following conditions:

### It is a registered LR that has successfully completed an ERCOT administered Load-shed test within the previous 365 days;

### It is an intact ERS Resource that has successfully completed its reinstatement procedures following a suspension.  Individual Sites within a reinstated aggregated ERS Resource may not be removed from the Supplemental.

### A QSE may elect to pre-qualify an ERS Resource by completing the reinstatement process for that resource.

### It is a prospective ERS Resource that has successfully completed a test administered by its QSE or a third party within the previous 365 days.  Procedures for such a test are detailed in the document entitled “Process For Pre-Qualification Testing Of ERS Resources by Entities other than ERCOT Staff” posted to the ERS Web Page.  The authorized representative of the QSE representing the ERS Resource shall attest that it followed the procedures by completing and submitting the affidavit for “ERS Pre-Qualification Resource Testing” posted to the ERS Web Page.  An ERS Resource that has become pre-qualified through a QSE or third party test may also be subject to an unannounced test by ERCOT while it is participating as a Supplemental ERS Resource.

### It is an aggregated ERS Resource consisting primarily of Sites that have passed unannounced ERCOT tests within the preceding 365, and ERCOT determines that any new or untested Sites in the aggregation are unlikely to materially change the ability of the ERS Resource to meet its performance requirements.

## ERCOT will apply the same “material change” criteria for determining the test status of a Supplemental ERS Resource as it does for an ERS Resource’s annual unannounced test.  If ERCOT determines the ERS Resource is not subject to an unannounced test prior to the participation period, ERCOT reserves the right to conduct a test during the period the Supplemental ERS Resource is participating in ERS.

## ERCOT at its discretion may accept a Supplemental ERS Resource that is not pre-qualified; if accepted, the Supplemental ERS Resource will be deemed to be provisionally qualified.

## A provisionally qualified Supplemental ERS Resource will be required to successfully perform in an ERCOT unannounced test.  If the QSE withdraws the Supplemental ERS Resource before ERCOT is able to administer the test, or if the Supplemental ERS Resource fails to meet its performance requirements in the test or an ERS deployment event, the Supplemental ERS Resource will be disallowed.

Compliance

## A Supplemental ERS Resource is subject to all applicable Protocol requirements and is subject to ERS deployment throughout its participation in ERS.

## For purposes of calculating QSE portfolio-level event performance a Supplemental ERS Resource will be treated as having an obligation of zero and a load reduction that is attributed to the portfolio and is equal to the lesser of the capacities specified on its ERS Submission Form or the load reduction provided during the event.

## For purposes of calculating QSE portfolio-level availability a Supplemental ERS Load will be treated as having an obligation of zero, and a Supplemental ERS Generator will be treated as having an obligation equal to the lowest of the following:

### The capacities specified on its ERS Submission Form;

### The average export provided during all events that occur during the period the Supplemental ERS Resource is participating in ERS ; or,

### If no events have occurred and an ERCOT unannounced test has been administered, the export provided during the test.

## For purposes of settlement, Supplemental ERS Resources will be treated as having obligations of zero for all submitted time-periods.