## Slide 1
Capacity Forecast Report
Suresh Pabbisetty, ERP, CQF, CSQA
Lead Technical Analyst, Credit
CWG / MCWG
April 22, 2015
ERCOT Public

## Slide 2
Capacity Forecast Model
ERCOT Public
ERCOT began posting of the capacity forecast model results commencing February 24th for Operating Day February 23rd.
The report shows:
Hourly forecast MW excess reserves for OD+1 through OD+6, with partial day forecast for OD+7.
For OD-1 through OD-7,
  Hourly MW forecast for the Operating Day generated on the OD-1 relative to that day (eg the most recent capacity forecast for that day)
  Actual MW excess reserves for that hour
  HUBBUSAVG price for the hour
Posted forecast values are P50.

## Slide 3
Capacity Forecast Model
ERCOT Public
Model Run:
  Capacity Forecast Model was run for Operating Days March 3, 2015 through April 8, 2015 with P10, P50, and P90 exceedance confidence intervals.
Definitions:
  Exceedance Confidence Interval, Pxx is xx% confidence that actual excess reserves will exceed modeled excess reserves
  Model Error = Modeled estimated excess reserves - actual excess reserves
  OFFn indicates forecast model run “n” days in advance of Operating Date.
Interpretation:
  Positive model error indicates failure to predict while negative model error indicates false positive.

## Slide 4
Capacity Forecast Model
ERCOT Public
Summary Stats for capacity forecast model estimated excess reserves:

## Slide 5
Capacity Forecast Model
ERCOT Public

## Slide 6
Capacity Forecast Model
ERCOT Public

## Slide 7
Capacity Forecast Model
ERCOT Public

## Slide 8
Capacity Forecast Model
ERCOT Public

## Slide 9
Capacity Forecast Model
ERCOT Public
Summary stats for capacity forecast model error:

## Slide 10
Capacity Forecast Model
ERCOT Public
  As Exceedance Confidence Interval increases,
    false positives increase
    failure to predict (false negatives) decrease,
  Mean model error reduced as model run date gets close to Operating Date (OFF6 to OFF1)
  There do not appear to be discernable weekly patterns
  What is the appropriate confidence interval to use?

## Slide 11
ERCOT Public
Questions
Capacity Forecast Model