| RRGRR Number | 007 | RRGRR Title | Adding Solar Resource Registration Inputs |
| --- | --- | --- | --- |
| Date Posted |  | April 24, 2015 |  |
| Requested Resolution |  | Normal |  |
| Resource Registration Glossary Sections Requiring Revision |  | Section 2, Resource Registration Glossary |  |
| Other Binding Documents Requiring Revision, or Related Revision Requests |  | NPRR588, Clarifications for PV Generation Resources NPRR615, PVGR Forecasting |  |
| Revision Description |  | This Resource Registration Glossary Revision Request (RRGRR) aligns the Resource Registration Glossary with the Protocols as revised by Nodal Protocol Revision Request (NPRR) 588, Clarifications for PV Generation Resources, which was approved by the ERCOT Board on 06/10/2014. It also aligns with NPRR 615, PVGR Forecasting, which was approved by the ERCOT Board on 08/12/2014. This RRGRR creates new fields to receive information pertinent to Photo Voltaic Generation Resources (PVGR). These values are integral to establishing the new Short-Term PhotoVoltaic Power Forecast (STPPF) outlined in NPRR 615. In addition, this RRGRR is in alignment with the creation of a definition of PhotoVoltaic Generation Resource (PVGR), and the clarification of the treatment of such Resources within the Protocols (NPRR 588). |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - NPRR 615 required ERCOT to create Solar Forecasting for PVGRs. This RRGRR will create a placeholder in the RARF for Solar Resources to submit parameters that are necessary to create an accurate Solar Forecast. |
| Quantitative Benefits |  |
| Impact to Market Segments |  |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Bill Blevins / Sandip Sharma |
| E-mail Address | Bill.Blevins@ercot.com / Sandip.Sharma@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6691 / 512-248-4298 |
| Cell Number | 512-912-6314 / 817-371-7773 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |
| Comments |  |

The proposed changes to Section 2, Resource Registration Glossary, are included in the spreadsheet 007RRGRR-02 Adding Solar Resource Registration Inputs 042415.

Proposed Guide Language Revision

# 2	Resource Registration Glossary

See electronic Microsoft Office Excel© file on the ERCOT website posted with the Resource Registration Glossary.