- Section 4:

NOGRR135 – Constraint Management During Energy Emergency Alerts

This Nodal Operating Guide Revision Request (NOGRR) seeks to improve management of congestion during an Energy Emergency Alert (EEA) by providing: Language that provides a mechanism for ERCOT Operations to manage constraints in EEA 2 or 3 to higher Facility ratings when applicable for those constraints identified as limiting generation output; and language that reconsiders use of double-circuit contingencies during emergency operations based on Grid conditions.

Revised Subsections:  4.2.2, 4.2.3, 4.5.2, 4.5.3, 4.5.3.1

- Section 9:

NOGRR138 – Delete Grey Box for Reporting of Back-up Control Plan Submittal

This Nodal Operating Guide Revision Request (NOGRR) requires ERCOT post its Geomagnetic Disturbance (GMD) to the Market Information System (MIS) Certified Area for Transmission Operators (TOs), rather than the MIS Public Area.

Revised Subsection:  9.3.6 [effective upon system implementation of NPRR657, Discontinue Backup Control Plan Submittal Results, Dispatch Instructions Compliance Metrics, and Backup Control Plan Test Dates and Results Summary Reports]