# ERCOT STEADY STATE WORKING GROUP (SSWG)

## May 7, 2015 Report to ROS

### SSWG had a web-ex meeting on Wednesday, April 29, 2015.

### 16 DSA & DSB case updates

- ERCOT has sent pass 3 of the cases for SSWG review of the 2016 DSA & DSB cases. Final load changes are due May 8, 2015. ERCOT will create the UPLAN dispatch for the cases for pass 4. This is the first time all DSA and DSB cases will be created at the same time.

### TPL-001-4 Transmission System Planning Performance Requirements

- SSWG started developing a methodology for defining contingencies at the April 1 & 2 meeting. Work will continue on the methodology toward the end of the case building process.

### Future Meetings

- SSWG web-ex meeting will be held on Wednesday May 20, 2015.

- SSWG case building meeting will be held June 2-4, 2015 with a business meeting June 3.

Doug Evans	Dandy Hunt

2015 SSWG Chair	2015 SSWG Vice-Chair