## Slide 1: Congestion Management Working Group: Update to WMS
Mark Soutter
May 6th, 2015

## Slide 2: CMWG meeting of April 23rd
Load Zone Assignment Methodology
Panhandle Export Limit
Notice of GTLs Related to New Generation Interconnection
Vice-Chair position

## Slide 3: Load Zone Assignment Methodology
CMWG framed the issues between two possible extremes – one Load Zone or Nodal Load zones
Small tweaks around the edges were not seen to have value
Concerns were raised that the timing would present problems
  Three year durations would make the topology up to 6 years old at the end of the cycle
  This becomes even more problematic with more granular zones
Existing process assigns new busses on the boundaries between zones based on LMP

## Slide 4: Panhandle Export Limit
Bill Blevins from ERCOT Operations gave a presentation about operational considerations for managing the constraint
  Once wind capacity exceeds 2700 MW ERCOT will issue a notice and post the study
  ERCOT is looking to add a tool to analyze Short Circuit Ratio in Real-time and Day-ahead
Questions were raised whether is was possible to manage the constraint with an SPS
Planning studies are underway to define the interface with results expected in the summer
  What is the most limiting contingency?

## Slide 5: Notice of GTLs Related to New Generation Interconnection
ERCOT is preparing Draft PGRR/NOGRR to allow access to Interconnection Studies
Lack of public access to Stability Study causes issues where Stability Limits are known asymmetrically by the Interconnecting Entity
ERCOT to will be looking at when they can alert the market about future stability limits

## Slide 6: CMWG Vice Chair
The Vice Chair position is open.
Any volunteers?

## Slide 7: Next CMWG meeting
TBD
Will include results of Long Term Auction Sequences