## Communication Plan
Change in DG Registration Threshold Communication Plan
(5/4/2015 CSWG Special Meeting)
Meeting Notes:
Objective: Create a communication plan for those willing and able to register their DG as required, as opposed to addressing enforcement
Ted Hailu will verify that CBCI cannot be used to gather DG Facility Owner contact information
Comment: The DG Resource webpage needs to be improved; CSWG will review it at their May 26th meeting
ERCOT staff will talk to Legal about what happens if a DG owner does not register as required
Ted Hailu to provide a straw man of the communication that will be sent to the DG Facility Owner to the CSWG at their May 26th meeting
ERCOT: Post new (reduced) DG Registration Threshold/Requirement on the MIS
ERCOT: Meet with appropriate TAC Subcommittees to announce new (reduced) DG Registration Threshold/Requirement
ERCOT: Work with TDSPs to obtain information needed to contact the DG Facility Owners (This will be a direct/person to person communication)
Trigger: Unregistered DG reaches 10 MW in any one Load Zone
ERCOT: Issue Market Notice announcing new (reduced) DG Registration Threshold/Requirement; The implementation date will be 9 months after the date of the Market Notice (Includes an email to authorized representatives of all distribution companies)
ERCOT: Contact NOIEs and TDSPs of specific DG Facilities impacted by the new (reduced) DG Registration Threshold/Requirement
ERCOT: Determine new (reduced) DG Registration Threshold to a level such that no one Load Zone exceeds 7 MW of Unregistered DG
ERCOT: Send Notice to the impacted LSEs' Authorized Representative and offer a list of impacted ESI IDs upon request (Just a heads up in case they are contacted by the customer)
ERCOT: Contact impacted DG Facility Owners; Provide a notice, including 'Who is ERCOT' and step by step instructions on how to become an ERCOT Market Participant and how to register their DG Resource (Also provide, as a reference, information about the ERCOT Website and the DG Resource Webpage

## DG Reg Thresh
Distributed Generation (DG) Registration Threshold
<= 10 MW Distributed Generation; Generation Facility located at a Customer's Point of Delivery and connected at less than 60 kV
0 kW
50 kW
1000 kW
10 MW
> 1 MW Registered DG with ERCOT, ERCOT Market Participant
> 50 kW and <= 1 MW ERCOT and NOIE's tracked and reported on quarterly
700 kW
> 700 kW IDR Meter Required; Read Monthly; Typically settled in Finals
<= 700 kW AMS (or Scalar Meter); Read Daily; Typically settled in Initials
<= 1 MW Unregistered; Interconnect agreement with TDSP
1 MW DG Registration Threshold (Unless DG facility does not export to the grid from a Settlements perspective)

## DG Reg Threshold Trigger
Distributed Generation (DG) Registration Threshold Trigger
Protocol Section 16.5, Registration of a Resource Entity, Paragraph (5):
If the total installed capacity of unregistered DG greater than 50 kW exceeds ten MW in any Load Zone, then ERCOT shall issue a Market Notice that states a lower DG registration threshold. Such registration threshold shall be calculated by ERCOT to reduce the total installed capacity of unregistered DG greater than 50 kW to no more than seven MW in any Load Zone. This new DG registration threshold shall become effective nine months after ERCOT has issued the Market Notice and posted the new requirement on the MIS Public Area. Notwithstanding the above, at no time shall ERCOT reduce the DG registration threshold below 50 kW.

## New DG Reg Threshold
New Distributed Generation (DG) Registration Threshold
<= 10 MW Distributed Generation; Generation Facility located at a Customer's Point of Delivery and connected at less than 60 kV
0 kW
50 kW
10 MW
> 1 MW Registered DG, ERCOT Market Participant; Non-modeled RARF
> 50 kW and <= 1 MW ERCOT and NOIE's tracked and reported on quarterly
700 kW
> 700 kW IDR Meter Required; Read Monthly; Typically settled in Finals; TDSPs use for 4CP Billing Threshold
<= 700 kW AMS (or Scalar Meter); Read Daily; Typically settled in Initials
<= 1 MW Unregistered DG; Interconnect agreement with TDSP
300 kW
> 300 kW New DG Registration if set today so that there was less than 7 MW aggregate DG in any one Load Zone (Currently estimated that 10 to 12 Facilities would be impacted)

## Chart Data
Aggregate MW
Load Zone | Q4 2010 | Q1 2011 | Q2 2011 | Q3 2011 | Q4 2011 | Q1 2012 | Q2 2012 | Q3 2012 | Q4 2012 | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014
LZ_AEN | 0.51 | 0.51 | 0.51044 | 0.51044 | 0.51044 | 0.88184 |  |  |  | 0.149 | 0.149 | 0.149 | 0.149 | 2.222 | 3.0459 | 3.15 | 4.29
LZ_CPS | 0.225 |  | 0.225 | 0.225 | 0.225 | 0.225 | 0.226 | 0.226 | 0.226 | 0.226 | 0.226 | 0.226 | 0.226 | 0.226 | 0.226 | 0.226 | 0.226
LZ_HOUSTON |  |  |  | 0.0525 | 0.4504 | 0.4504 | 0.3979 | 0.3979 | 0.3979 | 0.48047 | 0.53297 | 0.63389 | 0.70589 | 0.86879 | 0.73089 | 0.73089 | 0.86879
LZ_NORTH | 0.1 | 1.3919 | 2.793 | 3.005 | 4.0094 | 4.5301 | 3.8314 | 4.816 | 5.0227 | 5.0763 | 5.1763 | 5.3978 | 6.1332 | 6.2182 | 6.2566 | 6.7254 | 7.1174
LZ_SOUTH | 0.5 | 0.40444 | 0.85338 | 1.2655 | 1.3938 | 1.6687 | 1.564 | 1.8667 | 2.37 | 2.37 | 2.488 | 2.1953 | 2.0867 | 2.334 | 2.334 | 2.334 | 2.574
LZ_WEST | 0.075 | 0.075 | 0.20848 | 0.20848 | 0.39538 | 0.39538 | 0.39538 | 0.57034 | 0.64534 | 0.57034 | 0.78034 | 0.70534 | 0.70534 | 0.78534 | 0.94234 | 0.94234 | 0.94234
kWh exported to the grid during the prior 12 months
Load Zone | Q4 2010 | Q1 2011 | Q2 2011 | Q3 2011 | Q4 2011 | Q1 2012 | Q2 2012 | Q3 2012 | Q4 2012 | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014
LZ_AEN | 444402 | 487571 | 472839 | 0 | 0 | 0 |  |  |  | 318360 | 183500 | 127600 | 73700 | 309820 | 689267 | 853834 | 893545
LZ_CPS | 31280 |  | 13920 | 11902 | 10428 | 10709 | 11003 | 10426 | 10794 | 12568 | 17569 | 19500 | 20316 | 20316 | 15897 | 14148 | 13889
LZ_HOUSTON |  |  |  |  | 7 | 7 | 17 | 500 | 1791 | 12781 | 56274 | 92252 | 133519 | 180878 | 213934 | 240394 | 308734
LZ_NORTH | 36573 | 38325 | 134091 | 284152 | 447845 | 642385 | 921917 | 1078297 | 1232271 | 1476227 | 1746240 | 1819576 | 1805475 | 1811136 | 1819516 | 1866841 | 1964749
LZ_SOUTH | 2409 | 20375 | 50807 | 83324 | 128050 | 217902 | 417365 | 625915 | 801902 | 958799 | 1069307 | 916037 | 395789 | 478820 | 645470 | 826536 | 909141
LZ_WEST | 34089 | 34089 | 34089 | 48962 | 52952 | 79692 | 117818 | 69201 | 106599 | 131316 | 198252 | 228736 | 242181 | 279465 | 313396 | 384914 | 490281
Exported to the grid during the prior 12 months (MW)
Load Zone | Q4 2010 | Q1 2011 | Q2 2011 | Q3 2011 | Q4 2011 | Q1 2012 | Q2 2012 | Q3 2012 | Q4 2012 | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014
LZ_AEN | 444.402 | 487.571 | 472.839 | 0 | 0 | 0 | 0 | 0 | 0 | 318.36 | 183.5 | 127.6 | 73.7 | 309.82 | 689.267 | 853.834 | 893.545
LZ_CPS | 31.28 | 0 | 13.92 | 11.902 | 10.428 | 10.709 | 11.003 | 10.426 | 10.794 | 12.568 | 17.569 | 19.5 | 20.316 | 20.316 | 15.897 | 14.148 | 13.889
LZ_HOUSTON | 0 | 0 | 0 | 0 | 0.007 | 0.007 | 0.017 | 0.5 | 1.791 | 12.781 | 56.274 | 92.252 | 133.519 | 180.878 | 213.934 | 240.394 | 308.734
LZ_NORTH | 36.573 | 38.325 | 134.091 | 284.152 | 447.845 | 642.385 | 921.917 | 1078.297 | 1232.271 | 1476.227 | 1746.24 | 1819.576 | 1805.475 | 1811.136 | 1819.516 | 1866.841 | 1964.749
LZ_SOUTH | 2.409 | 20.375 | 50.807 | 83.324 | 128.05 | 217.902 | 417.365 | 625.915 | 801.902 | 958.799 | 1069.307 | 916.037 | 395.789 | 478.82 | 645.47 | 826.536 | 909.141
LZ_WEST | 34.089 | 34.089 | 34.089 | 48.962 | 52.952 | 79.692 | 117.818 | 69.201 | 106.599 | 131.316 | 198.252 | 228.736 | 242.181 | 279.465 | 313.396 | 384.914 | 490.281