| NPRR Number | 684 | NPRR Title | Remove Annual RUC Impact Report Requirement |
| --- | --- | --- | --- |
| Date |  | May 5, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | Resmi Surendran / David Thompson |  |
| E-mail Address |  | Resmi.Surendran@ercot.com / David.Thompson@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3033 / 512-248-4519 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable. |  |

Comments

ERCOT agrees with the intent of Luminant’s 4/9/15 comments, but respectfully proposes the language changes below to distill their proposed list of reporting items down to the most relevant items to evaluate the market impacts of Reliability Unit Commitment (RUC) activity.

ERCOT also proposes the cover page language changes below to reflect the modified purpose of this NPRR – to clarify RUC reporting requirements rather than removing them.

| Revised Cover Page Language |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| NPRR Number |  | 684 | NPRR Title | Annual RUC Impact Report Requirements |  |
| Nodal Protocol Sections Requiring Revision |  |  | 5.8, Annual RUC Reporting Requirement (new) 6.4.4.1, Energy Offer Curve for RUC-Committed Resources |  |  |
| Revision Description |  |  | This Nodal Protocol Revision Request (NPRR) clarifies the requirement for ERCOT to report to the Technical Advisory Committee (TAC) every January on the market impacts of Reliability Unit Commitment (RUC). |  |  |
| Reason for Revision |  |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: |  |  |
| Business Case |  |  |  |  |  |
| Qualitative Benefits | - Provides a more detailed view into the market impacts of RUC activities. |  |  |  |  |
| Quantitative Benefits | - None. |  |  |  |  |
| Impact to Market Segments | - None. |  |  |  |  |
| Credit Implications | - None. |  |  |  |  |
| Other |  |  |  |  |  |

Revised Proposed Protocol Language

5.8	Annual RUC Reporting Requirement

(1)

ERCOT shall report to the Technical Advisory Committee (TAC), each January, an assessment of market impacts and Settlements for the aggregate Reliability Unit Commitment (RUC) activity, delineated by type of RUC instruction as follows:

(a) 	RUC instructions issued for Ancillary Service shortages (failure to sufficiently procure one or more Ancillary Service markets in the Day-Ahead Market (DAM) or subsequent Supplemental Ancillary Service Markets (SASMs));

(b)	RUC instructions issued for irresolvable transmission system constraints;

(c) 	RUC instructions issued in anticipation of extreme cold weather/startup failures;

(d)	RUC instructions issued for capacity; and

(e)	RUC instructions issued for system inertia.

6.4.4.1	Energy Offer Curve for RUC-Committed Resources

(1)	Prior to the end of the Adjustment Period for an Operating Hour during which a Generation Resource has been committed by ERCOT as part of a Reliability Unit Commitment (RUC) process, the QSE shall ensure that an Energy Offer Curve that prices all energy from LSL to HSL at or above $1,500 per MWh for the Operating Hours in the RUC commitment period, has been submitted and accepted by ERCOT.

(2)	If the QSE receives a RUC Dispatch Instruction from ERCOT for its Generation Resource during the Operating Period that includes a RUC-Committed Hour, then the QSE shall be exempt from the submission timeline requirement specified in paragraph (1) above for the RUC-Committed Hours during the Operating Period.  The QSE shall submit the required Energy Offer Curve as soon as reasonably practicable after receipt of the RUC Dispatch Instruction for the RUC-Committed Hours in the Adjustment Period.

(3)	The requirement in paragraph (1) above is not applicable for Weekly Reliability Unit Commitment (WRUC)-instructed hours during which the Resource was Day-Ahead Market (DAM)-committed or QSE self-committed.