## Slide 1: Solar RFP Update
Nick Steffan, ERCOT

## Slide 2: Solar RFP Quick Facts
Four vendors chosen to participate
  AWS Truepower, WEPROG, MDA International and DNVGL
Currently mid-way through phase 1 of the RFP.

## Slide 3: MAEP for Each Solar Vendor
Chart: 
| Day Ahead | Short Term Composite
A | 0.12871 | 0.12845
B | 0.10641 | 0.077449
C | 0.11711 | 0.1111
D | 0.18502 | 0.10643
Tested from 3/9/15 to 3/30/15

## Slide 4: Summary Chart
 | A | B | C | D
Day Ahead Rank | 3 | 1 | 2 | 4
Short Term Rank | 4 | 1 | 3 | 2
Percent Over First Place – Day Ahead | 20.96% | -- | 10.06% | 73.88%
Percent Over First Place – Short Term | 63.10% | -- | 43.00% | 37.77%

## Slide 5: Questions?