Board Report


	NPRR Number
	672
	NPRR Title
	Clarification of EMR and ONEMR Status

	Timeline
	Normal
	Action
	Approved

	Date of Decision
	April 14, 2015

	Effective Date
	June 1, 2015

	Priority and Rank Assigned
	Not applicable. 

	Nodal Protocol Sections Requiring Revision
	3.9.1, Current Operating Plan (COP) Criteria

	Other Binding Documents Requiring Revision or Related Revision Requests
	None.

	Revision Description
	This Nodal Protocol Revision Request (NPRR) clarifies the conditions whereby a Resource may utilize the ONEMR or EMR Current Operating Plan (COP) status.

The ONEMR and EMR statuses restrict the systems from sending Reliability Unit Commitment (RUC) or Security-Constrained Economic Dispatch (SCED) instructions to Resources.  This NPRR clarifies conditions that allow either of these status values to be used.  Currently there is no such language in the Protocols or Guides.

	Reason for Revision
	[image: image1.wmf]

X

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

  Market efficiencies or enhancements

[image: image4.wmf]

X

  Administrative

[image: image5.wmf]

  Regulatory requirements

[image: image6.wmf]

  Other:  (explain)

(please select all that apply)

	Credit Work Group Review
	ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR672 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

	Procedural History
	· On 11/25/14, NPRR672 was posted.

· On 12/3/14, Independent Market Monitor (IMM) comments were posted.

· On 12/5/14, Calpine comments were posted.

· On 12/9/14, Raiden comments were posted.  

· On 12/11/14, PRS considered NPRR672.

· On 1/6/15, a second set of Calpine comments were posted.

· On 1/8/15, WMS comments were posted.

· On 1/15/15, PRS again considered NPRR672. 

· On 1/27/15, Morgan Stanley comments were posted. 

· On 2/5/15, a second set of WMS comments were posted. 

· On 2/12/15, PRS again considered NPRR672. 

· On 2/25/15, an Impact Analysis was posted.

· On 3/12/15, PRS considered the 2/12/15 PRS Report and Impact Analysis for NPRR672.

· On 3/26/15, TAC considered NPRR672.

· On 4/14/15, the ERCOT Board considered NPRR672.

	PRS Decision 
	On 12/11/14, PRS voted to table NPRR672 for one month. There was one abstention from the Independent Power Marketer (IPM) Market Segment.  All Market Segments were present for the vote.  

On 1/15/15, PRS unanimously voted to table NPRR672. All Market Segments were present for the vote. 
On 2/12/15, PRS voted to recommend approval of NPRR672 as amended by the 2/5/15 WMS comments. There were two abstentions from the Investor Owned Utility (IOU) Market Segment and one from the Independent Retail Electric Provider (IREP) Market Segment.  All Market Segments were present for the vote.

On 3/12/15, PRS voted to endorse and forward to TAC the 2/12/15 PRS Report and the Impact Analysis for NPRR6672.  There were two abstentions from the IREP and IOU Market Segments.  All Market Segments were present for the vote.

	Summary of PRS Discussion
	On 12/11/14, participants debated appropriate uses of EMR and ONEMR statuses; that there were difficulties in developing a complete list of unit issues associated with EMR status; but that more specifics should be included in the ERCOT Business Practice  “Current Operating Plan Practices by Qualified Scheduling” as stated in the 12/3/14 IMM comments; that the adjustment of High Sustainable Limits (HSLs) and Low Sustainable Limits (LSLs) could be used in lieu of ONEMR; and that NPRR672 should be tabled for further discussions with the IMM.
On 1/15/15, participants acknowledged the 1/6/15 Calpine comments to NPRR672 and the need for further development of the concept.
On 2/12/15, participants discussed the 2/5/15 WMS comments for NPRR672.

On 3/12/15, participants discussed whether or not the proposed language changes to NPRR672 help clarify when EMR status is to be used.

	TAC Decision
	On 3/26/15, TAC voted to recommend approval of NPRR672 as recommended by PRS in the 3/12/15 PRS Report with an effective date of 6/1/15.  There were two abstentions from the IREP and IOU Market Segments.  All Market Segments were present for the vote.  

	Summary of TAC Discussion
	On 3/26/15, participants discussed whether or not the proposed language changes to NPRR672 help clarify when EMR status can be used.  Participants also discussed changing the effective date from 5/1/15 to 6/1/15 to more accurately reflect the planning needs at the end of a seasonal mothball period.

	ERCOT Opinion
	ERCOT supports approval of NPRR672 as it clarifies the use of both the EMR and ONEMR Resource Statuses.

	Board Decision
	On 4/14/15 the ERCOT Board approved NPRR672 as recommended by TAC in the 3/26/15 TAC Report.


	Business Case

	Qualitative Benefits
	Ensures Resources using this status have a legitimate reason to avoid RUC deployments and SCED Base Point changes.

	Quantitative Benefits
	Could increase Resource availability to the RUC and SCED systems reducing uplift and/or market clearing prices.

	Impact to Market Segments
	Resources that use the ONEMR or EMR status will be required to confirm conditions allowing that usage.

	Credit Implications
	No, NPRR is administrative.    

	Other
	


	Sponsor

	Name
	Clayton Greer

	E-mail Address
	Clayton.greer@ms.com 

	Company
	Morgan Stanley Capital Group Inc.

	Phone Number
	512-497-2986

	Cell Number
	

	Market Segment
	IPM


	Market Rules Staff Contact

	Name
	Lindsay Butterfield

	E-Mail Address
	Lindsay.Butterfield@ercot.com

	Phone Number
	512-248-6521


	Comments Received

	Comment Author
	Comment Summary

	IMM 120314
	Requested ERCOT revise the “Current Operating Plan Practices by Qualified Scheduling Entities” Business Practice Document upon adoption of NPRR672 to include examples of acceptable uses of EMR status.

	Calpine 120514
	Opposed NPRR672 due to absence of information indicating that existing rule has led to chronic physical withholding or that NPRR672 is needed in order to avert some form of market failure.

	Raiden 120914
	Supported the need for EMR and ONEMR Resource Status classifications with a precise definition of when these classifications could be used.

	Calpine 010615
	Recommended edits to NPRR672 to make clear the intent is to clarify the use of both the EMR and ONEMR Resource Statuses.

	WMS 010815
	Requested to table NPRR672. 

	Morgan Stanley 012715
	Added language to protect hydro units with operational limits due to legal obligations on water flow.

	WMS 020515
	Endorsed NPRR672 as amended by the 1/27/15 Morgan Stanley comments and revised by WMS.


	Comments


Please also note that the following NPRR also proposes revisions to the following Sections:

· NPRR667, Ancillary Services Redesign

· Section 3.9.1
· NPRR686, Changing the IRR Forecast from Next 48 Hours to Next 168 Hours
· Section 3.9.1
	Proposed Protocol Language Revision


3.9.1

Current Operating Plan (COP) Criteria

(1)
Each QSE that represents a Resource must submit a COP to ERCOT that reflects expected operating conditions for each Resource for each hour in the next seven Operating Days.

(2)
Each QSE that represents a Resource shall update its COP reflecting changes in availability of any Resource as soon as reasonably practicable, but in no event later than 60 minutes after the event that caused the change. 

(3)
The Resource capacity in a QSE’s COP must be sufficient to supply the Ancillary Service Supply Responsibility of that QSE. 

(4)
Load Resource COP values may be adjusted to reflect Distribution Losses in accordance with Section 8.1.1.2, General Capacity Testing Requirements.

(5)
A COP must include the following for each Resource represented by the QSE:

(a)
The name of the Resource;

(b)
The expected Resource Status:

(i)
Select one of the following for Generation Resources synchronized to the ERCOT System that best describes the Resource’s status.  These Resource Statuses are to be used for COP and/or Real-Time telemetry purposes, as appropriate.

(A)
ONRUC – On-Line and the hour is a RUC-Committed Hour;

(B)
ONREG – On-Line Resource with Energy Offer Curve providing Regulation Service;

(C)
ON – On-Line Resource with Energy Offer Curve or Off-Line Quick Start Generation Resource (QSGR) available for Security-Constrained Economic Dispatch (SCED) Dispatch;

	[NPRR272: Replace paragraph (5)(b)(i)(C) above with the following upon system implementation:]
(C)
ON – On-Line Resource with Energy Offer Curve; 


(D)
ONDSR – On-Line Dynamically Scheduled Resource (DSR);

(E)
ONOS – On-Line Resource with Output Schedule;

(F)
ONOSREG – On-Line Resource with Output Schedule providing Regulation Service;

(G)
ONDSRREG – On-Line DSR providing Regulation Service;

(H)
ONTEST – On-Line blocked from SCED for operations testing (while ONTEST, a Generation Resource may be shown on Outage in the Outage Scheduler);

(I)
ONEMR – On-Line EMR (available for commitment or dispatch only for ERCOT-declared Emergency Conditions; the QSE may appropriately set LSL and High Sustained Limit (HSL) to reflect operating limits);

(J)
ONRR – On-Line as a synchronous condenser (hydro) providing Responsive Reserve (RRS) but unavailable for Dispatch by SCED and available for commitment by RUC;

(K)
ONOPTOUT – On-Line and the hour is a RUC Buy-Back Hour; 

(L)
SHUTDOWN – The Resource is On-Line and in a shutdown sequence, and has no Ancillary Service Obligations other than Off-Line Non-Spinning Reserve (Non-Spin) which the Resource will provide following the shutdown.  This Resource Status is only to be used for Real-Time telemetry purposes; and

(M)
STARTUP – The Resource is On-Line and in a start-up sequence and has no Ancillary Service Obligations.  This Resource Status is only to be used for Real-Time telemetry purposes.

	[NPRR272: Insert paragraph (5)(b)(i)(N) upon system implementation:]
(N)
OFFQS – Off-Line but available for SCED deployment.  Only qualified QSGRs may utilize this status.  


(ii)
Select one of the following for Off-Line Generation Resources not synchronized to the ERCOT System that best describes the Resource’s status.  These Resource Statuses are to be used for COP and/or Real-Time telemetry purposes, as appropriate.

(A)
OUT – Off-Line and unavailable;

(B)
OFFNS – Off-Line but reserved for Non-Spin;

(C)
OFF – Off-Line but available for commitment in the Day-Ahead Market (DAM) and RUC; and

(D)
EMR – Available for commitment only for ERCOT-declared Emergency Condition events; the QSE may appropriately set LSL and HSL to reflect operating limits; and

(iii)
Select one of the following for Load Resources.  These Resource Statuses are to be used for COP and/or Real-Time telemetry purposes.

(A)
ONRGL – Available for Dispatch of Regulation Service by Load Frequency Control (LFC) and, for any remaining Dispatchable capacity, by SCED with an Real-Time Market (RTM) Energy Bid; 

(B)
ONCLR – Available for Dispatch as a Controllable Load Resource by SCED with an RTM Energy Bid;

(C)
ONRL – Available for Dispatch of RRS Service, excluding Controllable Load Resources; and

(D)
OUTL – Not available;

(c)
The HSL;

(d)
The LSL;

(e)
The High Emergency Limit (HEL);

(f)
The Low Emergency Limit (LEL); and

(g)
Ancillary Service Resource Responsibility capacity in MW for:

(i)
Regulation Up (Reg-Up);

(ii)
Regulation Down (Reg-Down);

(iii)
RRS Service; and

(iv)
Non-Spin. 

(6)
For Combined Cycle Generation Resources, the above items are required for each operating configuration.  In each hour only one Combined Cycle Generation Resource in a Combined Cycle Train may be assigned one of the On-Line Resource Status codes described above.

(a)
During a RUC study period, if a QSE’s COP reports multiple Combined Cycle Generation Resources in a Combined Cycle Train to be On-Line for any hour, then until the QSE corrects its COP, the On-Line Combined Cycle Generation Resource with the largest HSL is considered to be On-Line and all other Combined Cycle Generation Resources in the Combined Cycle Train are considered to be Off-Line.  Furthermore, until the QSE corrects its COP, the Off-Line Combined Cycle Generation Resources as designated through the application of this process are ineligible for RUC commitment or de-commitment Dispatch Instructions.

(b)
For any hour in which QSE-submitted COP entries are used to determine the initial state of a Combined Cycle Generation Resource for a DAM or Day-Ahead Reliability Unit Commitment (DRUC) study and the COP shows multiple Combined-Cycle Generation Resources in a Combined Cycle Train to be in an On-line Resource Status, then until the QSE corrects its COP, the On-Line Combined Cycle Generation Resource that has been On-Line for the longest time from the last recorded start by ERCOT systems, regardless of the reason for the start, combined with the COP Resource Status for the remaining hours of the current Operating Day, is considered to be On-Line at the start of the DRUC study period and all other COP-designated Combined Cycle Generation Resources in the Combined Cycle Train are considered to be Off-Line.

(c)
ERCOT systems shall allow only one Combined Cycle Generation Resource in a Combined Cycle Train to offer Off-Line Non-Spin in the DAM or Supplemental Ancillary Services Market (SASM).

(i)
If there are multiple Non-Spin offers from different Combined Cycle Generation Resources in a Combined Cycle Train, then prior to execution of the DAM, ERCOT shall select the Non-Spin offer from the Combined Cycle Generation Resource with the highest HSL for consideration in the DAM and ignore the other offers. 

(ii)
Combined Cycle Generation Resources offering Off-Line Non-Spin must be able to transition from the shutdown state to the offered Combined Cycle Generation Resource On-Line state and be capable of ramping to the full amount of the Non-Spin offered. 

(d)
The DAM and RUC shall honor the registered hot, intermediate or cold Startup Costs for each Combined Cycle Generation Resource registered in a Combined Cycle Train when determining the transition costs for a Combined Cycle Generation Resource.  In the DAM and RUC, the Startup Cost for a Combined Cycle Generation Resource shall be determined by the positive transition cost from the On-Line Combined Cycle Generation Resource within the Combine Cycle Train or from a shutdown condition, whichever ERCOT determines to be appropriate.

(7)
ERCOT may accept COPs only from QSEs.

(8)
For the first 48 hours of the COP, a QSE representing a Wind-powered Generation Resource (WGR) must enter an HSL value that is less than or equal to the amount for that Resource from the most recent Short-Term Wind Power Forecast (STWPF) provided by ERCOT.  

	[NPRR615:   Replace paragraph (8) above with the following upon system implementation:]

(8)
For the first 48 hours of the COP, a QSE representing a Wind-powered Generation Resource (WGR) must enter an HSL value that is less than or equal to the amount for that Resource from the most recent Short-Term Wind Power Forecast (STWPF) provided by ERCOT, and a QSE representing a PhotoVoltaic Generation Resource (PVGR) must enter an HSL value that is less than or equal to the amount for that Resource from the most recent Short-Term PhotoVoltaic Power Forecast (STPPF) provided by ERCOT.


(9)
For hours 49 to 168 of the COP, a QSE representing a WGR shall enter an HSL value equal to their best estimate, which may be based on the wind power profile as published on the ERCOT website.

	[NPRR588:   Replace paragraph (9) above with the following upon system implementation:]

(9)
For hours 49 to 168 of the COP, a QSE representing an Intermittent Renewable Resource (IRR) shall enter an HSL value equal to its best estimate, which may be based on the appropriate power profile if published on the ERCOT website.


 (10)
A QSE representing a Generation Resource that is not actively providing Ancillary Services or is providing Off-Line Non-Spin that the Resource will provide following the shutdown, may only use a Resource Status of SHUTDOWN to indicate to ERCOT through telemetry that the Resource is operating in a shutdown sequence or a Resource Status of ONTEST to indicate in the COP and through telemetry that the Generation Resource is performing a test of its operations either manually dispatched by the QSE or by ERCOT as part of the test.  A QSE representing a Generation Resource that is not actively providing Ancillary Services may only use a Resource Status of STARTUP to indicate to ERCOT through telemetry that the Resource is operating in a start-up sequence requiring manual control and is not available for Dispatch.

(11)
If a QSE has not  submitted a valid COP for any Generation Resource for any hour in the DAM or RUC Study Period, then the Generation Resource is considered to have a Resource Status as OUT thus not available for DAM awards or RUC commitments for those hours. 

(12)
If a COP is not available for any Resource for any hour from the current hour to the start  of the DAM period or RUC study, then the Resource Status for those hours are considered equal to the last known Resource Status from a previous hour’s COP or from telemetry as appropriate for that Resource.

(13)
A QSE representing a Resource may only use the Resource Status code of EMR for a Resource whose operation would have impacts that cannot be monetized and reflected through the Resource’s Energy Offer Curve or recovered through the RUC make-whole process.  If ERCOT chooses to commit an Off-Line unit with EMR Resource Status, the QSE shall change its Resource Status to ONEMR.
(14)     A QSE representing a Resource may use the Resource Status code of ONEMR for a        Resource that is: 
(a)
On-Line, but for equipment problems it must be held at its current output level until repair and/or replacement of equipment can be accomplished; or

(b)
A Hydro unit. 
(15)
A QSE operating a Resource with a Resource Status code of ONEMR may set the HSL and LSL of the unit to be equal to ensure that SCED does not send Base Points that would move the unit.
�Please note NPRRs 667 and 686 also propose changes to this Section.





672NPRR-15 Board Report 041415
Page 5 of 10
PUBLIC


_1492838776.unknown

_1492838777.unknown

_1492838774.unknown

_1492838775.unknown

_1492838773.unknown

_1492838772.unknown

