PRS Report


	NPRR Number
	687
	NPRR Title
	Required Telemetry for Operational Awareness and PDCWG Analysis

	Timeline
	Normal
	Action
	Recommended Approval

	Date of Decision
	May 14, 2015

	Proposed Effective Date
	July 1, 2015

	Priority and Rank Assigned
	Not applicable.

	Nodal Protocol Sections Requiring Revision
	2.1, Definitions

6.5.5.2, Operational Data Requirements

	Other Binding Documents Requiring Revision or Related Revision Requests
	None.

	Revision Description
	This Nodal Protocol Revision Request (NPRR) enables, upon ERCOT approval, the telemetry of any Non-Frequency Responsive Capacity (NFRC) to ERCOT for operational awareness.  This NPRR allows the Performance, Disturbance, Compliance Working Group (PDCWG) to accurately measure the Primary Frequency Response (PFR) of Generation Resources while using ERCOT collected data necessary to analyze each Measurable Event.  Revisions to the User Guide, “ERCOT Nodal ICCP Communications Handbook” will be required as a result of this NPRR.

	Reason for Revision
	[image: image1.wmf]

X

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

X

  Market efficiencies or enhancements

[image: image4.wmf]

  Administrative

[image: image5.wmf]

  Regulatory requirements

[image: image6.wmf]

X

  Other:  
NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis, required the telemetry of NFRC for combined cycle units only.  However, as recognized in North American Electric Reliability Corporation (NERC) Reliability Standard, BAL-001-TRE-1, and within Nodal Operating Guide Section 2.2.8, Performance/Disturbance/Compliance Analysis, other generator types may also have power augmentation that is not frequency responsive.

ERCOT should have the same operational awareness of this NFRC and the PDCWG should have the clarification for when this power augmentation is to be considered in PFR calculations.

	Credit Work Group Review
	ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR687 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

	Procedural History
	· On 3/20/15, NPRR687 was posted.
· On 4/14/15, ERCOT comments were posted.

· On 4/16/15, PRS considered NPRR687.
· On 5/6/15, an Impact Analysis was posted.

· On 5/14/15, PRS considered the 4/16/15 PRS Report and Impact Analysis for NPRR687.

	PRS Decision 
	On 4/16/15, PRS voted to recommend approval of NPRR687 as amended by the 4/14/15 ERCOT comments.  There was one abstention from the Independent Generator Market Segment.  All Market Segments were present for the vote.
On 5/14/15, PRS unanimously voted to endorse and forward to TAC the 4/16/15 PRS Report and Impact Analysis for NPRR687.  All Market Segments were present for the vote.

	Summary of PRS Discussion
	On 4/16/15, PRS reviewed the 4/14/15 ERCOT comments.
On 5/14/15, there was no discussion.


	Business Case

	Qualitative Benefits
	· Saves Market Participant’s time in manually researching and collecting the necessary data, which is not currently collected via telemetry.

	Quantitative Benefits
	· Market Participant time savings preparing for PDCWG meetings:
· No. of PDCWG Meetings per year (12) X No. of Market Participants that attend (15) X # of events reviewed (3) X # of hours per event to prepare (4) X $65/Hour = $140,400
· Market Participants time savings during PDCWG meetings:
· No. of PDCWG Meetings per year (12) X No. of Market Participants that attend (15) X 1 Hour per meeting spent on analysis of Measurable Events (a considerable portion is spent on determining whether the Combined Cycle Generation Resources were at machine limits during Measurable Events) X $65/Hour = $11,700
· Market Participant time savings collecting data for Texas Regional Entity (Texas RE) Requests for Information:
· No. of RFIs in 2012 for Primary Frequency Response (1) X No. of Market Participants involved (15) X 40 hours/RFI = $52,000
· ERCOT time savings in analysis of Measurable Event:
· No. of Measurable Events evaluated so far in 2012 by PDCWG (45) X 16 hours per events X 1 Resource X $65/Hour = $46,800.

	Impact to Market Segments
	

	Credit Implications
	No.

	Other
	


	Sponsor

	Name
	Robert Helton

	E-mail Address
	Robert.helton@gdfsuezna.com

	Company
	GDF SUEZ Energy NA

	Phone Number
	713-636-1814

	Cell Number
	832-435-7815

	Market Segment
	Independent Generator


	Market Rules Staff Contact

	Name
	Cory Phillips

	E-Mail Address
	cory.phillips@ercot.com

	Phone Number
	512-248-6464


	Comments Received

	Comment Author
	Comment Summary

	ERCOT 041415
	Proposed language whereby a QSE would first obtain ERCOT approval prior to telemetering NFRC in Real-Time.


	Comments


Please also note that the following NPRRs also propose revisions to Section 6.5.5.2:

· NPRR190, Clarification of Resource Definitions and Resource 
· NPRR650, Clarification of Real-Time Telemetry for Split Generation Resources

· NPRR667, Ancillary Service Redesign

· NPRR694, Non-Spin Schedule Requirements
· NPRR698, Clarifications to NPRR595, RRS Load Resource Treatment In ORDC
	Proposed Protocol Language Revision


2.1
DEFINITIONS

Non-Frequency Responsive Capacity (NFRC)

The telemetered portion of a Generation Resource’s HSL that represents the sustainable non-Dispatched power augmentation capability from duct firing, inlet air cooling, auxiliary boilers, or other methods which does not immediately respond, arrest, or stabilize frequency excursions during the first minutes following a disturbance without secondary frequency response or instructions from ERCOT.
6.5.5.2

Operational Data Requirements

(1)
ERCOT shall use Operating Period data to monitor and control the reliability of the ERCOT Transmission Grid and shall use it in network analysis software to predict the short-term reliability of the ERCOT Transmission Grid.  Each TSP, at its own expense, may obtain that Operating Period data from ERCOT or directly from QSEs.

(2)
A QSE representing a Generation Resource connected to Transmission Facilities or distribution facilities shall provide the following Real-Time telemetry data to ERCOT for each Generation Resource.  ERCOT shall make that data available, in accordance with ERCOT Protocols, NERC Reliability Standards, and Governmental Authority requirements, to requesting TSPs and DSPs operating within ERCOT.  Such data must be provided to the requesting TSP or DSP at the requesting TSP’s or DSP’s expense, including:

(a)
Net real power (in MW) as measured by installed power metering or as calculated in accordance with the Operating Guides based on metered gross real power and conversion constants determined by the Resource Entity and provided to ERCOT through the Resource Registration process.  Net real power represents the actual generation of a Resource for all real power dispatch purposes, including use in Security-Constrained Economic Dispatch (SCED), determination of the High Ancillary Service Limit (HASL), High Dispatch Limit (HDL), Low Dispatch Limit (LDL) and Low Ancillary Service Limit (LASL), and is consistent with telemetered HSL, LSL and Non-Frequency Responsive Capacity (NFRC);

(b)
Gross real power (in MW) as measured by installed power metering or as calculated in accordance with the Operating Guides based on metered real power, which may include Supervisory Control and Data Acquisition (SCADA) metering, and conversions constants determined by the Resource Entity and provided to ERCOT through the Resource Registration process;

(c)
Gross Reactive Power (in Megavolt-Amperes reactive (MVAr));

(d)
Net Reactive Power (in MVAr);

(e)
Power to standby transformers serving plant auxiliary Load;

(f)
Status of switching devices in the plant switchyard not monitored by the TSP or DSP affecting flows on the ERCOT Transmission Grid;

(g)
Any data mutually agreed to by ERCOT and the QSE to adequately manage system reliability;

(h)
Generation Resource breaker and switch status;

(i)
HSL (Combined Cycle Generation Resources) shall:  

(i)
Submit the HSL of the current operating configuration; and 

(ii)
When providing RRS, update the HSL as needed, to be consistent with Resource performance limitations of RRS provision;

(j)
NFRC currently available (unloaded) and included in the HSL of the Combined Cycle Generation Resource’s current configuration; 

(k)
High Emergency Limit (HEL), under Section 6.5.9.2, Failure of the SCED Process;

(l)
Low Emergency Limit (LEL), under Section 6.5.9.2; 

(m)
LSL;

(n)
Configuration identification for Combined Cycle Generation Resources;

(o)
Ancillary Service Schedule for each quantity of RRS and Non-Spin which is equal to the Ancillary Service Resource Responsibility minus the amount of Ancillary Service deployment;

(p)
Ancillary Service Resource Responsibility for each quantity of Regulation Up (Reg-Up), Regulation Down (Reg-Down), RRS and Non-Spin.  The sum of Ancillary Service Resource Responsibility for all Resources in a QSE is equal to the Ancillary Service Supply Responsibility for that QSE;

(q)
Reg-Up and Reg-Down Services participation factors represent how a QSE is planning to deploy the Ancillary Service energy on a percentage basis to specific qualified Resource(s).  The Reg-Up and Reg-Down Services participation factors for a Resource providing Fast Responding Regulation Up Service (FRRS-Up) or Fast Responding Regulation Down Service (FRRS-Down) shall be zero; and

(r)
The designated Master QSE of a Generation Resource that has been split to function as two or more Split Generation Resources shall provide Real-Time telemetry for items (a), (b), (c), (d), (e), (g), and (h) above, PSS and AVR status for the total Generation Resource in addition to the Split Generation Resource the Master QSE represents.

(3)
For each Wind-powered Generation Resource (WGR), the QSE shall set the HSL equal to the current net output capability of the facility.  The net output capability should consider the net real power of the WGR, turbine availability, weather conditions, and whether the WGR net output is being affected by compliance with a SCED Dispatch Instruction.

	[NPRR588:  Replace paragraph (3) above with the following upon system implementation:]

(3)
For each Intermittent Renewable Resource (IRR), the QSE shall set the HSL equal to the current net output capability of the facility.  The net output capability should consider the net real power of the IRR generation equipment, IRR generation equipment availability, weather conditions, and whether the IRR net output is being affected by compliance with a SCED Dispatch Instruction.


(4)
For each Aggregate Generation Resource (AGR), the QSE shall telemeter the number of its generators online.
(5)
A QSE representing a Load Resource connected to Transmission Facilities or distribution facilities shall provide the following Real-Time data to ERCOT for each Load Resource and ERCOT shall make the data available, in accordance with ERCOT Protocols, NERC standards and policies, and Governmental Authority requirements, to the Load Resource’s host TSP or DSP at the TSP’s or DSP’s expense.  The Load Resource’s net real power consumption, Low Power Consumption (LPC) and Maximum Power Consumption (MPC) shall be telemetered to ERCOT using a positive (+) sign convention: 
(a)
Load Resource net real power consumption (in MW);

(b)
Any data mutually agreed to by ERCOT and the QSE to adequately manage system reliability;

(c)
Load Resource breaker status;

(d)
LPC (in MW);

(e)
MPC (in MW);

(f)
Ancillary Service Schedule (in MW) for each quantity of RRS and Non-Spin, which is equal to the Ancillary Service Resource Responsibility minus the amount of Ancillary Service deployment; 

(g)
Ancillary Service Resource Responsibility (in MW) for each quantity of Reg-Up and Reg-Down for Controllable Load Resources, and RRS and Non-Spin for all Load Resources;

(h)
The status of the high-set under-frequency relay, if required for qualification; 

(i)
For a Controllable Load Resource providing Non-Spin, the Scheduled Power Consumption that represents zero Ancillary Service deployments; 

(j)
For a single-site Controllable Load Resource with registered maximum Demand response capacity of ten MW or greater, net Reactive Power (in MVAr);

(k)
Resource Status (Resource Status shall be ONRL if high-set under-frequency relay is active); 

(l)
Reg-Up and Reg-Down services participation factor, which represents how a QSE is planning to deploy the Ancillary Service energy on a percentage basis to specific qualified Resource(s).  The Reg-Up and Reg-Down services participation factors for a Resource providing FRRS-Up or FRRS-Down shall be zero; and

(m)
For a Controllable Load Resource providing Non-Spin, the “Scheduled Power Consumption Plus Two Hours,” representing the QSE’s forecast of the Controllable Load Resource’s instantaneous power consumption for a point two hours in the future. 

(6)
A QSE with Resources used in SCED shall provide communications equipment to receive ERCOT-telemetered control deployments.

(7)
A QSE providing any Regulation Service shall provide telemetry indicating the appropriate status of Resources providing Reg-Up or Reg-Down, including status indicating whether the Resource is temporarily blocked from receiving Reg-Up and/or Reg-Down deployments from the QSE.  This temporary blocking will be indicated by the enabling of the Raise Block Status and/or Lower Block Status telemetry points.

(a)
Raise Block Status and Lower Block Status are telemetry points used in transient unit conditions to communicate to ERCOT that a Resource’s ability to adjust its output has been unexpectedly impaired.

(b)
When one or both of the telemetry points are enabled for a Resource, ERCOT will cease using the regulation capacity assigned to that Resource for Ancillary Service deployment.

(c)
This hiatus of deployment will not excuse the Resource’s obligation to provide the Ancillary Services for which it has been committed.

(d)
These telemetry points shall only be utilized during unforeseen transient unit conditions such as plant equipment failures.  Raise Block Status and Lower Block Status shall only be enabled until the Resource operator has time to update the Resource limits and Ancillary Service telemetry to reflect the problem.

(e)
The Resource limits and Ancillary Service telemetry shall be updated as soon as practicable.  Raise Block Status and Lower Block Status will then be disabled. 

(8)
Real-Time data for reliability purposes must be accurate to within three percent.  This telemetry may be provided from relaying accuracy instrumentation transformers.

(9)
Each QSE shall report the current configuration of combined-cycle Resources that it represents to ERCOT.  The telemetered Resource Status for a Combined Cycle Generation Resource may only be assigned a Resource Status of OFFNS if no generation units within that Combined Cycle Generation Resource are On-Line.
(10)
A QSE representing Combined Cycle Generation Resources shall provide ERCOT with the possible operating configurations for each power block with accompanying limits.  Combined Cycle Train power augmentation methods may be included as part of one or more of the registered Combined Cycle Generation Resource configurations.  Power augmentation methods may include:

(a)
Combustion turbine inlet air cooling methods;

(b)
Duct firing; 

(c)
Other ways of temporarily increasing the output of Combined Cycle Generation Resources; and

(d)
For Qualifying Facilities (QFs), an LSL that represents the minimum energy available for Dispatch by SCED, in MW, from the Combined Cycle Generation Resource based on the minimum stable steam delivery to the thermal host plus a justifiable reliability margin that accounts for changes in ambient conditions.  
(11)
A QSE representing Generation Resources other than Combined Cycle Generation Resources may telemeter an NFRC value for their Generation Resource only if the QSE or Resource Entity associated with that Generation Resource has first requested and obtained ERCOT’s approval of the Generation Resource’s NFRC quantity


.
	[NPRR568 and NPRR595:  Insert applicable portions of paragraphs (12), (13), and (14) below upon system implementation:]

(12)
Each QSE qualified to provide OFF10 capacity shall accurately report the current availability of On-Line (OFF10) reserve capacity for each Resource it represents to ERCOT through Real-Time telemetry.

(a)
For Generation Resources:

(i)
For On-Line Resources and Quick Start Generation Resources (QSGRs) that are available for deployment by SCED, the values provided shall only include capacity that has been tested by ERCOT to be available in the appropriate time frame and is not already captured in the telemetered HSL or telemetered OFF30 capacity of the Resource.

(ii)
For Off-Line Resources, the OFF10 capacity provided shall only include capacity that has been tested by ERCOT to be available within ten minutes and is not already captured in the telemetered OFF30 capacity of the Resource.

(b)
For Load Resources, the values provided shall only include capacity that is available beyond the Ancillary Service Schedule for Responsive Reserve Service while also observing the constraints of the Resource’s net real power consumption and the Low Power Consumption (LPC).  

(c)
ERCOT shall validate during the qualification process that the telemetered OFF10 capacity is viable in ten minutes.  The telemetered OFF10 capacity shall be capped at the OFF10 MW quantities qualified pursuant to Section 8.1.1.2.1.6, OFF10 Reserve Qualification, or tested pursuant to Section 8.1.1.2, General Capacity Testing Requirements. 

(13)
Each QSE qualified to provide OFF30 capacity shall accurately report the current availability of Off-Line (OFF30) reserve capacity of Resources it represents to ERCOT through Real-Time telemetry.

(a)
For On-Line Resources and QSGRs that are available for deployment by SCED, the values provided shall only include capacity that has been tested by ERCOT to be available in the appropriate time frame and is not already captured in the telemetered HSL or telemetered OFF10 capacity of the Resource.  

(b)
For Off-Line Resources, the OFF30 capacity provided shall only include capacity that has been tested by ERCOT to be available in the appropriate time frame and is not already captured in the telemetered OFF10 capacity of the Resource. 

(c)
ERCOT shall validate during the qualification process that the telemetered OFF30 capacity is viable in 30 minutes.  The telemetered OFF30 shall be capped at the OFF30 MW quantities qualified pursuant to Section 8.1.1.2.1.7, OFF30 Reserve Qualification, or tested pursuant to Section 8.1.1.2.

(14)
A QSE representing a Resource that is capable of storing energy and releasing that energy at a later time to generate electric energy as both a Load Resource and a Generation Resource is expected to manage the state of charge of the Resource in order to accurately report the HSL, the amount of capacity that can be provided simultaneously from both the Generation Resource and the Load Resource through OFF10 and OFF30, and the net real power consumption data to ERCOT.


�Please note NPRRs 190, 650, 667, 694, and 698 also propose changes to this Section.





PRR_Template.doc
Page 2 of 9
PRR_Template.doc
Page 2 of 9
687NPRR-05 PRS Report 051415
Page 1 of 10
PUBLIC

_1493531048.unknown

_1493531049.unknown

_1493531046.unknown

_1493531047.unknown

_1493531045.unknown

_1493531044.unknown

