Date:	May 28, 2015

To:	Technical Advisory Committee (TAC) Representatives

From:	John Varnell, Protocol Revision Subcommittee (PRS) Chair

Subject: Revision Requests

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR662, Proxy Energy Offer Curves [TIEC] - NPRR674, Clarification of Water Supply Rights Documentation [ERCOT] - NPRR679, ONOPTOUT for RUC Given After the Adjustment Period [Tenaska] - NPRR680, Allow QSEs to Self-Arrange AS Quantities Greater Than Their AS Obligation [ERCOT] - URGENT - NPRR681, Clarifications to Dynamic Ratings [ERCOT] - NPRR682, Changes to Notification Method when ERCOT Intends to Procure Additional Ancillary Services [ERCOT] - NPRR683, Revision to Available Credit Limit Calculation [Luminant] - NPRR686, Changing the IRR Forecast from Next 48 Hours to Next 168 Hours [ERCOT] - NPRR687, Required Telemetry for Operational Awareness and PDCWG Analysis [GDF Suez] - NPRR688, Black Start Services Testing Clarifications [ERCOT] - NPRR690, Incorporation of Creditworthiness Standards into Protocols [ERCOT] - NPRR698, Clarifications to NPRR595, RRS Load Resource Treatment In ORDC [ERCOT] – URGENT

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR662, Proxy Energy Offer Curves [TIEC] Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 1310 ERCOT Impact Analysis: Between $80k and $120k; no impacts to ERCOT staffing; impacts to Settlements and Billing (S&B) and Market Management Systems (MMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This Nodal Protocol Revision Request (NPRR) addresses proxy Energy Offer Curves generated by ERCOT for a Resource that does not submit an Energy Offer Curve or submits an incomplete Energy Offer Curve. For a Resource without an Energy Offer Curve, a monotonically increasing proxy Energy Offer Curve will be created such that the last point on the curve (the Resource’s High Sustained Limit (HSL)) is offered at $1,500 per MW. For a Resource with an incomplete Energy Offer Curve (typically cogeneration facilities that update their HSL, but not their offer curve), a proxy Energy Offer Curve will be created to extend the offer price from last point on the submitted Energy Offer Curve up to the Resource’s HSL. PRS Decision: On 3/12/15, PRS voted to recommend approval of NPRR662 as amended by the 2/27/15 TIEC comments. There were three abstentions from the Investor Owned Utility (IOU)(2) and Independent Power Marketer (IPM) Market Segments. On 5/14/15, PRS voted to endorse and forward to TAC the 4/16/15 PRS Report and Impact Analysis for NPRR662 with a recommended priority of 2015 and rank of 1310. There was one opposing vote from the IOU Market Segment and three abstentions from Independent Generator (2) and IOU Market Segments. - NPRR674, Clarification of Water Supply Rights Documentation [ERCOT] Proposed Effective Date: July 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies that an Interconnecting Entity (IE) meets the water supply condition for including a non-wind Generation Resource in the total capacity estimate when it demonstrates that it has obtained rights to water supplies by way of a contract or permit. The Protocols’ current use of the term “water rights” might be interpreted to suggest that only government-issued water permits meet this condition, when both contractual and permit-based rights should be understood to suffice. PRS Decision: On 3/12/15, PRS unanimously voted to recommend approval of NPRR674 as amended by the 3/5/15 ERCOT comments and revised by PRS. On 4/16/15, PRS unanimously voted to endorse and forward to TAC the 3/12/15 PRS Report and the Impact Analysis for NPRR674. - NPRR679, ONOPTOUT for RUC Given After the Adjustment Period [Tenaska] Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 1320 ERCOT Impact Analysis: Between $15k and $20k; no impacts to ERCOT staffing; impacts to S&B and Commercial System Integration (CSI); no impacts to ERCOT business functions; ERCOT grid operations and practices will be updated. Revision Description: This NPRR allows for the telemetering of ONOPTOUT status for a Resource where a Reliability Unit Commitment (RUC) instruction is given after the close of the Adjustment Period. PRS Decision: On 2/12/15, PRS unanimously voted to recommend approval of NPRR679 as submitted. On 5/14/15, PRS unanimously voted to endorse and forward to TAC the 4/16/15 PRS Report as amended by the 5/5/15 ERCOT comments and Impact Analysis for NPRR679 with a recommended priority of 2015 and rank of 1320. - NPRR680, Allow QSEs to Self-Arrange AS Quantities Greater Than Their AS Obligation [ERCOT] - URGENT Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 1330 ERCOT Impact Analysis: Between $20k and $30k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR proposes to allow a Qualified Scheduling Entity (QSE) to submit Self-Arranged Ancillary Service Quantities in excess of its Ancillary Service Obligations by up to 100 MW and to receive appropriate compensation for those self-arranged quantities. This NPRR does not propose to change the requirement that self-arranged Responsive Reserve (RRS) service provided by a Load Resource must be limited to 50% of a QSE’s RRS Ancillary Service Obligation, pursuant to paragraph (7) of Section 3.16, Standards for Determining Ancillary Service Quantities. PRS Decision: On 4/16/15, PRS unanimously voted to grant Urgent status to NPRR680. PRS then unanimously voted to table NPRR680. On 5/14/15, PRS voted to recommend approval of NPRR680 as amended by the 5/12/15 LCRA comments and revised by PRS, and to forward to TAC with a recommended rank of 2015 and priority of 1330. There were two opposing votes from the Cooperative and Municipal Market Segments and one abstention from the Municipal Market Segment. - NPRR681, Clarifications to Dynamic Ratings [ERCOT] Proposed Effective Date: July 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds clarification for Dynamic Ratings provided via Inter-Control Center Communications Protocol (ICCP). PRS Decision: On 4/16/15, PRS unanimously voted to recommend approval of NPRR681 as submitted. On 5/14/15, PRS unanimously voted to endorse and forward to TAC the 4/16/15 PRS Report and Impact Analysis for NPRR681. - NPRR682, Changes to Notification Method when ERCOT Intends to Procure Additional Ancillary Services [ERCOT] Proposed Effective Date: Upon System Implementation. ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Market Information System (MIS) and ERCOT.com; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes the notification to Market Participants from the MIS Secure Area to the MIS Public Area when ERCOT intends to procure additional Ancillary Services through a Supplemental Ancillary Service Market (SASM). PRS Decision: On 3/12/15, PRS unanimously voted to recommend approval of NPRR682 as submitted. On 4/16/15, PRS unanimously voted to endorse and forward to TAC the 3/12/15 PRS Report and Impact Analysis for NPRR682. - NPRR683, Revision to Available Credit Limit Calculation [Luminant] Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 1300 ERCOT Impact Analysis: Between $40k and $50k; no impacts to ERCOT staffing; impacts to Credit Monitoring and Management (CMM); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises the calculation of Available Credit Limit for the CRR Auction (ACLC) and Available Credit Limit for the DAM (ACLD) by replacing the existing 10% discount to the ACL based on the Counter-Party’s unused letter of credit amount with a 10% gross up of the sum of the Total Potential Exposure Any (TPEA) and the Total Potential Exposure Secured (TPES). PRS Decision: On 3/12/15, PRS unanimously voted to recommend approval of NPRR683 as submitted. On 4/16/15, PRS unanimously voted to endorse and forward to TAC the 3/12/15 PRS Report and Impact Analysis for NPRR683 with a recommended priority of 2015 and rank of 1300. - NPRR686, Changing the IRR Forecast from Next 48 Hours to Next 168 Hours [ERCOT] Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 1130 ERCOT Impact Analysis: Between $45k and $65k; no impacts to ERCOT staffing; impacts to Enterprise Information Services (EIS), Energy Management System (EMS), Current Day Reports (CDR), MIS, and Enterprise Integration (EI); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires QSEs representing Wind-powered Generation Resources (WGRs) or PhotoVoltaic Generation Resources (PVGRs) to limit the HSL values submitted for the entire 168-hour range of the Current Operating Plan (COP) to the values provided in the most recent Short-Term Wind Power Forecast (STWPF) or Short-Term PhotoVoltaic Power Forecast (STPFF), as applicable. As required by the Protocols, ERCOT will post these extended forecasts to the MIS, as is done with the current 48-hour forecasts. PRS Decision: On 4/16/15, PRS unanimously voted to recommend approval of NPRR686 as submitted. On 5/14/15, PRS unanimously voted to endorse and forward to TAC the 4/16/15 PRS Report and Impact Analysis for NPRR686 with a recommended priority of 2015 and rank of 1130. - NPRR687, Required Telemetry for Operational Awareness and PDCWG Analysis [GDF Suez] Proposed Effective Date: July 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR enables, upon ERCOT approval, the telemetry of any Non-Frequency Responsive Capacity (NFRC) to ERCOT for operational awareness. This NPRR allows the Performance, Disturbance, Compliance Working Group (PDCWG) to accurately measure the Primary Frequency Response (PFR) of Generation Resources while using ERCOT collected data necessary to analyze each Measurable Event. Revisions to the User Guide, “ERCOT Nodal ICCP Communications Handbook” will be required as a result of this NPRR. PRS Decision: On 4/16/15, PRS voted to recommend approval of NPRR687 as amended by the 4/14/15 ERCOT comments. There was one abstention from the Independent Generator Market Segment. On 5/14/15, PRS unanimously voted to endorse and forward to TAC the 4/16/15 PRS Report and Impact Analysis for NPRR687. - NPRR688, Black Start Services Testing Clarifications [ERCOT] Proposed Effective Date: July 1, 2015 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR proposes clarifications regarding Black Start testing periodicity and Black Start random testing requirements. PRS Decision: On 4/16/15, PRS unanimously voted to recommend approval of NPRR688 as amended by the 4/15/15 Luminant comments. On 5/14/15, PRS unanimously voted to endorse and forward to TAC the 4/16/15 PRS Report and the Impact Analysis for NPRR688 - NPRR690, Incorporation of Creditworthiness Standards into Protocols [ERCOT] Proposed Effective Date: Upon System Implementation. ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to MIS and ERCOT.com; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR incorporates the ERCOT Creditworthiness Standards (which currently resides in an Other Binding Document) into the Protocols, and deletes references to the Other Binding Document. In addition, it corrects discrepancies between Protocols and the current ERCOT Creditworthiness Standards relating to requirements to receive unsecured credit and in certain terminology, eliminates the annual Finance and Audit Committee review process for letter of credit concentration limits in favor of the change control process used elsewhere in Protocols, corrects a discrepancy between requirements for Electric Cooperatives (ECs) and applicable regulatory standards, and aligns Protocol language with the current ERCOT Creditworthiness Standards to clarify that audited financial statements must be in accordance with Generally Accepted Accounting Principles (GAAP) or International Accounting Standards (IAS). PRS Decision: On 4/16/15, PRS unanimously voted to recommend approval of NPRR690 as amended by the 4/2/15 ERCOT comments and as revised by PRS. On 5/14/15, PRS unanimously voted to endorse and forward to TAC the 4/16/15 PRS Report as revised by PRS and Impact Analysis for NPRR690. - NPRR698, Clarifications to NPRR595, RRS Load Resource Treatment In ORDC [ERCOT] – URGENT Proposed Effective Date: Upon System Implementation - Priority 2015; Rank 885 ERCOT Impact Analysis: Between $70k and $90k (If approved, this cost estimate replaces the $100k-$150k estimate previously approved for NPRR595. This would result in a $40k-$60k net reduction in 2015 project spending.); no impacts to ERCOT staffing; impacts to CSI, EIS, EMS, MMS, and S&B; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies ERCOT’s intended implementation of NPRR595, RRS Load Resource Treatment In ORDC, and allows the use of currently telemetered values to provide the intent of NPRR595 at a lower project cost. PRS Decision: On 5/14/15, PRS unanimously voted to grant NPRR698 Urgent status. PRS then unanimously voted to recommend approval of NPRR698 as amended by the 5/13/15 ERCOT comments and to forward to TAC with a recommended rank of 2015 and priority of 885. Revision Requests Rejected None. Revision Requests Withdrawn - NPRR675, Modifications for ERS Estimates in Calculating Future Planning Reserves [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the June 11, 2015 PRS Meeting - NPRR684, Remove Annual RUC Impact Report Requirement [ERCOT] - NPRR692, Removal of MIS Posting Requirement of DAM Credit Parameters [ERCOT] - NPRR693, Incorporation of “Threshold Values for Competitive Constraint Test” into the Protocols [ERCOT] - NPRR694, Non-Spin Schedule Requirements [GDF Suez] - NPRR695, Posting and Notice Requirements for Notifications of Suspension of Operations and Notifications of Change of Generation Resource Designation [ERCOT] - NPRR699, Energy Offer Curve Caps for Make-Whole Calculations for Resource Type Other [RCWG] - NPRR700, Utilizing Actual Fuel Costs in Startup Offer Caps [RCWG] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity [ERCOT] - NPRR649, Lost Opportunity Payments for HDL Manual Overrides [ERCOT] - NPRR650, Clarification of Real-Time Telemetry for Split Generation Resources [ERCOT] - NPRR663, Ancillary Service Insufficiency Actions [ERCOT] - NPRR667, Ancillary Service Redesign [ ERCOT] - NPRR685, Change Criteria for Resource Opportunity Outages [Calpine] - NPRR689, Settlement of Ancillary Service Assignment in Real-Time Operations [QMWG] - NPRR691, Alignment of Protocols with NERC Reliability Standard, BAL-001-TRE-1 [PDCWG] - NPRR696, Price Correction Process Following a SCED Failure [Reliant] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR701, As-Built Clarification of NPRR589, Ancillary Service Offers in the Supplemental Ancillary Services Market [ERCOT] - NPRR702, Flexible Accounts, Payment of Invoices, and Disposition of Interest on Cash Collateral [ERCOT] - NPRR703, Clarification of Disclosure Requirements for GINR Study Information [ERCOT] New Revision Requests Scheduled for Consideration at the June 11, 2015 PRS Meeting - NPRR704, Revisions to the Size of Aggregate Generation Resources [STEC] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr