## Slide 1: Regulation Bias Analysis Post SCR-773 May 2015
QMWG Meeting 6/5/2015

## Slide 2: Discussion Points
Current GTBD Parameters
Metric to measure Regulation bias and performance
Regulation Deployed comparison
Total Regulation Deployed comparison (net bias)
Regulation Deployed 15-minute interval comparison by each hour for 2013, 2014 and 2015 months
Regulation Exhaustion Rate
Regulation bias for consecutive 5-min interval
Summary
Notes: Regulation Deployed comparison (June to August)

## Slide 3: Metric to measure SCR-773 performance
Trend and monitor the regulation deployed by hour
Set target of 50 MW for total regulation deployed by hour for peak hours (HE 14 to HE 18)
Set target of 85% for the number of intervals where regulation deployment was both up and down (zero crossing) for peak hours (HE 14 to HE 18)
Track the Regulation exhaustion rate for all hours (not to exceed <1.2% )
Using a 50MW filter, target 15 occurrences or less per month for regulation bias of six or more consecutive 5 minute intervals for peak hours (HE 14 to HE 18).

## Slide 4: Current GTBD Parameters

## Slide 5: Total Regulation Deployed Comparison
Total regulation deployed for the last three months (March, April, May)

## Slide 6: Hourly Total-Regulation Deployed Monthly Comparison (Last 3 Mo.)

## Slide 7: Regulation Deployed Comparisons
Metric 1
Trend and monitor the regulation deployed by hour

## Slide 8: Regulation Deployed comparison - Table

## Slide 9: Hourly Regulation-Up Deployed Monthly comparison - Chart
Morning Ramp Hours
Peak Hours

## Slide 10: Hourly Regulation-Down Deployed Monthly comparison - Chart

## Slide 11: Total Regulation Deployed Comparisons
Metric 2
Set target of 50 MW for total regulation deployed by hour for peak hours (HE 14 to HE 18)

## Slide 12: Hourly Total-Regulation Deployed Monthly comparison - Chart

## Slide 13: 15-Minute intervals where both Reg-Up/Down were deployed
Metric 3
Set target of 85% for the number of intervals where regulation deployment was both up and down (zero crossing) for peak hours (HE 14 to HE 18)

## Slide 14: Regulation Deployed 15-Minute Interval Comparison – by hours

## Slide 15: Regulation Exhaustion Rate
Metric 4
Track the Regulation exhaustion rate for all hours (not to exceed <1.2% )

## Slide 16: Regulation-Up Exhaustion Rate – by hours

## Slide 17: Regulation-Down Exhaustion Rate – by hours

## Slide 18: Stats on Reg-Up Bias for consecutive 5-min intervals
Metric 5
Using a 50MW filter, target 15 occurrences or less per month for regulation bias of six or more consecutive 5 minute intervals for peak hours (HE 14 to HE 18*).

## Slide 19: Reg-Up Bias for six Consecutive 5 min intervals (50 MW filter)

## Slide 20: Current GTBD Parameters beginning 5/26/2015

## Slide 21: Change Request # 54380
The objective of CR 54380 is to avoid regulation feedback causing the GTBD to get into power balance penalty curve;
If current GTBD is greater than HDL then the Reg Bias will be limited up to HDL
STLF component will not be limited
For example
  Current Gen (49700) + STLF (200) + Reg Bias (125) > 50000 (HDL)
  Then GTBD = Current Gen (49700) + STLF (200) + Reg Bias (100)
  Reg-Bias will be adjusted so as not exceed HDL
  GTBD can exceed the HDL due to Current Gen + STLF alone
Notes: Regulation Deployed comparison (June to August)

## Slide 22: Additional Updates
Unannounced Constant Frequency Control Test
NDCRC Updates regarding exemptions and extensions

## Slide 23: Questions?