## Slide 1: Regulation Bias Analysis post SCR-773
PDCWG Meeting 08/26/2013

## Slide 2: Discussion Points
Current GTBD Parameters (implemented on May 23, 2013)
Regulation Deployed comparison (Up to August 20th)
Regulation Deployed 15-minute interval comparison
Ongoing effort to improve Regulation Bias

## Slide 3: Current GTBD Parameters

## Slide 4: Regulation-Up Deployed Monthly comparison - Table

## Slide 5: Hourly Regulation-Up Deployed Monthly comparison - Chart

## Slide 6: Hourly Regulation-Up Deployed Monthly comparison - Chart

## Slide 7: Hourly Regulation-Up Deployed Monthly comparison - Chart

## Slide 8: Regulation-Down Deployed Monthly comparison- Table

## Slide 9: Hourly Regulation-Down Deployed Monthly comparison - Chart

## Slide 10: Hourly Regulation-Down Deployed Monthly comparison - Chart

## Slide 11: Hourly Regulation-Down Deployed Monthly comparison - Chart

## Slide 12: Hourly Total-Regulation Deployed Monthly comparison - Chart

## Slide 13: Hourly Total-Regulation Deployed Monthly comparison - Chart

## Slide 14: Hourly Total-Regulation Deployed Monthly comparison - Chart

## Slide 15: Regulation Deployed 15-Minute Interval Comparison - Chart

## Slide 16: Ongoing effort to improve Regulation Bias
Continue tuning Generation To Be Dispatched and LFC Regulation parameter
Continue to follow-up with Resources that are causing Regulation Deployment during Start-Up and Shut-Down
  So far contacted several entities, some has already mitigated this Startup issue and more entities to be contacted about the improper shut-down
  ERCOT will also provide guidance on ERCOT’s expectation during Start-Up and Shut-Down in 2014 Operations Seminar

## Slide 17: Questions??