| NPRR Number | 704 | NPRR Title | Revisions to the Size of Aggregate Generation Resources |
| --- | --- | --- | --- |
| Date |  | June 10, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | Thomas Burke |  |
| E-mail Address |  | tburke@gsec.coop |  |
| Company |  | Golden Spread Electric Cooperative (GSEC) |  |
| Phone Number |  | 806-349-5227 |  |
| Cell Number |  |  |  |
| Market Segment |  | Electric Cooperative |  |

Comments

Golden Spread Electric Cooperative (Golden Spread) supports the proposed changes identified under Nodal Protocol Revision Request (NPRR) 704, Revisions to the Size of Aggregate Generation Resources.  ERCOT staff supports increasing the size of the Aggregate Generation Resource (AGR) above the current limit of 10 MW per generator.  ERCOT will obtain cost savings from both a modelling perspective and by avoiding IT infrastructure investments to support excessive telemetry.  Expanded aggregation of generation resources may help optimize economic dispatch and provide more responsive price signals.  Additionally, operators of AGR may be able to reduce emissions, including greenhouse gases under certain conditions.

Revised Cover Page Language

None.

Revised Proposed Protocol Language

None.