Operations Working Group Meeting

Thursday, 4/23/15

Met Center Room 168

In Attendance:

|  | Kevin Morland – CenterPoint Energy |
| --- | --- |
| John Warren – LCRA | Walter Reed – Consultant Wind Coalition |
| Aaron Brooks – WETT | Tip Tipton – Brazos |
| Paula Mueller – Texas RE Greg Graham – Texas RE | Randy Jones – Calpine Richard Defelice – ? |
| Sherry Looney - Luminant |  |
| Mike Leiyo (spelling?) – AEN | Brian Manning – ERCOT |
| Jonas Setzer – CPS Rick Gillian - Cross Texas Jimmy Hartmann – ERCOT Jerry Willms – Lone Star Transmission Steve Bolle – STEC Bill Blevins – ERCOT Kevin Sills – Oncor Frank Holcher – Garland Kristen Rodriguez - ? | Bob Temple – Sharyland David Penney – TRE Matt Carter – GP&L Matt Mereness – ERCOT Stephen Solis – ERCOT Lloyd Kolb – GSEC John Abel – Oncor Curtis Graves - AEN |

- Antitrust Admonition

Meeting opened at 9:30 with a review of the Antitrust Admonition by John Warren.

- ROS Meeting Report

1 new assignment to review NOGRR143.

1 existing assignment came back, regarding additional comments for NOGRR142. (Didn’t meet this month)

- March OWG Meeting Notes

Meeting notes were approved

- NOGRR Reviews and Language Changes

- 142NOGRR Phasor Measurement. This Nodal Operating Guide Revision Request (NOGRR) represents the consensus recommendation of the Phasor Measurement Task Force (PMTF) as the binding language required to meet the top three Synchrophasor use cases identified by ERCOT staff and the PMTF as having merit in the ERCOT region. [PMTF] Language Review.

Comments: ERCOT and TRE members reviewed and agreed for support on this NOGRR language.

IA REVIEW:  Motion to endorse and forward NOGRR142 and the IA to ROS. Randy first, Sherry second.

- 143NOGRR Alignment of Nodal Operating Guides with NERC Reliability Standard, BAL-001-TRE-1. This Nodal Operating Guide Revision Request (NOGRR) aligns the Nodal Operating Guides with North American Electric Reliability Corporation (NERC) Reliability Standard, BAL-001-TRE-1.

COMMENTS: Participants expressed concerns regarding the “Alignment of the Op Guides with a specific NERC Standard”.  Concerns over Guide and Protocol revisions after NERC standard is already in place.  Seems as though we are playing catch-up.

Language Review:  Motion to table.  This will allow for additional comments from the Market. John first, Sherry second.

- Monthly Operations Report

- Jimmy Hartmann Reviewed the March report.

- Texas RE Update Report David Penney

Periodic review of the EOP standards could affect the OWG.  COM 1-2 and COM 2-4 were approved.

- System Operations Report

System operations report was provided by ERCOT.

- Seminar Task Force Report

None given

- Other

Stephen Solis gave update on the Voltage Control Workshop.

Asked for additional input if possible, regarding the list of ideas from the Workshop.

Will send the list to the OWG exploder via John Warren.

FYI: New Voltage Reduction TF likely to be created. Please attend/participate.

- Future Meeting: May 21st ERCOT Met Center room 168.