## Issues
ID | Submitter | Area | Sub-Area | Issue | Comments | SAWG March 25th resolutions | Policy Cut? | Need before NPRR Language?
1 |  | RT Co-Opt | AS Demand Curves in DAM | Use AS demand curves in both DAM and RT a) AS Insufficiency in DAM: Either go into RT with DA AS insufficiency or need to develop procedure to deal with AS insufficiency in DAM if it is unacceptable to go into RT with AS insufficiency b) For AS demand curves with a "long tail" (e.g. LOLP or EUE based AS demand curves for NSpin, Spinning Operating Reserve), ERCOT may procure more AS than required for realiability if economical
see 1 | ERCOT/ Luminant/ Morgan Stanley | RT Co-Opt | ORDC in DAM | Should AS demand curves (based on ORDC?) be implemented in DAM? | Luminant recommends implementing ORDC in the DAM and also has proposal to deal with AS insufficiency in the DAM with DAM. See Luminant comments for more details. Need ERCOT Operations review | SAWG consensus on having AS demand curves in DAM. More discussion on the shape and form of the AS demand curves 5/27/2014: Use ORDC in DAM. A) Will need to deal with procedures for AS insufficiency B) SOR and NSOR will be procured till the intersection of supply and demand for these products |  | Yes
see 1 | ERCOT/ Luminant/ Morgan Stanley | RT Co-Opt | ORDC in DAM | How will ERCOT handle AS insufficiency in the DAM? Can AS clear insufficient and be rectified in real-time? | Luminant and Morgan Stanley proposes that AS insufficiency be allowed in the DAM. See Luminant and Morgan Stanley comments for more details Need ERCOT Operations review | 5/27/2014: Use ORDC in DAM. A) Will need to deal with procedures for AS insufficiency B) SOR and NSOR will be procured till the intersection of supply and demand for these products |  | Yes
see 1 | ERCOT/ Luminant/ Morgan Stanley | RT Co-Opt | ORDC in DAM | If we model AS demand curves in the DAM, as the DAM is voluntary, are there any issues? Resources do not have to participate since it is not mandatory to submit Resource specific Offers for energy and AS | Luminant and Morgan Stanley do not see an issue with ORDC in DAM | 5/27/2015: Not an issue | Yes | Yes
see 1 | SAWG | RT Co-Opt | AS Plan Posting | Is the AS Plan posting in the DA a curve or a fixed number as today |  | How does this impact the retailer.
see 1 | ERCOT/ Luminant/ Morgan Stanley | RT Co-Opt | ORDC - AS Demand Curves | If AS demand curves are not modeled in the DAM, then AS procurement is effectively given higher priority than energy — that is, in DAM, all energy demand has a price and hence can be curtailed, whereas the AS penalty is extremely high. This ensures that the AS Plan MW Requirements are procured. However, in RT, AS demand curves are modeled based on ORDC. The amount of Non-Spin procured depends on the intersection of the Non-Spin demand curve and the offer stack for Non-Spin. Hence, the procured amounts of Non-Spin can exceed or be less than the AS Plan MW Requirement for Non-Spin. If there is more Non-Spin procurement than the AS Plan, then loads are charged this amount on a Load-Ratio-Share. This is the same as the current process of AS Imbalance Settlements | Luminant & Morgan Stanley propose to use ORDC in DAM Procuring more Non-Spin at certain times may not dramatically increase costs | ERCOT presentation on individual AS demand curves should address this item 5/27/2014: Use ORDC in DAM. A) Will need to deal with procedures for AS insufficiency B) SOR and NSOR will be procured till the intersection of supply and demand for these products
2 |  | RT Co-Opt | AS Offer submission rules | Changes to Resource Specific AS Offer Submission Rules a) Allow price (MCPC) cascading from higher quality RegUp to NSpin, RRS to Nspin b) Increase liquidity Rule1: If RegUp offered, then same MW is also considered for Nspin at same price if QSE did not enter a offer price for NSPIN Rule 2: If RRS offered (from Gen), then the same MW is also considered for NSPIN at same price if QSE did not enter a offer price for NSPIN Rule 3: In RT, Online NSPIN (or Spinning Operating Reserve) offered at zero $/MW, this includes QSGR telemetering a status of ON, i.e. In Real-Time, Online Resources have mandatory participation in NSPIN or Spinning Operating Reserve or Spinning+NonSpinning Operating Reserve Rule 4: Develop exception rules where Resources can inform ERCOT of their inability to provide MW capacity for a particular AS Rule 5: Develop rules on submission timeline for energy and AS in Real-Time
see 2 | ERCOT/ SAWG | RT Co-Opt | AS Offer submission rules | Modify submission rules for linked AS Offers to enhance substitutability |  | 5/27/2015: Just for (RegUp & Non-Spin) and (RRS & Non-Spin) RegUp $/MW > Non-Spin $/MW RRS $/MW > Non-Spin $/MW If RegUp offered then Non-Spin also considered to be offered If RRS offered than Non-Spin also considered to be offered |  | Yes
see 2 | SAWG | RT Co-Opt | AS Offer submission rules | Should AS participation be mandatory for qualified Resources? Rules to be developed to allow for exemptions under special circumstances |  | 5/27/2015: Only for SOR (online Non-Spin in original) in RT
see 2 | ERCOT/ Luminant | RT Co-Opt | AS Offer submission rules | What is the proper timeline for updating Ancillary Service Offers and Energy Offer Curves within Real-time AS Co-optimization? | Luminant proposes being able to update in Real-Time. See Luminant comments for more details. ERCOT agrees - need to develop verifiable rules to enable this (reduce chances of disputes) |  |  | Yes
see 2 | ERCOT/ SAWG | RT Co-Opt | AS Offer submission rules | For RT Co-Optimization, RRS and Non-Spin Offers for On-Line MW capacity must be 0$/MW. In general, the rule is that if the AS capacity is converted to energy by the dispatch/optimization engine in Real-Time, then the AS offer to be considered must be 0$/MW | Further discussion on what QSGRs that are truly Off-Line but telemetering a status of ON – can their Non-Spin offers be non-zero |  | Yes | Yes
see 2 | ERCOT/ Luminant | RT Co-Opt | AS Offer submission rules | ERCOT states that a resource’s entire capacity (between LSL and HSL are available for allocation between energy and AS.) Is it possible for a QSE to express their willingness to offer AS as something less than HSL-to-LSL? | Luminant proposes that this is governed only by the QSE representing Resource. ERCOT would like further discussion on this. In principle, ERCOT OK. However, one of the mitigation to the unique scenario brought up by Shams can be to have QSEs representing resources to offer all ELIGIBLE capacity into the Real-Time AS market - as long as there is a mechanism for the QSE to indicate that a Resource qualified to offer AS is not able to fully or only partially due to valid reasons (mechanical difficulty?) |  |  | Yes
3 |  | RT Co-Opt | AS Products | What are the AS products in DAM and RT? A) Concept Paper: RegUp, RegDown, RRS, NSPIN or B) Modification@SAWG - May 27, 2015: SAWG consensus to move forward with this approach RegUp, RegDown, RRS, Spinning Operating Reserve (SOR), Spinning+NonSpinning Operating Reserve (SNSOR)
see 3 | SAWG | RT Co-Opt |  | Should Regulation be included in RT co-optimization? |  | For now consider it included. May look into this as part of CBA
4 |  | RT Co-Opt | AS Demand Curves | How do we determine the AS demand curves? A) Concept paper: Disaggregation of current LOLP based ORDC B) Modification@SAWG - May 27, 2015: B-1) RegUp, RegDown, RRS demand curves independent of LOLP based ORDC. B-2) SOR and SNSOR demand curves are LOLP based ORDC with X=0 (minimum contingency) - revisit determination of mean, standard deviation, X, B-3) SOR and SNSOR demand curves are based on EUE?? How to come up with this?
see 4 | ERCOT/ SAWG | RT Co-Opt | ORDC - AS Demand Curves | Options to disaggregate ORDC into individual AS demand curves | Alternatives to the proposal in concept paper have been proposed during SAWG discussions. Need further discussion. ERCOT will work with shams to prepare presentation | ERCOT and shams will present the different options at the next meeting 5/27/2015: Moving forward with the modified approach from Shams - presented on May 27/2015 SAWG meeting |  | Yes
see 4 | ERCOT/ Luminant | RT Co-Opt | ORDC - AS Demand Curves | Non-Spin, should the statistical distribution of Online Reserves be used or Online+Offline Reserves or some combination? Note that the price on the Non-Spin demand curve will be lower if the statistical distribution of the Online+Offline Reserves is used | Do not understand Luminants comments. Need further discussions under the topic of how to disaggregate the current ORDC for the different AS products | Luminant proposes using the LOLP based on online+offline reserves to determine Non-Spin reserve demand curve ERCOT and shams presentation on individual AS demand curves should address this item |  | Yes
|  | RT Co-Opt | ORDC - AS Demand Curves | Demand Curves - a) how does this look if it is based on EUE b) revisit Mean, sigma, X(?) - gathering of statistics for LOLP based demand curves
see 4 | ERCOT/ Luminant/ Morgan Stanley | RT Co-Opt | ORDC - AS Demand Curves | How should the demand curve for Reg-Down be determined? Is it the same as the Reg-Up demand curve? | Luminant proposes the demand curve for RegDown as well as RegUp be determined based on a statistical calculation of risk of running out these reserves rather than historical view. Morgan Stanley proposes using the offer cap (currently at VOLL), just as we use for RegUp Please see Luminants and Morgan Stanley comments for more details | ERCOT and shams presentation on individual AS demand curves should address this item |  | Yes
5 |  | RT Co-Opt | Settlements, Make Whole Payments and Treatment of Resources Providing "Blocky" AS | a) No Make Whole Payments if Resource financially harmed with respect to Day-Ahead positions due to RT co-optimization b) Load Resource (LR) with UFR carrying RRS Responsibility (blocky AS): b-1) Upon deployment will be exempt from AS imbalance payment b-2) In RT, LR with UFR carrying RRS responsibility will be considered to be price takers (i.e. RRS offer from these LR = 0$/MW). i.e no reduction of RRS demand curve by the amount of RRS responsibility from Load Resources. However, when deployed, LR will be considered to be still providing RRS till the 3 hour limit after recall. b-3) Need to develop process to account for RRS from LR upon deployment c) Accounting for Resource providing "truly" Offline Non-Spin: Should these Resources be exempt from AS Imbalance charges upon deployment? Note: The above exemptions from AS Imbalance charges is a deviation from current practice d) Should ERCOT go to 5 minute Settlements from the current 15 minute Settlements?
see 5 | SAWG | RT Co-Opt | Mitigation of harmful impact in a special scenario of dispatch under RT Co-Optimization | Under Real-Time co-optimization when a Resource buys out of its Day ahead AS responsibility, the QSE representing the Resource could get financially harmed by the Real-Time imbalance settlement for energy and AS if it had made sales for AS from that Resource in the Day-Ahead Market. There are specific conditions under which this can occur: 1. System conditions are such that there is shortage/scarcity in one AS but surplus of capacity for energy. i.e. scarcity pricing for AS is not reflected in the energy prices (LMPs) 2. Resource is ramp constrained (how much it can move in 5 minutes) and the awards are limited by this. For example, if a Resource is generating energy at HSL and the next RT co-optimization results in a very high price for RRS, then the Resource MW award for RRS is how much it can be ramped down in 5 minutes. 3. QSE has made a sale of AS on this Resource in the Day-Ahead Market Note: if a Resource has not made a Day-Ahead Sale for AS, then this scenario does not apply. | MISO, NYISO have make-whole payments, ISO-NE does not. SAWG discussions on February 25, 2015 developed consensus to NOT have make-whole payments. The following mitigation strategies were suggested - requires further discussions: b) Should RRS be a 5 minute product for Generation Resources? ERCOT has the 5 minute ramp down capability based on submitted RARF data in the next tab c) For Load Resources with UFR, the AS imbalance payment/charge should not apply i.e. by default they are excluded from participating in RT Co-Optimization. Rules need to be developed to allow for instances Load Resources want to participate in RT Co-Optimization d) RRS demand curve does not change after Load Resource deployment of RRS. i.e. assume Load Resource still providing RRS responsibility even if deployed e) Further discussion on "Truly" Off-Line Non-Spin deployment - are the Resources treated in a similar fashion as Load Resources above? | b) Resolved for now to remove considering RRS as a 5 mnute product for Generation Resources c) & d) Resolved - consensus to carry on what we are doing currently for LR with UFR. i.e. in the event of RRS deployment - assume that the LR still carries RRS responsibility as per timeline (90 minutes). during this time, LR with UFR deployed for RRS is not subject to AS imblanace charges and RT Co-Opt will not reprocure this deployed amount e) postpone till the resolution of the design of the AS demand curves |  | Yes
see 5 | ERCOT | RT Co-Opt |  | Do the truly Off-Line Non-Spin deployment procedure change under a regime with RT Co-Optimization? |  |  |  | Yes
see 5 | ERCOT/ Luminant | RT Co-Opt |  | Is it practical or feasible to expect UFRs to arm and disarm for intervals in which they were not selected to provide RRS? | Luminant is not aware of any technical limitations. See Luminant comments for more details ERCOT would like feedback from QSEs representing Load Resources for confirmation. Also, based on some unique scenarios, there is currently some thoughts on not co-optimizing RRS from Load Resources in Real-Time |  |  | Yes
6 | ERCOT/ Luminant/ Morgan Stanley | RT Co-Opt |  | Co-ordination of PBPC, SWOC, ORDC and VOLL Shams to present another option | Morgan Stanley/Luminant OK with concept. Will potentially require PUCT action | SAWG consensus on the need for co-ordinating these values. Give heads up to WMS. Has impact on CBA. | Yes
| ERCOT/ Luminant | RT Co-Opt | Ramp modeling | How should ERCOT “share” ramp rates between energy and ancillaries? (Similar to ramp sharing between SCED and LFC?) | Luminant proposes 100% ramp sharing. See Luminant comments for more details. ERCOT would like further discussion on this. Need ERCOT Operations review. Please note that a 100% ramp share is different than what we currently do. |  |  | Yes
| ERCOT | RT Co-Opt | Ramp modeling | What is the criteria to use Emergency Ramp rates versus Normal Ramp Rates? | This has not been covered in the concept paper |  |  | Yes
| ERCOT | RT Co-Opt | Metrics | What other metrics apart from ability to follow Base Points | The concept paper only talks about a metric based on ability to follow Base Points. What about GREDP? Should it be modified? Is there any other new metric required? |  |  | Yes
| ERCOT | RT Co-Opt & FAS | ORDC and FAS | For the proposed Future Ancillary Service product set, the determination of the statistical distribution parameters (mean and standard deviation) will need to convert the Hourly Reliability Unit Commitment or HRUC time snapshot of FFRS reserves and SCED snapshot of FFRS reserves into PFRS Reserve equivalents using the applicable ratio (R) | For tracking purposes
| Calpine | RT Co-Opt | CBA | What have been the portfolio manager's experience in the other markets in the procurement of fuel on a day ahead basis when awards for A/S can change significantly in real-time? | Needs further discussion and feedback from market participants | This is the issue of resource implmentation and operational costs and could be addressed by the CBA
| Calpine | RT Co-Opt | CBA | Cost-Benefit Analysis required for RT Co-Optimization | Suggest working out the details on RT Co-Optimization first so that the CBA is more meaningful
| Luminant | RT Co-Opt | Alternative Proposal? | Balance of the Day AS Co-optimization at least hourly | Request Luminant elaborate on this idea. In order to accomplish this for the balance of the day would require a multi-interval co-optimization of energy and AS – is that what Luminant is proposing? Is this similar to the HAM proposal? | Resolution is for interested parties to move this forward in other forums. This is not an alternative proposal, but a additonal functionality that allows for reconfiguration of AS (only) on a hourly or half hourly basis - something like SASM that runs once a day in the morning - but run it more frequently (for shorter number of hours each time) | no | no
| Calpine | MIRTM | CBA | Cost-Benefit Analysis required for Multi-interval Real-Time Market (MIRTM) | Suggest working out the details on MIRTM first so that the CBA is more meaningful
| Luminant | MIRTM | Alternative Proposal? | Alternative design to MIRTM based on Luminant filing to PUCT and comments to NPRR555 | It may benefit the discussions on MIRTM if Luminant can present these concepts again? | Greg (luminant) will present at next meeting | Yes | Yes
| ERCOT/ Luminant/ Calpine | MIRTM | Make-whole payment and resultant uplift | The comments are for stakeholder discussions to work to minimize or eliminate make-whole payments and thus resulting uplift due to MIRTM actions |  | Study process will provide more details. Maybe the wording should be "optimize" rather than minimize or eliminate make-whole payment i.e. find the most economical solution - make-whole is not necessarily a bad thing |  | Yes
| ERCOT/ NRG | MIRTM | Bid/Offer structure from Load Resource | NRG prefers the use of a single part offer/bid for a load resource rather than the use of a three-part offer/bid. Three-part offers are more specific to generation resource characteristics and are not compatible with certain load resource curtailment economics. Any need to apply verifiable costs to load resource bids/offers to mitigate buy side market power is premature at best and likely unnecessary |  |  |  | Yes

## 5 minute RampDown Capability
Resource Type | # of Resources | Total of 20% HRL (MW) | Total Normal Ramp Rate Down (NRRD) MW Capability in 5 minutes | Emergency Ramp Rate Down (ERRD) MW Capability in 5 minutes | MW Shortage Based on NRRD | MW Shortage Based on ERRD
CCGT90,CCLE90 | 66 | 7380.32 | 4704.5 | 5244.5 | 3251.02 | 2817.02
CLLIG | 36 | 3608.8 | 1220 | 1313.5 | 2576.62 | 2503.12
DSL, SCGT90, SCLE90 | 77 | 1472.1 | 2972 | 2976 | 143.6 | 139.6
GSNONR, GSREH, GSSUP | 46 | 2572.8 | 963 | 1238.5 | 1632.8 | 1422.6
HYDRO | 20 | 97.44 | 995 | 995 | 6 | 6