## Slide 1: ERCOT Frequency Control Report May 2015
ERCOT
June 24, 2015

## Slide 2: Ercot frequency control
BAL-001 CPS 1 & 2 Performance, RMS 1 and Frequency Profile

## Slide 3
Notes: Done. ERCOTcps1&2Month31DAYS May 2015.xls

## Slide 4
Notes: Done. ERCOTcps1&2Month31DAYS May 2015.xls

## Slide 5
Notes: Done. ERCOTcps1&2Month31DAYS May 2015.xls

## Slide 6
CPS1 12 Month Rolling Average = 168.59
Notes: Done. ERCOT CPS1 and CPS2 historical_May15

## Slide 7
Notes: Done. ERCOT CPS1 and CPS2 historical_May15

## Slide 8
Notes: Done. Frequency History ERCOT_May15.xls

## Slide 9
Notes: Done. Frequency History ERCOT_May15.xls

## Slide 10
Notes: Done. Frequency History ERCOT_May15.xls

## Slide 11
Notes: Done. Comparison of ERCOT Frequency Monthly 2013 vs Same Month in 2015_May15.xls

## Slide 12
Notes: Done. Comparison of ERCOT Frequency Monthly 2014 vs Same Month in 2015_May15.xls

## Slide 13: ERCOT Time error and time correction
Time Error History

## Slide 14: Time Error Corrections
Four slow Time Error Corrections were executed in May.

## Slide 15
Notes: ERCOTcps1&2 NRGTexasSCPS1&2with31DayTEReport_May15

## Slide 16
Time Correction History
Notes: Done. TimeCorrections Log_May15.xlsx

## Slide 17
Notes: Done. TimeCorrections Log_May15.xlsx

## Slide 18
Notes: Done. TimeCorrections Log_May15.xlsx

## Slide 19: Ercot primary frequency response performance
BAL-003-1 Interconnection Frequency Response and Bias Measure.

## Slide 20
ERCOT Primary Frequency Response – BAL-003-1
2016 Bias and Frequency Response Measure
R1 Present Interconnection Minimum Frequency Response Requirement: -471 MW/0.1 Hz
Using the Median Measure
Notes: Done. ERCOT_2016_FRS_FORM_1.10_ERCOT_Interconnection

## Slide 21
ERCOT Primary Frequency Response – BAL-003-1
2016 Bias and Frequency Response Measure
R1 Present Interconnection Minimum Frequency Response Requirement: -471 MW/0.1 Hz
Using the Median Measure
Notes: Done. ERCOT_2016_FRS_FORM_1.10_ERCOT_Interconnection

## Slide 22: Ercot total energy and wind production
Total ERCOT Energy and Total Energy Production from Wind Resources.

## Slide 23
Notes: Done. ERCOT Total Load and Total Wind Generation 2008 through Present_May15

## Slide 24
Notes: Done. ERCOT Total Load and Total Wind Generation 2008 through Present_May15

## Slide 25
Notes: Done. ERCOT Total Load and Total Wind Generation 2008 through Present_May15